| Item | Description | Person | Timeline goal |
| --- | --- | --- | --- |
| Hardware/deployment prep |  |  |  |
| Deployment prep | Is the instrument ready? | Paul, Rich, Irene | Mid March |
|  | Modem prep |  |  |
|  | Add ethanol mix |  |  |
|  | Battery needs | Paul |  |
|  | Started to replace the battery but bolt wouldn’t come off | ME is helping with this |  |
|  | PC104 arm microcontroller low power processor | Stick with it |  |
|  | There are two more battery packs in the Rover lab |  |  |
|  | Replace all o-rings |  |  |
|  | Should be enough battery- 5 minute collect time, 10-minute flow through | Paul figuring out |  |
| Precruise | Submit | Crissy | Early April |
| Deployment day | Go to sea! | Crissy, Rich, Paul, Natalia, Colleen | 3 May deployment |
| Schedule | How many times | Can be a variable schedule |  |
| Floats | We don’t have all the floats we need? | Go to Castroville |  |
| Upon recovery | What does the top baffle look like at the end of the deployment | Dive with ROV at deployment and recovery |  |
| Software |  |  |  |
| engineering process |  | Rich |  |
| Max sample rate | 6 per hour max |  |  |
| Max samples per battery sphere | Close to 6500 ish |  |  |
| engineering requirements and review |  | Rich |  |
| Point out things we need to put numbers on |  | Rich |  |
| Could we modify collect time during deployment? | Rich made a way to do this with an acoustic modem but opted not to use it |  |  |
| Add a bulletin board where it stores recent info | Then something else can draw from this without waking it up | Rich |  |
| Data analysis |  |  |  |
| Data processing | Convert Meg’s code into Python | Crissy, Colleen | ASAP |
| SES during Pulse events | Compare timelines | Crissy, Yanwu, Colleen | After getting attenuance |
| SES indicators of Pulse events | Describe early indicators of pulse events | Crissy, Yanwu, Colleen |  |
| Remote triggering |  |  |  |
| McLane remote triggerable | Zoom meeting with McLane Two of the traps can do it. They’ll do some testing. We’d have to upgrade our firmware. Two of our controllers are new enough to do it. That allows over-line triggering. What’s missing is a way to receive an acoustic message and translate it to a command to talk to controller and initiate sample | Paul | Mid year |
| Other LF modem targets | New Rover MF modem |  |  |