| Item | Description | Person | Timeline goal |
| --- | --- | --- | --- |
| Proposal |  |  |  |
| Deployments? |  | Person | Hours |
| Goals? | Math description of events |  |  |
| SES | How does our modem tell them to trigger a sample | Plan to plug back into mars in the summer | Deploy McLane trap- Omni to Omni LF modem on SES needs come fixes. Not behaving on the instrument. Ducer wasn’t working- Test somehow Carson has a hull mounted ducer navigation pole? See who’s ogoing to MARS |
| Rich is working on it right now | Kron job running |  |  |
| Somewhere mid year | Put node back out |  |  |
| Hardware/deployment prep |  |  |  |
| Deployed! | Is it working? | Paul, Rich, Irene |  |
|  | Modem prep. Hasn’t come off SES. Needs new batteries | Rich, Paul |  |
| File type | Now have jpg and tiff |  |  |
| New program monitor latest | Process two images |  |  |
| Can we push info through MARS | No- security prevents it. That means we have to poll and pull |  |  |
| Grid viewer | Paul is making |  |  |
| Fluorometer |  |  |  |
| Upon recovery | What does the top baffle look like at the end of the deployment | Dive with ROV at deployment and recovery |  |
| Software |  |  |  |
| Add metadata stamp |  |  |  |
| Add blank once a week, labeled in metadata stamp |  |  |  |
| Latest images viewer |  |  |  |
| Latest images download |  |  |  |
| engineering process |  | Rich |  |
| engineering requirements and review |  | Rich |  |
| Point out things we need to put numbers on |  | Rich |  |
| Add a bulletin board where it stores recent info | Then something else can draw from this without waking it up Double check modem can do it | Rich | Can do while deployed Wave glider can ask contents of bulletin board. What kept it from working last time? Input/output buffer. Post things in the SES and Wave Glider will check the mailbox. SES will broadcast to other modems that are awake. If Rover had woken up it could have asked SES if something happened while it was sleeping. Pull notification not a push notification. |
| Data analysis |  |  |  |
| Data processing | Convert Meg’s code into Python | Crissy, Colleen | ASAP |
| SES during Pulse events | Compare timelines | Crissy, Yanwu, Colleen | After getting attenuance |
| SES indicators of Pulse events | Describe early indicators of pulse events | Crissy, Yanwu, Colleen |  |
| Remote triggering |  |  |  |
| McLane remote triggerable | Zoom meeting with McLane Two of the traps can do it. They’ll do some testing. We’d have to upgrade our firmware. Two of our controllers are new enough to do it. That allows over-line triggering. What’s missing is a way to receive an acoustic message and translate it to a command to talk to controller and initiate sample | Paul | Mid year Wait till after deployment |
| Other LF modem targets | New Rover MF modem | Works and running |  |
| SES | What’s the future? |  |  |
| McLane | What’s the future? |  |  |
| LRAUV | What can we do? |  |  |
| 2024 goal | What’s the simplest way we can test event detection and acoustically trigger remotely Moored acoustic thing within its range. What acoustically triggerable assets are out there. Macrocam? Acoustic thing turns on power switch. | How feasible is the macrocam vs the McLane trap |  |
| SES carbon calibration | 5 min collect then week flow though |  |  |
| SES dream | Have fluorescence imaging system |  |  |
| SES controller | EZ stepper and wakey |  |  |
| New Mclane controller | More complicated now that it uses USB, and other changes. What small low power micro could we use? |  |  |
|  | New controller might run in a mode to accept simple commands. Higher powered device. |  |  |
|  | Factors: Irene has time to work on something. What could McLane tell us to think this is a better solution |  |  |
|  | Instrument Agnostic aspects: trigger, possibly aspects of wakey. |  |  |
|  | No-fee license agreement to port it somewhere else. |  |  |
|  | Which trap to modify? | One of the Sargasso ones. Not the newest. Use one with Squirty, second newest. Need to send motor and end cap for controller. Want to upgrade to modern Subconn connectors. | Ti bulkhead Connector, etc. $700 Spares: Gen 3 electronic stack $4400 Cable comm cable 10’: $500 Drive motor service: $575 -------------------------$6500 To add contact closure activation: 80 hours $14400 |
|  | Is there code in Wakey for modem interrupt. When modem gets signal, wakey board sees a device enable signal, applies power to TS7200 and says “something woke me up. You have to see what’s going on” |  |  |
| McLane controller | Paul to ask Evan to help pull controller |  | SN is ML-12813-01 Has squirty- this is the one we want to work with |
| Data | CSV |  |  |
| Modem | test |  | Get deck box and try to talk to it. |
| Next time we recovery | Set a new mission for it to sleep, wake up and sleep, wake up and then sleep to save battery |  | Next Monday |
| Track down weight plate |  |  |  |
| Current meters |  |  |  |
| Next year | Trigger every two weeks |  | We have 11 cups, so may as well use them. |

- Modems and interface

- Modify snappy for macrocam

  - Make it as similar to Barry macro cam as possible, ROV deployable.

  - Can reuse their battery design, packs are in series

  - Find out how much would it take to build another battery housing

  - Frame is galvanized steel

  - Just took 19K pics on 2 packs

  - How would we integrate the modem?

  - We have some modem parts that could be useful

- Modify existing Mclane controller- more significant design

  - Will need a lot of mechanical mods to deploy McLane trap as freestanding

- Interface with newer mclane controller and modem

- 0 min- go back and take 0 pic right after slide has been cleaned

We have the modems!

Firmware is a couple of versions past the one that’s on the SES. It has a programming feature

Just got in modified electronics and modified end cap

Check wiper

Two week running mean

Two day averages confidence interval

Use prior knowledge

Make sure to add a lower-limit “turn off” threshold

Machine learning optimal averaging

Slope for how high and how long

Trigger every month to get background

SES add squirty

We have a controller, fired up and seems to work. Interface is sweet

Get trap from G container and set this up on it? One of the new modems work

SES runs as always

Then add new code

Controller is in etech lab right now.

Run the analyses while it’s cleaning the slide, when it’s on anyway. To conserve battery power.