| Item | Description | Person | Timeline goal |
| --- | --- | --- | --- |
| Hardware/deployment prep |  |  |  |
| Deployed! | Is it working? | Paul, Rich, Irene |  |
|  | Modem prep. Hasn’t come off SES. Needs new batteries | Rich, Paul |  |
| File type | Now have jpg and tiff |  |  |
| New program monitor latest | Process two images |  |  |
| Can we push info through MARS | No- security prevents it. That means we have to poll and pull |  |  |
| Grid viewer | Paul is making |  |  |
| Fluorometer |  |  |  |
| Upon recovery | What does the top baffle look like at the end of the deployment | Dive with ROV at deployment and recovery |  |
| Software |  |  |  |
| Add metadata stamp |  |  |  |
| Add blank once a week, labeled in metadata stamp |  |  |  |
| Latest images viewer |  |  |  |
| Latest images download |  |  |  |
| engineering process |  | Rich |  |
| engineering requirements and review |  | Rich |  |
| Point out things we need to put numbers on |  | Rich |  |
| Add a bulletin board where it stores recent info | Then something else can draw from this without waking it up Double check modem can do it | Rich | Can do while deployed Wave glider can ask contents of bulletin board. What kept it from working last time? Input/output buffer. Post things in the SES and Wave Glider will check the mailbox. SES will broadcast to other modems that are awake. If Rover had woken up it could have asked SES if something happened while it was sleeping. Pull notification not a push notification. |
| Data analysis |  |  |  |
| Data processing | Convert Meg’s code into Python | Crissy, Colleen | ASAP |
| SES during Pulse events | Compare timelines | Crissy, Yanwu, Colleen | After getting attenuance |
| SES indicators of Pulse events | Describe early indicators of pulse events | Crissy, Yanwu, Colleen |  |
| Remote triggering |  |  |  |
| McLane remote triggerable | Zoom meeting with McLane Two of the traps can do it. They’ll do some testing. We’d have to upgrade our firmware. Two of our controllers are new enough to do it. That allows over-line triggering. What’s missing is a way to receive an acoustic message and translate it to a command to talk to controller and initiate sample | Paul | Mid year Wait till after deployment |
| Other LF modem targets | New Rover MF modem | Works and running |  |

Pelagic benthic

Put tape on that says no batteries:

Releases, sediment trap controllers, camera tripods