| Item | Description | Person | Timeline goal |
| --- | --- | --- | --- |
| Proposal |  |  |  |
| Deployments? |  | Person | Hours |
| Goals? | Math description of events |  |  |
| SES | How does our modem tell them to trigger a sample | Plan to plug back into mars in the summer | Deploy McLane trap- Omni to Omni LF modem on SES needs come fixes. Not behaving on the instrument. Ducer wasn’t working- Test somehow Carson has a hull mounted ducer navigation pole? See who’s ogoing to MARS |
| Rich is working on it right now | Kron job running |  |  |
| Somewhere mid year | Put node back out |  |  |
| Hardware/deployment prep |  |  |  |
| Deployed! | Is it working? | Paul, Rich, Irene |  |
|  | Modem prep. Hasn’t come off SES. Needs new batteries | Rich, Paul |  |
| File type | Now have jpg and tiff |  |  |
| New program monitor latest | Process two images |  |  |
| Can we push info through MARS | No- security prevents it. That means we have to poll and pull |  |  |
| Grid viewer | Paul is making |  |  |
| Fluorometer |  |  |  |
| Upon recovery | What does the top baffle look like at the end of the deployment | Dive with ROV at deployment and recovery |  |
| Software |  |  |  |
| Add metadata stamp |  |  |  |
| Add blank once a week, labeled in metadata stamp |  |  |  |
| Latest images viewer |  |  |  |
| Latest images download |  |  |  |
| engineering process |  | Rich |  |
| engineering requirements and review |  | Rich |  |
| Point out things we need to put numbers on |  | Rich |  |
| Add a bulletin board where it stores recent info | Then something else can draw from this without waking it up Double check modem can do it | Rich | Can do while deployed Wave glider can ask contents of bulletin board. What kept it from working last time? Input/output buffer. Post things in the SES and Wave Glider will check the mailbox. SES will broadcast to other modems that are awake. If Rover had woken up it could have asked SES if something happened while it was sleeping. Pull notification not a push notification. |
| Data analysis |  |  |  |
| Data processing | Convert Meg’s code into Python | Crissy, Colleen | ASAP |
| SES during Pulse events | Compare timelines | Crissy, Yanwu, Colleen | After getting attenuance |
| SES indicators of Pulse events | Describe early indicators of pulse events | Crissy, Yanwu, Colleen |  |
| Remote triggering |  |  |  |
| McLane remote triggerable | Zoom meeting with McLane Two of the traps can do it. They’ll do some testing. We’d have to upgrade our firmware. Two of our controllers are new enough to do it. That allows over-line triggering. What’s missing is a way to receive an acoustic message and translate it to a command to talk to controller and initiate sample | Paul | Mid year Wait till after deployment |
| Other LF modem targets | New Rover MF modem | Works and running |  |
| SES | What’s the future? |  |  |
| McLane | What’s the future? |  |  |
| LRAUV | What can we do? |  |  |
| 2024 goal | What’s the simplest way we can test event detection and acoustically trigger remotely Moored acoustic thing within its range. What acoustically triggerable assets are out there. Macrocam? Acoustic thing turns on power switch. | How feasible is the macrocam vs the McLane trap |  |
| SES carbon calibration | 5 min collect then week flow though |  |  |
| SES dream | Have fluorescence imaging system |  |  |
| SES controller | EZ stepper and wakey |  |  |
| New Mclane controller | More complicated now that it uses USB, and other changes. What small low power micro could we use? |  |  |
|  | New controller might run in a mode to accept simple commands. Higher powered device. |  |  |
|  | Factors: Irene has time to work on something. What could McLane tell us to think this is a better solution |  |  |
|  | Instrument Agnostic aspects: trigger, possibly aspects of wakey. |  |  |
|  | No-fee license agreement to port it somewhere else. |  |  |
|  | Which trap to modify? | One of the Sargasso ones. Not the newest. Use one with Squirty, second newest. Need to send motor and end cap for controller. Want to upgrade to modern Subconn connectors. | Ti bulkhead Connector, etc. $700 Spares: Gen 3 electronic stack $4400 Cable comm cable 10’: $500 Drive motor service: $575 -------------------------$6500 To add contact closure activation: 80 hours $14400 |
|  | Is there code in Wakey for modem interrupt. When modem gets signal, wakey board sees a device enable signal, applies power to TS7200 and says “something woke me up. You have to see what’s going on” |  |  |
| McLane controller | Paul to ask Evan to help pull controller |  | SN is ML-12813-01 Has squirty- this is the one we want to work with |
| Data | CSV |  |  |
| Modem | test |  |  |

Options

Extract blank images. “0min”

- Modems and interface

- Modify snappy for macrocam

  - Make it as similar to Barry macro cam as possible, ROV deployable.

  - Can reuse their battery design, packs are in series

  - Find out how much would it take to build another battery housing

  - Frame is galvanized steel

  - Just took 19K pics on 2 packs

  - How would we integrate the modem?

  - We have some modem parts that could be useful

- Modify existing Mclane controller- more significant design

  - Will need a lot of mechanical mods to deploy McLane trap as freestanding

- Interface with newer mclane controller and modem

Increase request for 2024 hours.

- Contact McLane and make sure no IP issues. Paul to email John Mogul

- In the current environment, what’s the best micro to use.

- Software development is non trivial

- Hardware-wise not toooo bad.

- Will involve titanium welding to add tabs for bolting float packs to frame.

  - Paul C advise who can handle structural design to make sure it’s safe

  - Who would design those and who would make the mods? New Larry Bird hire?

    - Adding lots of weight to frame (dropweight, floats)

    - Remove triggerable or ROV pullable?

Modem: Low frequency because it travels farther, Omni directional because we need things to talk to each other, deep-rated. Or- Benthos- what do you recommend for this scenario?

Big challenge- sleep and standby waiting for trigger.

How much can be done this year?

What do we really need for next year?

Irene come up with a schedule for getting to a prelim design review

Write code to get stepper mode to step, etc. ways to test hardware functions

Energy budget. Can we get by sleeping and waiting, but with the current alkaline battery packs?

Goal- board for bench test by the end of the year

How much time do Paul and Rich have left on this project (Crissy to check)

Rich- 1/3 of his combined SES and PBC hours

Make sure is good integration between hardware and software development.

Will probably need an NRE. Worth it if 10K or under. What’s the timeline

Can rich test modem from MARS. Because LF modem isn’t working

Ask Fred Bhar about M1 data

Talk with Monique working with multi-decade data as well.

Figure out if we’re going to recover or not. Can we get time before Feb

Talk to Knute. Deploy sinker and recover SES on the same day? Today or Monday

Send email draft o Chris to Paul. March 5th?