## Slide 1
SINKER: a moored instrument for measuring sinking particles
Mission:
Remotely observe the
ecological mechanism of
carbon export, sustained over
hours and across seasons
Team:
Colleen Durkin
Paul Roberts
François Cazanave
Alana Sherman
Paul McGill
Francisco Chavez

## Slide 2
phytoplankton
rhizaria
aggregates
dense detritus
large-loose pellets
long pellets
salp pellets
mini pellets
short pellets
Scale bars:
White = 1 mm
Blue = 100 µm
Particle type explains
why carbon was exported
and how much.
Why do we need to collect
ecologically relevant
observations of carbon export?
50 µm
5000 µm

## Slide 3
Current Challenges
Persistence : currently one-off snapshots
Automation : imaging and analysis require extensive human resources
Scalability: currently too resource intensive (personell time, ships, $$$)
Available in situ particle imaging tools are not designed to address these challenges
(e.g. UVP, ISIIS, EyeRIS, Planktivore, VPR, IFCB)
      Don’t measuring sinking particles (i.e. fluxes)
      Don’t measure sinking speeds
      Don’t span the relevant size range
      Don’t have a persistent presence

## Slide 4
We want to build an instrument that will:
  Identify sinking particles across a large size range
  Measure their sinking speeds
  Measure their fluxes
  Sustain observations over ecologically relevant time periods
  Make measurements scalable through automated approaches

## Slide 5
Proposed Concept
SINKER: the SINKing Ecology Robot

## Slide 6
 | Sinking Speeds (m d-1) |  |  | Fluxes (# m-2 d-1) | 
Size range: | 30–300 µm | 200–1000 µm | 800–5000 µm | 30–500 µm | 300–5000 µm
ISIIS DPI |  |  |  |  | 
Planktivore low mag |  |  |  |  | 
Planktivore high mag |  |  |  |  | 
Sediment camera low mag |  |  |  |  | 
Sediment camera high mag |  |  |  |  | 
Measuring flux and sinking speed of particles
spanning 3 orders of magnitude requires multiple cameras

## Slide 7
 | Jan-Mar | Apr-Jun | Jul-Sep | Oct-Dec
 | Complete Design / Design Review | Tank Test with Imaging Systems | Tank Test with Complete System | Field Test on Battery Power (no MARS)
Colleen Durkin | Requirements |  | Tank Data Analysis | Field deployments and data analysis
Paul Roberts (300 hrs) | System design, camera interfaces, software | System integration | Image processing and visualization | 
François Cazanave (300 hrs) | Pressure housings, internal mech, support frame | Test tank support |  | Rigging and deployment support
Alana Sherman (150 hrs) | Battery power and low-power control |  |  | 
Paul McGill (150 hrs) | MARS compatibility / interface |  |  | 
M-Tech / E-Tech |  | System Integration |  | 
Machine Shop |  | Housing Fabrication |  | 
Year 1 Timeline and Resources
SINKER: the SINKing Ecology Robot
Year 1 | Year 2 | Year 3
Development | Refinement / MARS integration | Science Operations
EyeRIS
Planktivore
BioInspir Lab Multicam
Timelapse Cameras

## Slide 11
Proposed Concept
SINKER: the SINKing Ecology Robot

## Slide 12
SINKER imaging system will identify a wide size range
microscopy of sediment trap gel layers
10 µm
100 µm
1000 µm
10,000 µm
Planktivore High Mag
ISIIS-DPI
Past work as reference
Planktivore Low Mag
Cameras for sinking speed

## Slide 13
SINKER imaging system will identify a wide size range
microscopy of sediment trap gel layers
10 µm
100 µm
1000 µm
10,000 µm
Past work as reference
Upward-facing camera
Upward-facing camera

## Slide 14
SINKER imaging system will resolve flux and sinking speed of a large size range
microscopy of sediment trap gel layers
10 µm
100 µm
1000 µm
10,000 µm
Planktivore High Mag
ISIIS-DPI
Past work as reference
Upward-facing camera
Planktivore Low Mag
Upward-facing camera