## Slide 1: Imaging systems overview still WIP
5 Cameras, what size scales do they cover?
Shadowgraph examples
Planktivore exampless
Flux camera examples
Data rates and storage requirements
SINKER Imaging Systems

## Slide 2: Imaging systems overview still WIP
SINKER Imaging Systems
Basler 24.5 MP Sony IMX540 sensor cropped to 16 MP
Each camera uses a different objective for magnification
Color strobe illumination transmitted for Planktivore, reflected for Flux camera
Mono 630 nm LED for shadowgraph
Flux LM
Shadowgraph
80 mm
40 mm
Planktivore LM
Flux HM
Planktivore HM
Shadowgraph 10 um
Planktivore LM 4.8 um
Planktivore HM 0.9 um
Flux LM 20 um
Flux HM 2.7 um

## Slide 3
10 um
100 um
1000 um
10000 um
100000 um
Size Scale
SINKER Size Scales Sampled
Flux LM 20 um
Shadowgraph 10 um
Planktivore LM 4.8 um
Flux HM 2.7 um
Planktivore HM 0.9 um
Imaging System
Shadowgraph 10 um
Planktivore LM 4.8 um
Planktivore HM 0.9 um
Flux LM 20 um
Flux HM 2.7 um
Detection/Tracking
Identification

## Slide 4
SINKER Shadowgraph Example

## Slide 5
SINKER Shadowgraph Example

## Slide 6: Imaging systems overview still WIP
Planktivore Examples (LM) Daily Samples
10/06/2026
1 mm

## Slide 7: Imaging systems overview still WIP
Planktivore Examples (LM) Daily Samples
10/06/2026

## Slide 8
Planktivore Examples (LM) Daily Samples
10/08/2026
10/10/2026
1 mm
1 mm

## Slide 9: Imaging systems overview still WIP
Planktivore Examples (LM) Daily Samples
10/10/2026

## Slide 10: Imaging systems overview still WIP
Planktivore Examples (HM) Daily Samples
10/02/2026
10/09/2026
10/12/2026
100 um

## Slide 11: Imaging systems overview still WIP
Planktivore Examples (HM) Daily Samples
10/02/2026
10/09/2026
10/12/2026

## Slide 12: Imaging systems overview still WIP
Flux Examples (LM and HM)

## Slide 13: Imaging systems overview still WIP
Flux Examples (LM and HM)

## Slide 14: Imaging systems overview still WIP
Imaging System Data Requirements
Chart: Raw Data Rate (53.2 MB/s)
| Shadowgraph | Flux LM | Flux HM | Planktivore LM | Planktivore HM
Raw Data Rate ( MB/s) | 18.4 | 1.6 | 1.8 | 16 | 16
Chart: Compressed Rate (~5 MB/s)
| Shadowgraph | Flux LM | Flux HM | Planktivore LM | Planktivore HM
Raw Data Rate ( MB/s) | 2.2 | 0.15 | 0.05 | 1.5 | 1.5
90 % JPEG

## Slide 15: Imaging systems overview still WIP
Imaging System Data Requirements
Chart: Raw Data Rate (53.2 MB/s)
Chart: Yearly Data Storage Needs
| Raw Images | Compressed Images | Procsesed Data
Flux Cameras | 100.9152 | 0.47304 | 0.0365
Planktivore Cameras | 1009.152 | 94.608 | 2.0075
Shadowgraph Camera | 567.648 | 69.3792 | 0.365
TB/y
90 % JPEG
ROI extraction, tracking, sizing
~ 200 TB/y of images
~ 2 TB/y of data products

## Slide 16: Imaging systems overview still WIP
SINKER Data Outputs
Chart: Raw Data Rate (53.2 MB/s)
5 MB/s 90% JPEG full resolution (rsync from shore)
0.2 MB/s 90% JPEG 4x downsampled (ZMQ pub)
< 0.01 MB/s System Status (ZMQ pub)
< 0.01 MB/s Linux console access (ssh)
Images
System Status
Config and Troubleshooting