##### Ametek

##### https://www.ametekscp.com/contactus/sales-offices-scp

##### WESTERN (USA & CANADA)

Contact

Liam Dunne
T: +1 626.258.3615
M: +1 626.416.7075
E: Liam.Dunne@ametek.com

Address

Hermetic Seal Corporation
4232 Temple City Blvd
Rosemead, CA 91770
UNITED STATES

6/17/2024 call, Liam, 1-626-258-3615

- Send the email with a short request.

=====================================

Hi Liam,

thank you for taking my call few min back. Our application is an oceanographic research and we are working on the instrument for distributed acoustic sensing on the ocean floor.

We have 1 km long armored fiber optic cable, containing 4 ea single-mode fibers SMF-28; that needs to be connected to the 1 atmosphere electronics housing, so we are looking for fiber-optic connectors (FC-APC or ST-APC preferred) of feed-thru, either 4x 1-channel, or 4-channel. Our depth requirement is under 2km max, 1km might suffice if no better available, first deployment is ~ 500m. So the feed-thru or connector, must be rated at both absolute pressure (environment pressure), and differential pressure (between water pressure and 1 atmosphere housing)

I had found the general Fiber Optic Feed Thru catalog here:

https://www.ametekscp.com/products/fiber-optic-feed-thru

It lists number of configurations:

FOFT Configurations:
FOFT Series 1000
Optical Detector Flow Cell
Miniature FOFT
Four Fiber FOFT
Hybrid Copper FOFT

Is it possible to get the datasheet for the "Four Fiber FOFT", and an idea of the cost/ lead time? Or if could somebody recommend what could work for us?

thank you,

Denis Klimov

6/17/2024 15:54 Will refer again to the application group. All products are custom-built, typically 28 weeks lead time. Will try to get the info in the morning.