Our current choice for fiber optic connector is the Birns Millenium 3O-4FS2. This is a connector with 4 SM 1.25 um fibers. Included in this folder is the optical specs for this connector.

We are having issues getting quotes, so our fall back plan would to either use the Green Tweed/Lancer ST-Dry bulkhead connectors or the Macartney fiber penetrator. All datasheets should be in this folder.