## LabView
LabView Developer Suite License #: Z61M19122
NI OPC Driver License #: M78X37954
Labview files are located in the Project Library folder (Y:\Benthic Biology Aquarium\Aquarium project\AQUARIUM)

## Configuration Info
Date = | 2011-03-07
[TANK 1]
PH SLOPE=.788736
PH OFFSET=-2.51314
TEMP SLOPE=0
TEMP OFFSET=0
ZERO CO2=0
MAX RNG CO2=0
CO2 RNG PPM=0
N2 FLOW=500
N2 MIN CC=12
O2 FLOW=50
O2 MIN CC=0
CO2 FLOW=73.85
CO2 MIN=1.5
COM PORT=3
[TANK 2]
PH SLOPE=.820221
PH OFFSET=-2.88356
TEMP SLOPE=0
TEMP OFFSET=0
ZERO CO2=0
MAX RNG CO2=0
CO2 RNG PPM=0
N2 FLOW=500
N2 MIN CC=12
O2 FLOW=50
O2 MIN CC=0
CO2 FLOW=3
CO2 MIN=1.5
COM PORT=4
[TANK 3]
PH SLOPE=.823099
PH OFFSET=-2.97402
TEMP SLOPE=0
TEMP OFFSET=0
ZERO CO2=0
MAX RNG CO2=0
CO2 RNG PPM=0
N2 FLOW=5000
N2 MIN CC=12
O2 FLOW=50
O2 MIN CC=0
CO2 FLOW=20
CO2 MIN=.4
COM PORT=5
[TANK 4]
PH SLOPE=.871205
PH OFFSET=-3.49578
TEMP SLOPE=0
TEMP OFFSET=0
ZERO CO2=0
MAX RNG CO2=0
CO2 RNG PPM=0
N2 FLOW=5000
N2 MIN CC=100
O2 FLOW=
O2 MIN CC=
CO2 FLOW=
CO2 MIN=
COM PORT=2

## Optodes
DIGI PortServer TS 4 IP Address = 134.89.10.111
| TS4 Port | Baud | Parity | Flow | Com Port (SNOOK)
Tank 0 | 1 | 9600 | None | Xon/Xoff | 2
Tank 1 | 2 | 9600 | None | Xon/Xoff | 3
Tank 2 | 3 | 9600 | None | Xon/Xoff | 4
Tank 3 | 4 | 9600 | None | Xon/Xoff | 5
Comunication with the O2 Optodes is done through a DIGI 4 port Ethernet to serial server (DIGI PortServer TS 4 ). The Optodes are polled with the DO_SAMPLE command every 1.5 seconds.

## OPTO22 Rack 0
IP Address = 134.89.10.92
Tag Name | Address | Data Type | Description
CO2 ALRM | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[55] | Boolean | CO2 ALARM
CO2 SW | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[1] | Boolean | CO2 SUPPLY
CO2 WRN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[57] | Boolean | CO2 WARNING
N2 SW | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[0] | Boolean | N2 SUPPLY
O2 ALRM | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[54] | Boolean | O2 ALARM
O2 SW | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[2] | Boolean | O2 SUPPLY
O2 WRN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[56] | Boolean | O2 WARNING
T-0 C IN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[63] | Boolean | T-0 CIRC PUMP INPUT
T-0 C PMP | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[49] | Boolean | T-0 CIRC PUMP
T-0 LVL SW | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[53] | Boolean | T-0 LEVEL SWITCH
T-0 N2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[17] | Boolean | T-0 MFC N2 POWER
T-0 OPT | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[31] | Boolean | T-0 OPTODE POWER
T-1 C IN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[60] | Boolean | T-1 CIRC PUMP INPUT
T-1 C PMP | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[50] | Boolean | T-1 CIRC PUMP
T-1 CO2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[15] | Boolean | T-1 MFC CO2 POWER
T-1 N2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[14] | Boolean | T-1 MFC N2 POWER
T-1 O2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[16] | Boolean | T-1 MFC O2 POWER
T-1 OPT | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[28] | Boolean | T-1 OPTODE POWER
T-2 C IN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[61] | Boolean | T-2 CIRC PUMP INPUT
T-2 C PMP | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[45] | Boolean | T-2 CIRC PUMP
T-2 CO2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[12] | Boolean | T-2 MFC CO2 POWER
T-2 N2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[11] | Boolean | T-2 MFC N2 POWER
T-2 O2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[13] | Boolean | T-2 MFC O2 POWER
T-2 OPT | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[29] | Boolean | T-2 OPTODE POWER
T-3 C IN | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[62] | Boolean | T-3 CIRC PUMP INPUT
T-3 C PMP | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[48] | Boolean | T-3 CIRC PUMP
T-3 CO2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[9] | Boolean | T-3 MFC CO2 POWER
T-3 N2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[8] | Boolean | T-3 MFC N2 POWER
T-3 O2 PWR | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[10] | Boolean | T-3 MFC 02 POWER
T-3 OPT | [MMIO¦ip¦tcp:134.89.10.92:2001]STATE[30] | Boolean | T-3 OPTODE POWER

## OPTO22 Rack 1
IP Address = 134.89.10.98
Tag Name | Address | Data Type | Description
T-0 N2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[17] | Float | T-0 MFC N2 COMMAND SIGNAL
T-0 pH | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[37] | Float | T-0 PH PROBE
T-0 TEMP | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[48] | Float | T-0 TEMP
T-1 CO2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[13] | Float | T-1 MFC CO2 COMMAND SIGNAL
T-1 CO2 CNTS | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[44] | Float | T-1 CO2 COUNTS
T-1 N2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[12] | Float | T-1 MFC N2 COMMAND SIGNAL
T-1 O2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[16] | Float | T-1 MFC O2 COMMAND SIGNAL
T-1 pH | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[32] | Float | T-1 PH PROBE
T-1 TEMP | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[49] | Float | T-1 TEMP
T-2 CO2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[8] | Float | T-2 MFC CO2 COMMAND SIGNAL
T-2 CO2 CNTS | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[45] | Float | T-2 CO2 COUNTS
T-2 N2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[5] | Float | T-2 MFC N2 COMMAND SIGNAL
T-2 O2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[9] | Float | T-2 MFC O2 COMMAND SIGNAL
T-2 pH | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[33] | Float | T-2 PH PROBE
T-2 TEMP | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[50] | Float | T-2 TEMP
T-3 CO2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[1] | Float | T-3 MFC CO2 COMMAND SIGNAL
T-3 CO2 CNTS | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[46] | Float | T-3 CO2 COUNTS
T-3 N2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[0] | Float | T-3 MFC N2 COMMAND SIGNAL
T-3 O2 CMD | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[4] | Float | T-3 MFC O2 COMMAND SIGNAL
T-3 pH | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[36] | Float | T-3 PH PROBE
T-3 TEMP | [MMIO¦ip¦tcp:134.89.10.98:2001]EU[51] | Float | T-3 TEMP