## Sheet1
[8 empty] | Definition = $Tx, | Date/Time, | pH SP Conditioning Tank, | pH Conditioning at Cond. Temp., | pH Cond. Raw, | O2 SP Conditioning Tank, | O2 Conditioning Tank, | Temp SP Cond. Tank, | Temp C Cond. Tank, | pH exp. At Exp. Temp., | pH Exp. Raw, | Temp C Cond. Tank, | pH exp. At Exp. Temp., | pH Exp. Raw, | pH SP Offset, | O2 SP Offset, | Temp SP Offset, | Periods per cycle, | Current period, | Cycle Minutes, | Cycles done, | Cycle portion, | Cycle Start Time, | Time Started, | Buffer Data (on/off), | pH Data Buffer Period (sec), | pH Sensor Lag Period (sec), | Predicted pH Value, | Use Predicted pH for Control (on/off), | O2 Data Buffer Period (sec), | O2 Sensor Lag Period (sec), | Predicted O2 Value, | Use Predicted O2 for Control (on/off), | pH PID-P, | pH PID-I, | pH PID-D, | O2 PID-P, | O2 PID-I, | O2 PID-D, | CO2 Volts, | N2 Volts, | O2 Volts, | Gas Control Mode (on/off), | CO2 Purge Gas (T=N2, F=Air), | O2 Feedback (Cond.=F, Exp.=T), | pH Feedback (Cond. = F, Exp. = T), | Start Schedule (on/off), | O2 Base Volts, | CO2 Base Volts, | N2 Base Volts, | O2 Volts Amp. Percent, | CO2 Volts Amp. Percent, | N2 Volts Amp. Percent, | Manual pH SP, | Manual O2 SP, | Manual Temp SP, | Manual CO2 Volts, | Manual O2 Volts, | Manual N2 Volts, | Conditioning Tank Heater (on/off), | Bath Heater (on/off), | Configuration File Path, | Upwelling Schedule File path, | pH Cond. Serial Number, | pH Cond. Tank Calibration Date, | pH Cond. Cal. Temp., | pH Cond. Tank slope, | pH Cond. Tank Intercept, | pH Exp. Serial Number, | pH Exp. Tank Calibration Date, | pH Exp. Cal. Temp., | pH Exp. Tank slope, | pH Exp. Tank Intercept, | O2 Cond. Serial Number, | O2 Cond. Tank Calibration Date, | O2 Cond. Tank slope, | O2 Cond. Tank Intercept, | O2 Exp. Serial Number, | O2 Exp. Tank Calibration Date, | O2 Exp. Tank slope, | O2 Exp. Tank Intercept, | Temp. Cond. Tank offset, | Temp. Cond. Tank hysteresis, | Temp. Exp. Tank offset, | Temp. Exp. Tank hysteresis, | Temp. Bath Tank offset, | Temp. Bath Tank hysteresis, | Logging Interval (seconds), | pH Cond. Tank Alarm, | pH Exp. Tank Alarm, | O2 Cond. Tank Alarm, | O2 Exp. Tank Alarm, | Temperature Cond. Tank Alarm, | Temperature Exp. Tank Alarm, | Temperature Bath Alarm
Field Definition = $Tx
group | Index | Order | Category | Title | Variable | Units | format code
|  |  | Header |  |  |  | %s |  |  |  | TRUE
1 | 1 | 1 | Date | Date/Time | Timestamp | Timestamp | %<%.3X %x>T | Date/Time, |  |  | FALSE
1 | 2 | 1 | sensor related | pH SP Conditioning Tank | cond_ph_sp | double | %5.3f | pH SP Conditioning Tank, |  |  | FALSE
1 | 3 | 2 | sensor related | pH Conditioning at Cond. Temp. | cond_ph_at cT | double | %5.3f | pH Conditioning at Cond. Temp., |  |  | FALSE
1 | 4 | 2 | sensor related | pH Cond. Raw | cond_ph_raw | double | %5.3f | pH Cond. Raw, |  |  | FALSE
1 | 5 | 5 | sensor related | O2 SP Conditioning Tank | cond_o2_sp | double | %5.3f | O2 SP Conditioning Tank, |  |  | FALSE
1 | 6 | 6 | sensor related | O2 Conditioning Tank | cond_o2 | double | %5.3f | O2 Conditioning Tank, |  |  | FALSE
1 | 7 | 9 | sensor related | Temp SP Cond | cond_t_sp | double | %5.3f | Temp SP Cond, |  |  | FALSE
| 8 |  | sensor related | Temp Conditioning Tank | cond_T | double | %5.3f | Temp Conditioning Tank, |  |  | FALSE
1 | 9 | 3 | sensor related | pH Exp at T Exp | exp_pH_at_eT | double | %5.3f | pH Exp at T Exp, |  |  | FALSE
1 | 10 | 3 | sensor related | pH Exp raw | exp_pH_raw | double | %5.3f | pH Exp raw, |  |  | FALSE
1 | 11 | 10 | sensor related | O2 Exp tank | exp_o2 | double | %5.3f | O2 Exp tank, |  |  | FALSE
1 | 12 | 3 | sensor related | Temp Exp | exp_t | double | %5.3f | Temp Exp, |  |  | FALSE
1 | 13 | 3 | sensor related | pH Exp. Raw | bath_t | double | %5.3f | pH Exp. Raw, |  |  | FALSE
|  |  |  | pH Cond OS | pH Cond OS | double | %5.3f | pH Cond OS,
|  |  |  | pH Exp OS | pH Exp OS | double | %5.3f | pH Exp OS,
|  |  |  | O2 Cond OS | O2 Cond OS | double | %5.3f | O2 Cond OS,
|  |  |  | O2 Exp OS | O2 Exp OS | double | %5.3f | O2 Exp OS,
1 | 14 | 4 | sensor related | pH SP Offset | ph_sp_offset | double | %5.3f | pH SP Offset, |  |  | FALSE
1 | 15 | 8 | sensor related | O2 SP Offset | o2_sp_offset | double | %5.3f | O2 SP Offset, |  |  | FALSE
1 | 16 | 13 | sensor related | Temp SP Offset | temp_sp_offset | double | %5.3f | Temp SP Offset, |  |  | FALSE
2 | 17 | 1 | Schedule | Periods per cycle | Periods per cycle | integer | %5.0f | Periods per cycle, |  |  | FALSE
2 | 18 | 2 | Schedule | Current period | Current Period | integer | %5.0f | Current period, |  |  | FALSE
2 | 19 | 3 | Schedule | Cycle Minutes | Cycle minutes | double | %5.3f | Cycle Minutes, |  |  | FALSE
2 | 20 | 5 | Schedule | Cycles done | Cycles done | double | %5.3f | Cycles done, |  |  | FALSE
2 | 21 | 4 | Schedule | Cycle portion | Cycle portion | double | %5.3f | Cycle portion, |  |  | FALSE
2 | 22 | 7 | Schedule | Cycle Start Time | Cycle Start Time | Timestamp | %<%.3X %x>T | Cycle Start Time, |  |  | FALSE
2 | 23 | 6 | Schedule | Time Started | Time Started | Timestamp | %<%.3X %x>T | Time Started, |  |  | FALSE
3 | 24 | 1 | Predictsion | Buffer Data (on/off) | Data buff switch | T/F | %s | Buffer Data (on/off), |  |  | FALSE
3 | 25 | 2 | Predictsion | pH Data Buffer Period (sec) | pHbufsec | double | %5.3f | pH Data Buffer Period (sec), |  |  | FALSE
3 | 26 | 3 | Predictsion | pH Sensor Lag Period (sec) | pHlagsec | double | %5.3f | pH Sensor Lag Period (sec), |  |  | FALSE
3 | 27 | 4 | Predictsion | Predicted pH Value | pHCpredicted | double | %5.3f | Predicted pH Value, |  |  | FALSE
3 | 28 | 5 | Predictsion | Use Predicted pH for Control (on/off) | PHCpredDH | T/F | %s | Use Predicted pH for Control (on/off), |  |  | FALSE
3 | 29 | 6 | Predictsion | O2 Data Buffer Period (sec) | O2bufsec | double | %5.3f | O2 Data Buffer Period (sec), |  |  | FALSE
3 | 30 | 7 | Predictsion | O2 Sensor Lag Period (sec) | O2lagsec | double | %5.3f | O2 Sensor Lag Period (sec), |  |  | FALSE
3 | 31 | 8 | Predictsion | Predicted O2 Value | O2Cpredicted | double | %5.3f | Predicted O2 Value, |  |  | FALSE
3 | 32 | 9 | Predictsion | Use Predicted O2 for Control (on/off) | O2CpredDH | T/F | %s | Use Predicted O2 for Control (on/off), |  |  | FALSE
4 | 33 | 3 | PID | pH PID-P | pH_PID_P | double | %5.3f | pH PID-P, |  |  | FALSE
4 | 34 | 2 | PID | pH PID-I | pH_PID_I | double | %5.3f | pH PID-I, |  |  | FALSE
4 | 35 | 1 | PID | pH PID-D | pH_PID_D | double | %5.3f | pH PID-D, |  |  | FALSE
4 | 36 | 6 | PID | O2 PID-P | O2_PID_P | double | %5.3f | O2 PID-P, |  |  | FALSE
4 | 37 | 5 | PID | O2 PID-I | O2_PID_I | double | %5.3f | O2 PID-I, |  |  | FALSE
4 | 38 | 4 | PID | O2 PID-D | O2_PID_D | double | %5.3f | O2 PID-D, |  |  | FALSE
5 | 39 | 2 | Gas control | CO2 Volts | co2_x_out | double | %5.3f | CO2 Volts, |  |  | FALSE
5 | 40 | 4 | Gas control | N2 Volts | n2_x_out | double | %5.3f | N2 Volts, |  |  | FALSE
5 | 41 | 3 | Gas control | O2 Volts | air_x_out | double | %5.3f | O2 Volts, |  |  | FALSE
5 | 42 | 1 | Gas control | Gas Control Mode (on/off) | Control_mode | T/F | %s | Gas Control Mode (on/off), |  |  | FALSE
| 43 |  |  | CO2 Purge Gas (T=N2, F=Air) | CO2 purge gas | T/F | %s | CO2 Purge Gas (T=N2, F=Air), |  |  | FALSE
5 | 44 | 14 | Feedback control | O2 Feedback (Cond.=F, Exp.=T) | O2_FB | T/F | %s | O2 Feedback (Cond.=F, Exp.=T), |  |  | FALSE
5 | 45 | 13 | Feedback control | pH Feedback (Cond. = F, Exp. = T) | pH_FB | T/F | %s | pH Feedback (Cond. = F, Exp. = T), |  |  | FALSE
5 | 46 | 0.5 | Manual Conitrol | Start Schedule (on/off) | Start Sched toggle | T/F | %s | Start Schedule (on/off), |  |  | FALSE
5 | 47 | 7 | Gas Control | O2 Base Volts | O2 Base Volts DH | double | %5.3f | O2 Base Volts, |  |  | FALSE
5 | 48 | 5 | Gas Control | CO2 Base Volts | CO2 Base Volts DH | double | %5.3f | CO2 Base Volts, |  |  | FALSE
5 | 49 | 9 | Gas Control | N2 Base Volts | N2 Base Volts DH | double | %5.3f | N2 Base Volts, |  |  | FALSE
5 | 50 | 8 | Gas Control | O2 Volts Amp. Percent | T1_O2_AMP | double | %5.3f | O2 Volts Amp. Percent, |  |  | FALSE
5 | 51 | 6 | Gas Control | CO2 Volts Amp. Percent | T1_CO2_AMP | double | %5.3f | CO2 Volts Amp. Percent, |  |  | FALSE
5 | 52 | 10 | Gas Control | N2 Volts Amp. Percent | T1_N2_AMP | double | %5.3f | N2 Volts Amp. Percent, |  |  | FALSE
6 | 53 | 1 | Manual Conitrol | Manual pH SP | Man_pH_SP | double | %5.3f | Manual pH SP, |  |  | FALSE
6 | 54 | 2 | Manual Conitrol | Manual O2 SP | Man_O2_SP | double | %5.3f | Manual O2 SP, |  |  | FALSE
6 | 55 | 3 | Manual Conitrol | Manual Temp SP | Man_T_SP | double | %5.3f | Manual Temp SP, |  |  | FALSE
6 | 56 | 4 | Manual Conitrol | Manual CO2 Volts | Man_pH_Cont | double | %5.3f | Manual CO2 Volts, |  |  | FALSE
6 | 57 | 5 | Manual Conitrol | Manual O2 Volts | Man_O2_Cont | double | %5.3f | Manual O2 Volts, |  |  | FALSE
6 | 58 | 6 | Manual Conitrol | Manual N2 Volts | Man_N2_Cont | double | %5.3f | Manual N2 Volts, |  |  | FALSE
7 | 59 | 1 | Heater | Conditioning Tank Heater (on/off) | c1_h | T/F | %s | Conditioning Tank Heater (on/off), |  |  | FALSE
7 | 60 | 2 | Heater | Bath Heater (on/off) | b1_h | T/F | %s | Bath Heater (on/off), |  |  | FALSE
8 | 61 | 0.5 |  | Configuration File Path | config file path | path | %s | Configuration File Path, |  |  | FALSE
8 | 62 | 1 | Config file | Upwelling Schedule File path | Upwelling Schedule File path | path | %s | Upwelling Schedule File path, |  |  | FALSE
8 | 63 | 2 | Config file | pH Cond. Serial Number | Cond. pH SN | text | %s | pH Cond. Serial Number, |  |  | FALSE
8 | 64 | 3 | Config file | pH Cond. Tank Calibration Date | Cond pH Calibration date | text | %s | pH Cond. Tank Calibration Date, |  |  | FALSE
| 65 |  | Config file | pH Cond. Cal. Temp. | Cond. pH Cal. Temp. | double | %5.3f | pH Cond. Cal. Temp., |  |  | FALSE
8 | 66 | 4 | Config file | pH Cond. Tank slope | Cond. pH Slope | double | %5.3f | pH Cond. Tank slope, |  |  | FALSE
8 | 67 | 5 | Config file | pH Cond. Tank Intercept | Cond. pH Intercept | double | %5.3f | pH Cond. Tank Intercept, |  |  | FALSE
8 | 68 | 6 | Config file | pH Exp. Serial Number | Exp. pH SN | text | %s | pH Exp. Serial Number, |  |  | FALSE
8 | 69 | 7 | Config file | pH Exp. Tank Calibration Date | Exp. pH Calibration date | text | %s | pH Exp. Tank Calibration Date, |  |  | FALSE
| 70 |  | Config file | pH Exp. Cal. Temp. | Exp. pH Cal. Temp. | double | %5.3f | pH Exp. Cal. Temp., |  |  | FALSE
8 | 71 | 8 | Config file | pH Exp. Tank slope | Exp. pH Slope | double | %5.3f | pH Exp. Tank slope, |  |  | FALSE
8 | 72 | 9 | Config file | pH Exp. Tank Intercept | Exp. pH Intercept | double | %5.3f | pH Exp. Tank Intercept, |  |  | FALSE
8 | 73 | 10 | Config file | O2 Cond. Serial Number | Cond. O2 SN | text | %s | O2 Cond. Serial Number, |  |  | FALSE
8 | 74 | 11 | Config file | O2 Cond. Tank Calibration Date | Cond. O2 Calibration date | text | %s | O2 Cond. Tank Calibration Date, |  |  | FALSE
8 | 75 | 12 | Config file | O2 Cond. Tank slope | Cond. O2 Slope | double | %5.3f | O2 Cond. Tank slope, |  |  | FALSE
8 | 76 | 13 | Config file | O2 Cond. Tank Intercept | Cond. O2 Intercept | double | %5.3f | O2 Cond. Tank Intercept, |  |  | FALSE
8 | 77 | 14 | Config file | O2 Exp. Serial Number | Exp. O2 SN | text | %s | O2 Exp. Serial Number, |  |  | FALSE
8 | 78 | 15 | Config file | O2 Exp. Tank Calibration Date | Exp. O2 Calibration date | text | %s | O2 Exp. Tank Calibration Date, |  |  | FALSE
8 | 79 | 16 | Config file | O2 Exp. Tank slope | Exp. O2 Slope | double | %5.3f | O2 Exp. Tank slope, |  |  | FALSE
8 | 80 | 17 | Config file | O2 Exp. Tank Intercept | Exp. O2 Intercept | double | %5.3f | O2 Exp. Tank Intercept, |  |  | FALSE
8 | 81 | 18 | Config file | Temp. Cond. Tank offset | Cond. Temp. Offset | double | %5.3f | Temp. Cond. Tank offset, |  |  | FALSE
8 | 82 | 19 | Config file | Temp. Cond. Tank hysteresis | Cond. Temp. Hyst. | double | %5.3f | Temp. Cond. Tank hysteresis, |  |  | FALSE
8 | 83 | 20 | Config file | Temp. Exp. Tank offset | Exp. Temp. Offset | double | %5.3f | Temp. Exp. Tank offset, |  |  | FALSE
8 | 84 | 21 | Config file | Temp. Exp. Tank hysteresis | Exp. Temp. Hyst. | double | %5.3f | Temp. Exp. Tank hysteresis, |  |  | FALSE
8 | 85 | 22 | Config file | Temp. Bath Tank offset | Bath Temp. Offset | double | %5.3f | Temp. Bath Tank offset, |  |  | FALSE
8 | 86 | 23 | Config file | Temp. Bath Tank hysteresis | Bath Temp. Hyst. | double | %5.3f | Temp. Bath Tank hysteresis, |  |  | FALSE
8 | 87 | 24 | Config file | Logging Interval (seconds) | Logger Interval (secs) | double | %5.3f | Logging Interval (seconds), |  |  | FALSE
9 | 88 | 1 | Alarms | pH Cond. Tank Alarm | Cond pH | T/F | %s | pH Cond. Tank Alarm, |  |  | FALSE
9 | 89 | 2 | Alarms | pH Exp. Tank Alarm | Exp pH | T/F | %s | pH Exp. Tank Alarm, |  |  | FALSE
9 | 90 | 3 | Alarms | O2 Cond. Tank Alarm | Cond O2 | T/F | %s | O2 Cond. Tank Alarm, |  |  | FALSE
9 | 91 | 4 | Alarms | O2 Exp. Tank Alarm | Exp O2 | T/F | %s | O2 Exp. Tank Alarm, |  |  | FALSE
9 | 92 | 5 | Alarms | Temperature Cond. Tank Alarm | Cond T | T/F | %s | Temperature Cond. Tank Alarm, |  |  | FALSE
9 | 93 | 6 | Alarms | Temperature Exp. Tank Alarm | Exp T | T/F | %s | Temperature Exp. Tank Alarm, |  |  | FALSE
9 | 94 | 7 | Alarms | Temperature Bath Alarm | H20 T | T/F | %s | Temperature Bath Alarm, |  |  | FALSE
| 95 |  |  | Day of year | Day of year |  |  | Day of year, |  |  | FALSE
TRUE
%s

## Sheet2
Field Definition = $Tx,
Date/Time,
pH SP Conditioning Tank,
pH Conditioning at Cond. Temp.,
pH Cond. Raw,
O2 SP Conditioning Tank,
O2 Conditioning Tank,
Temp SP Cond. Tank,
Temp C Cond. Tank,
pH exp. At Exp. Temp.,
pH Exp. Raw,
Temp C Cond. Tank,
pH exp. At Exp. Temp.,
pH Exp. Raw,
pH SP Offset,
O2 SP Offset,
Temp SP Offset,
Periods per cycle,
Current period,
Cycle Minutes,
Cycles done,
Cycle portion,
Cycle Start Time,
Time Started,
Buffer Data (on/off),
pH Data Buffer Period (sec),
pH Sensor Lag Period (sec),
Predicted pH Value,
Use Predicted pH for Control (on/off),
O2 Data Buffer Period (sec),
O2 Sensor Lag Period (sec),
Predicted O2 Value,
Use Predicted O2 for Control (on/off),
pH PID-P,
pH PID-I,
pH PID-D,
O2 PID-P,
O2 PID-I,
O2 PID-D,
CO2 Volts,
N2 Volts,
O2 Volts,
Gas Control Mode (on/off),
CO2 Purge Gas (T=N2, F=Air),
O2 Feedback (Cond.=F, Exp.=T),
pH Feedback (Cond. = F, Exp. = T),
Start Schedule (on/off),
O2 Base Volts,
CO2 Base Volts,
N2 Base Volts,
O2 Volts Amp. Percent,
CO2 Volts Amp. Percent,
N2 Volts Amp. Percent,
Manual pH SP,
Manual O2 SP,
Manual Temp SP,
Manual CO2 Volts,
Manual O2 Volts,
Manual N2 Volts,
Conditioning Tank Heater (on/off),
Bath Heater (on/off),
Configuration File Path,
Upwelling Schedule File path,
pH Cond. Serial Number,
pH Cond. Tank Calibration Date,
pH Cond. Cal. Temp.,
pH Cond. Tank slope,
pH Cond. Tank Intercept,
pH Exp. Serial Number,
pH Exp. Tank Calibration Date,
pH Exp. Cal. Temp.,
pH Exp. Tank slope,
pH Exp. Tank Intercept,
O2 Cond. Serial Number,
O2 Cond. Tank Calibration Date,
O2 Cond. Tank slope,
O2 Cond. Tank Intercept,
O2 Exp. Serial Number,
O2 Exp. Tank Calibration Date,
O2 Exp. Tank slope,
O2 Exp. Tank Intercept,
Temp. Cond. Tank offset,
Temp. Cond. Tank hysteresis,
Temp. Exp. Tank offset,
Temp. Exp. Tank hysteresis,
Temp. Bath Tank offset,
Temp. Bath Tank hysteresis,
Logging Interval (seconds),
pH Cond. Tank Alarm,
pH Exp. Tank Alarm,
O2 Cond. Tank Alarm,
O2 Exp. Tank Alarm,
Temperature Cond. Tank Alarm,
Temperature Exp. Tank Alarm,
Temperature Bath Alarm

## Sheet3
Date/Time, | pH SP Conditioning Tank, | pH Conditioning at Cond. Temp., | pH Cond. Raw, | O2 SP Conditioning Tank, | O2 Conditioning Tank, | Temp SP Cond, | Temp Conditioning Tank, | pH Exp at T Exp, | pH Exp raw, | O2 Exp tank, | Temp Exp, | pH Exp. Raw, | pH Cond OS, | pH Exp OS, | O2 Cond OS, | O2 Exp OS, | pH SP Offset, | O2 SP Offset, | Temp SP Offset, | Periods per cycle, | Current period, | Cycle Minutes, | Cycles done, | Cycle portion, | Cycle Start Time, | Time Started, | Buffer Data (on/off), | pH Data Buffer Period (sec), | pH Sensor Lag Period (sec), | Predicted pH Value, | Use Predicted pH for Control (on/off), | O2 Data Buffer Period (sec), | O2 Sensor Lag Period (sec), | Predicted O2 Value, | Use Predicted O2 for Control (on/off), | pH PID-P, | pH PID-I, | pH PID-D, | O2 PID-P, | O2 PID-I, | O2 PID-D, | CO2 Volts, | N2 Volts, | O2 Volts, | Gas Control Mode (on/off), | CO2 Purge Gas (T=N2, F=Air), | O2 Feedback (Cond.=F, Exp.=T), | pH Feedback (Cond. = F, Exp. = T), | Start Schedule (on/off), | O2 Base Volts, | CO2 Base Volts, | N2 Base Volts, | O2 Volts Amp. Percent, | CO2 Volts Amp. Percent, | N2 Volts Amp. Percent, | Manual pH SP, | Manual O2 SP, | Manual Temp SP, | Manual CO2 Volts, | Manual O2 Volts, | Manual N2 Volts, | Conditioning Tank Heater (on/off), | Bath Heater (on/off), | Configuration File Path, | Upwelling Schedule File path, | pH Cond. Serial Number, | pH Cond. Tank Calibration Date, | pH Cond. Cal. Temp., | pH Cond. Tank slope, | pH Cond. Tank Intercept, | pH Exp. Serial Number, | pH Exp. Tank Calibration Date, | pH Exp. Cal. Temp., | pH Exp. Tank slope, | pH Exp. Tank Intercept, | O2 Cond. Serial Number, | O2 Cond. Tank Calibration Date, | O2 Cond. Tank slope, | O2 Cond. Tank Intercept, | O2 Exp. Serial Number, | O2 Exp. Tank Calibration Date, | O2 Exp. Tank slope, | O2 Exp. Tank Intercept, | Temp. Cond. Tank offset, | Temp. Cond. Tank hysteresis, | Temp. Exp. Tank offset, | Temp. Exp. Tank hysteresis, | Temp. Bath Tank offset, | Temp. Bath Tank hysteresis, | Logging Interval (seconds), | pH Cond. Tank Alarm, | pH Exp. Tank Alarm, | O2 Cond. Tank Alarm, | O2 Exp. Tank Alarm, | Temperature Cond. Tank Alarm, | Temperature Exp. Tank Alarm, | Temperature Bath Alarm, | Day of year,