## Wago Encl
Wago Enclosure
Have | Ordered | Item | Manufacturer | Manuf PN# | Distributor | Dist PN# | Unit Cost | Quan | Cost | Description
|  | Electrical Enclosure | [5 empty] | 1 | 0
|  | Wago Coupler |  | 750-352 |  |  | 497 | 1 | 497
|  | Wago Analog In Module |  | 750-468 |  |  | 296.56 | 12 | 3558.72
|  | Wago RTD In Module |  | 750-460 |  |  | 330.79 | 12 | 3969.48
|  | Wago Analog Out Module |  | 750-559 |  |  | 209.48 | 12 | 2513.76
|  | Wago Digital Out Module |  | 750-1504 |  |  |  | 2 | 0
|  | Wago 24Vdc Coupler |  | 750-612 |  |  | 46.58 | 1 | 46.58
|  | Wago Terminator Module |  | 750-600 |  |  | 18.43 | 1 | 18.43
|  | Wago Bus Module |  | 280-651 |  |  | 2.63 |  | 0
|  | 24Vdc Power Supply | [5 empty] | 1 | 0
|  | 5Vdc Power Supply | [5 empty] | 1 | 0
|  | Valve Controller |  | EVPD-2 |  |  | 236.25 | 36 | 8505
1 | 6 | pH Iso Amplifier Board | MBARI |  |  |  |  | 6 | 0
| 24 | 3-pin Connector |  |  |  |  | 1 | 24 | 24
| 30 | 2-pin Connector |  |  |  |  | 1 | 30 | 30
| 1 | 30-pin Amphenol Connector |  |  |  |  | 38.45 | 14 | 538.3
0
19701.27

## 220VAC Encl
220VAC Enclosure
Have | Ordered | Item | Manufacturer | Manuf PN# | Distributor | Dist PN# | Unit Cost | Quan | Cost | Description
|  | Electrical Enclosure | [6 empty] | 0
|  | iso685 Ground Fault Monitor |  |  |  |  | 1965 | 1 | 1965
|  | P115 High Voltage Relay |  |  |  |  | 50 | 2 | 100
| 1 | Power Distribution Module |  |  |  |  | 119 | 1 | 119
|  | Wago Bus Module |  |  |  |  | 2.63 | 30 | 78.9
|  | Wago Relay Module |  |  |  |  | 51.15 | 32 | 1636.8
| 6 | 12-Position Terminal Strips |  |  |  |  | 13.67 | 8 | 109.36
|  | 30-Pin Connector | [5 empty] | 3 | 0 | Single, wire d=, unit d=, 30 cond cable
|  | Cord Grip, 220VAC |  |  |  | 69915K71 | 7.57 | 1 | 7.57 | Single, wire d=, unit d=, 220VAC cable
|  | Cord Grip, Heaters |  | CD13NA-BK-N-O |  | 69915K53 | 1 | 32 | 32 | Single, wire d=, unit d=, Heater cable
s
4048.63

## Junc Boxes
Junction Boxes
Have | Ordered | Item | Manufacturer | Manuf PN# | Distributor | Dist PN# | Unit Cost | Quan | Cost | Description
| 1 | Electrical Enclosure |  |  |  |  | 300 | 16 | 4800
1 | 12 | Signal Distribution Board | TE Connectivity | 1546695-1 | Digikey | A121448-ND | 55 | 16 | 880
1 | 1 | S.D. Board DIN Rail | TE Connectivity | 2TK2D-48 | Digikey | A111893-ND | 18.5 | 1 | 18.5
| 1 | DB37 Female Receptacle | TE Connectivity | 1757820-9 | Digikey | A34460-ND | 38.2 | 16 | 611.2
|  | Gas Valve | Clippard | EC-P-10-2550 | Clippard | EC-P-10-2550 | 61.28 | 48 | 2941.44
|  | Cord Grip, P1 |  | CD13NR-BK-N-O | McMaster-Carr | 69915K53 | 3.24 | 16 | 51.84 | Single, wire d=, unit d=, 30 cond cable
|  | Cord Grip, P4 |  | CD07AR-BK-N-O | McMaster-Carr | 69915K46 | 2.82 | 16 | 45.12 | Single, wire d=, unit d=, T Probe
|  | Cord Grip, P5, P6 |  | CD16N2-BK-N-O | McMaster-Carr | 7807K37 | 4.33 | 64 | 277.12 | Multi, wire d=, unit d=, pH+O2+T probes
|  | Cord Grip, P2, P3 |  | CD16N2-BK-N-O | McMaster-Carr | 7807K37 | 4.33 | 64 | 277.12 | Multi, tube d=, unit d=, gas tubes
[9 empty] | 9625.22 | All 12 junction boxes
[9 empty] | 802.1017 | Per Junction Box

## Sensors & Cables
Sensors and Cables
Have | Ordered | Item | Manufacturer | Manuf PN# | Distributor | Dist PN# | Unit Cost | Quan | Cost | Description
|  | pH Probe |  |  |  |  | 99 | 24 | 2376
|  | O2 Sensor |  |  |  |  | 299 | 24 | 7176
| 3 | RTD Temp Probe |  |  | Omega |  | 61 | 36 | 2196
|  | Immersion Heater |  |  |  |  | 56 | 24 | 1344
0
1 | 1 | 22AWG x30 (100') |  |  |  |  | 275 | 2 | 550
1 | 1 | 18AWG x4 (300') |  |  |  |  | 243 | 1 | 243
0
| 1 | 30-pin Amphenol Connectors |  |  |  |  | 63.01 | 14 | 882.14
0
0
14767.14