## Unit Tank Cost
Junction Box
| Manufacturer | Manuf Part Number | Distributor | Distributor PN# | Qty | Unit Cost | Item Cost | On Hand
AMP Connector | Amphenol | PT06A-18-30S(SR) | Digikey | PT06A-18-30S(SR)-ND | 1 | 53.13 | 53.13 | 25
Cable, TP(x3) 22AWG Shielded | Alpha Wire | 6010C SL005 | Newark | 02F9033 | 12 | 1.22 | 14.64
Cable, TP(x3) 22AWG Shielded | Alpha Wire | 6010C SL005 | Newark | 02F9033 | 12 | 1.22 | 14.64
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 12 | 0.74 | 8.88
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 12 | 0.74 | 8.88
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 12 | 0.74 | 8.88
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 12 | 0.74 | 8.88
Box | Bud Industries | PTQ-11048-C | Digikey | 377-2249-ND | 1 | 31.8 | 31.8 | 0
IDC Conn Socket 20-24 AWG | 3M | 37303-A124-00E-MB | Digikey | 3M9015-ND | 4 | 3.72 | 14.88
IDC Conn Plug 20-24 AWG | 3M | 37103-A124-00E-MB | Digikey | 3M9003-ND | 4 | 2.62 | 10.48
IDC Conn Socket 24-26 AWG | 3M | 37303-3101-000-FL-100 | Digikey | 3M155845-ND | 3 | 2.81 | 8.43
IDC Conn Plug 24-26 AWG | 3M | 37103-3101-000-FL-100 | Digikey | 3M155969-ND | 3 | 2.62 | 7.86
Valve | Clippard | EC-P-10-2550 | Clippard | EC-P-10-2550 | 3 | 61.28 | 183.84
Cord Grip | McMaster-Carr | CD21NR-BK-N-O | McMaster-Carr | 69915K53 | 1 | 3.24 | 3.24
Cord Grip | McMaster-Carr | CD16N2-BK-N-O | McMaster-Carr | 7807K37 | 4 | 4.33 | 17.32
Cord Grip | McMaster-Carr | CD07AR-BK-N-O | McMaster-Carr | 69915K46 | 1 | 2.43 | 2.43
398.21
Heaters
Heater |  |  | Omega | EMH-060-240V | 2 | 57 | 114 | 8
Cable |  |  |  |  | 12 | 1 | 12
126
Instruments
pH Probe |  |  |  |  | 2 | 75 | 150
O2 Probe |  |  |  |  | 2 | 205 | 410
Temp Sensor |  |  | Omega | P-M-A-1/4-6-0-T-3 | 3 | 58.9 | 176.7
736.7
|  |  |  | Total Cost per Tank -> |  |  | 1260.91

## Initial 4 Tanks
Junction Box
| Manufacturer | Manuf Part Number | Distributor | Distributor PN# | Qty on Hand | Qty Needed | Qty to Buy | Unit Cost | Item Cost
AMP Connector | Amphenol | PT06A-18-30S(SR) | Digikey | PT06A-18-30S(SR)-ND | 25 | 4 | 0 | 53.13 | 0
Cable, TP(x3) 22AWG Shielded | Alpha Wire | 6010C SL005 | Newark | 02F9033 | 0 | 48 | 48 | 1.22 | 58.56
Cable, TP(x3) 22AWG Shielded | Alpha Wire | 6010C SL005 | Newark | 02F9033 | 0 | 48 | 48 | 1.22 | 58.56
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 0 | 48 | 48 | 0.74 | 35.52
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 0 | 48 | 48 | 0.74 | 35.52
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 0 | 0 | 0 | 0.74 | 0
Cable, TT 22AWG Shielded | Alpha Wire | 5640B2201 NC005 | Newark | 92C8889 | 0 | 0 | 0 | 0.74 | 0
Box | Bud Industries | PTQ-11048-C | Digikey | 377-2249-ND | 0 | 4 | 4 | 31.8 | 127.2
IDC Conn Socket 20-24 AWG | 3M | 37303-A124-00E-MB | Digikey | 3M9015-ND | 4 | 16 | 16 | 3.72 | 59.52
IDC Conn Plug 20-24 AWG | 3M | 37103-A124-00E-MB | Mouser |  | 4 | 16 | 16 | 2.62 | 41.92
IDC Conn Socket 24-26 AWG | 3M | 37303-3101-000-FL-100 | Digikey | 3M155845-ND | 4 | 12 | 12 | 2.81 | 33.72
IDC Conn Plug 24-26 AWG | 3M | 37103-3101-000-FL-100 | Mouser |  | 4 | 12 | 12 | 2.62 | 31.44
Valve | Clippard | EC-P-10-2550 | Clippard | EC-P-10-2550 | 12 | 12 | 0 | 61.28 | 0
Cord Grip | McMaster-Carr | CD21NR-BK-N-O | McMaster-Carr | 69915K53 | 10 | 4 | 0 | 3.24 | 0
Cord Grip | McMaster-Carr | CD16N2-BK-N-O | McMaster-Carr | 7807K37 | 25 | 16 | 0 | 4.33 | 0
Cord Grip | McMaster-Carr | CD07AR-BK-N-O | McMaster-Carr | 69915K46 | 15 | 4 | 0 | 2.43 | 0
481.96