## British Telecom Analog (BTA) – Right Hand

- Pin 1 = Sensor output (+/-10V)

- Pin 2 = GND

- Pin 3 = Vres (resistance reference)

- Pin 4 = AutoIDENT (not supported on all sensors)

- Pin 5 = Power (+5VDC)

- Pin 6 = Sensor output (0-5V)

## British Telecom Digital (BTD) – Left Hand

| POS. | DEFAULT | MOTION DETECTOR | PHOTOGATE | RADIATION MONITOR | ROTARY MOTION |
| --- | --- | --- | --- | --- | --- |
| Pin1 | DIO0 | Echo | Input | Countinput | CCWcount |
| Pin2 | DIO1 | Init |  |  | CWcount |
| Pin3 | DIO2 | AutoID |  |  |  |
| Pin4 | PWR (5.3V) | PWR (5.3V) | PWR (5.3V) | PWR (5.3V) | PWR (5.3V) |
| Pin5 | GND | GND | GND | GND | GND |
| Pin6 | DIO3 |  |  |  | X4res. |