## 2015-11-1T4-41-19
$ | Date | Time | State | Comment | Pressure | Bel Pos | Batt Volt | CTD Temp | CTD Sal | LPS331 Press | LPS311 Temp | SHT21 Humid | SHT21 Temp | FLBB | Topt | Tphase | Rphase | NO3 | pH | LPF PVel | Diff PVel | LPF PAcc | Press Avg | Press Var | PID SP | PID PV | PID Y1 | PID Y2 | PID I | PID v | PID u | PID uCPS | Batt Amps | 12V Amps | 3.3V Amps | Debug | GPS | Irid Modem
$ | 2015-11-01 | 4:41 | Surface Ops | Opened new engr log file: \SD\2015-11-1T4-41-19
$ | 2015-11-01 | 4:41 | Surface Ops | Profile Number = 30
$ | 2015-11-01 | 4:41 | Surface Ops | Optode Message | 1.78 | [9 empty] | Sending Optode Do Sample
$ | 2015-11-01 | 4:41 | Surface Ops | Optode Message | 1.78 | [9 empty] | %!MEASUREMENT,4330,1996,O2Concentration[uM],362.269,AirSaturation[%],127.812,Temperature[Deg.C],20.081,CalPhase[Deg],25.672,TCPhase[Deg],27.032,C1RPh[Deg],35.639,C2RPh[Deg],8.608,C1Amp[mV],598.8,C2Amp[mV],847.5,RawTemp[mV],235.0
$ | 2015-11-01 | 4:41 | Surface Ops | Optode Message | 1.78 | [9 empty] | #
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | AT+SBDD2
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | 0
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | OK
$ | 2015-11-01 | 4:41 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2574 | 30.9 | [25 empty] | 0.2425 | -100
$ | 2015-11-01 | 4:41 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2586 | 30.9 | [25 empty] | 0.1975 | -100
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | AT+CREG?
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | +CREG:000,000
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message
$ | 2015-11-01 | 4:41 | Surface Ops | A3LA Message | [33 empty] | OK
$ | 2015-11-01 | 4:41 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2586 | 30.9 | [25 empty] | 0.20125 | -100
$ | 2015-11-01 | 4:41 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2583 | 30.9 | [25 empty] | 0.205 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2581 | 30.9 | [25 empty] | 0.20625 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2583 | 30.9 | [25 empty] | 0.19875 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2584 | 30.9 | [25 empty] | 0.20125 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.258 | 30.9 | [25 empty] | 0.19875 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2575 | 30.9 | [25 empty] | 0.205 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2578 | 30.9 | [25 empty] | 0.20625 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2583 | 30.9 | [25 empty] | 0.1975 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2583 | 30.9 | [25 empty] | 0.19875 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2591 | 30.9 | [25 empty] | 0.2 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2571 | 30.9 | [25 empty] | 0.205 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2572 | 30.9 | [25 empty] | 0.20125 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2564 | 30.9 | [25 empty] | 0.225 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2573 | 30.9 | [25 empty] | 0.1975 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | PTH Message | [5 empty] | 1260.9043 | 23.4333 | 13.8097 | 23.8284
$ | 2015-11-01 | 4:42 | Surface Ops | EVK7 GPS Message | [32 empty] | UBX,00,044235.00,3648.16447,N,12147.28427,W,0.000,G3,17,19,0.495,255.22,0.076,,2.12,2.50,2.08,5,0,0*79
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2569 | 30.9 | [25 empty] | 0.2225 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message | [33 empty] | AT+CSQ
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message | [33 empty] | +CSQ:0
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message | [33 empty] | OK
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2574 | 30.9 | [25 empty] | 0.23375 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2567 | 30.9 | [25 empty] | 0.2325 | -100
$ | 2015-11-01 | 4:42 | Surface Ops | Sent SBDWT Command
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message | [33 empty] | AT+SBDWT
$ | 2015-11-01 | 4:42 | Surface Ops | A3LA Message | [33 empty] | READY
$ | 2015-11-01 | 4:42 | Surface Ops | Resetting SBE41 with qs
$ | 2015-11-01 | 4:42 | Surface Ops | Pressure isn't changing. Moving to RECOVERY MODE
$ | 2015-11-01 | 4:42 | Surface Ops | Normal state exit
$ | 2015-11-01 | 4:42 | Surface Ops | RecMode false, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2572 | 30.9 | [25 empty] | 0.22 | -100
$ | 2015-11-01 | 4:42 | RecoveryMode | State Entry
$ | 2015-11-01 | 4:42 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.2572 | 30.825 | [25 empty] | 0.38375 | -100
$ | 2015-11-01 | 4:42 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 46.6475 | 30.775 | [25 empty] | 0.81625 | -100
$ | 2015-11-01 | 4:42 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 47.1482 | 30.775 | [25 empty] | 0.81875 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 47.6534 | 30.775 | [25 empty] | 0.8175 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 48.1464 | 30.775 | [25 empty] | 0.81875 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 48.6418 | 30.775 | [25 empty] | 0.81125 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 49.1243 | 30.775 | [25 empty] | 0.80625 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 49.5991 | 30.775 | [25 empty] | 0.81 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 50.0745 | 30.775 | [25 empty] | 0.80875 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 50.5396 | 30.775 | [25 empty] | 0.81375 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 51.0048 | 30.775 | [25 empty] | 0.80125 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 51.4738 | 30.775 | [25 empty] | 0.805 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 51.9404 | 30.775 | [25 empty] | 0.80375 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 52.4087 | 30.775 | [25 empty] | 0.805 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 52.8809 | 30.775 | [25 empty] | 0.80625 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 53.3549 | 30.775 | [25 empty] | 0.80375 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | PTH Message | [5 empty] | 1261.5879 | 23.3667 | 13.7334 | 23.8284
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 53.8551 | 30.775 | [25 empty] | 0.82125 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 54.3206 | 30.775 | [25 empty] | 0.8 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 54.8031 | 30.775 | [25 empty] | 0.80375 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 55.2935 | 30.775 | [25 empty] | 0.79875 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 55.773 | 30.775 | [25 empty] | 0.8025 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 56.2639 | 30.775 | [25 empty] | 0.78875 | -100
$ | 2015-11-01 | 4:43 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 56.7492 | 30.775 | [25 empty] | 0.7975 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 57.2283 | 30.775 | [25 empty] | 0.7925 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 57.7055 | 30.775 | [25 empty] | 0.8025 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 58.1801 | 30.775 | [25 empty] | 0.79125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 58.645 | 30.775 | [25 empty] | 0.79 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 59.1098 | 30.775 | [25 empty] | 0.79375 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 59.5725 | 30.775 | [25 empty] | 0.78125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 60.0337 | 30.775 | [25 empty] | 0.80125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 60.4899 | 30.775 | [25 empty] | 0.7925 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 60.9445 | 30.775 | [25 empty] | 0.79375 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 61.4002 | 30.775 | [25 empty] | 0.78 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 61.8528 | 30.775 | [25 empty] | 0.79125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 62.309 | 30.775 | [25 empty] | 0.77875 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 62.7631 | 30.775 | [25 empty] | 0.79125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | PTH Message | [5 empty] | 1239.1082 | 23.4833 | 13.6495 | 23.8177
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 63.2355 | 30.775 | [25 empty] | 0.79125 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 63.6803 | 30.775 | [25 empty] | 0.78 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 64.1332 | 30.775 | [25 empty] | 0.7875 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 64.5928 | 30.775 | [25 empty] | 0.77625 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 65.0508 | 30.775 | [25 empty] | 0.7875 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 65.5008 | 30.775 | [25 empty] | 0.775 | -100
$ | 2015-11-01 | 4:44 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 65.9484 | 30.775 | [25 empty] | 0.7775 | -100
$ | 2015-11-01 | 4:45 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 66.3993 | 30.775 | [25 empty] | 0.78 | -100
$ | 2015-11-01 | 4:45 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 66.8756 | 30.775 | [25 empty] | 0.7875 | -100
$ | 2015-11-01 | 4:45 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 66.8756 | 30.775 | [25 empty] | 0.7875 | -100
$ | 2015-11-01 | 4:45 | RecoveryMode | RecMode true, PID Off, Ext'g, Scend sub: Outside Band, depthNum = 0 | 1.78 | 67.7601 | 30.775 | [25 empty] | 0.78125 | -100
$ | 2015-11-01 | 4:45 | RecoveryMode | Normal state exit
$ | 2015-11-01 | 4:45 | RecoveryMode | RecMode true, PID Off, Stopped, Scend sub: Outside Band, depthNum = 0 | 1.78 | 67.7601 | 30.775 | [25 empty] | 0.78125 | -100
$ | 2015-11-01 | 4:45 | Surface Ops | State Entry
$ | 2015-11-01 | 4:45 | Surface Ops | Closing old engr log file: \SD\2015-11-1T4-41-19