## Quick Test
GC: 2msec 887736 bytes used, 66218028 bytes available
Type 0F (STRING ): 360 bytes
Type 11 (CLASS ): 14832 bytes
Type 12 (VALUETYPE ): 14724 bytes
Type 13 (SZARRAY ): 185688 bytes
Type 03 (U1 ): 88680 bytes
Type 04 (CHAR ): 86736 bytes
Type 06 (U2 ): 540 bytes
Type 07 (I4 ): 108 bytes
Type 08 (U4 ): 1044 bytes
Type 0C (R8 ): 3852 bytes
Type 11 (CLASS ): 3168 bytes
Type 12 (VALUETYPE ): 1560 bytes
Type 15 (FREEBLOCK ): 66218028 bytes
Type 16 (CACHEDBLOCK ): 96 bytes
Type 17 (ASSEMBLY ): 52140 bytes
Type 18 (WEAKCLASS ): 48 bytes
Type 19 (REFLECTION ): 144 bytes
Type 1B (DELEGATE_HEAD ): 432 bytes
Type 1D (OBJECT_TO_EVENT ): 240 bytes
Type 1E (BINARY_BLOB_HEAD ): 601380 bytes
Type 1F (THREAD ): 768 bytes
Type 20 (SUBTHREAD ): 96 bytes
Type 21 (STACK_FRAME ): 1524 bytes
Type 27 (FINALIZER_HEAD ): 216 bytes
Type 31 (IO_PORT ): 324 bytes
Type 34 (APPDOMAIN_HEAD ): 72 bytes
Type 36 (APPDOMAIN_ASSEMBLY ): 14652 bytes
GC: performing heap compaction...
The thread '<No Name>' (0x2) has exited with code 0 (0x0).
SMBUS Read Error
SMBUS Read Error
SMBUS Read Error
SMBUS Read Error
SMBUS Read Error
SMBUS Read Error
$ | 2021-04-30 | 21:44 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
No SD: $ | 2021-04-30 | 21:44 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
$ | 2021-04-30 | 21:44 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
No SD: $ | 2021-04-30 | 21:44 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
$ | 2021-04-30 | 21:44 | UnitTest | Opened new engr log file: \SD\data\2021-4-30T21-43-50\CPF003.001.eng
$ | 2021-04-30 | 21:44 | UnitTest | Reset Controller Status Register Value = 65792
$ | 2021-04-30 | 21:44 | UnitTest | File Name = \SD\data\2021-4-30T21-43-50\CPF003.001.eng
$ | 2021-04-30 | 21:44 | UnitTest | Volume Total Size: 7939817472
$ | 2021-04-30 | 21:44 | UnitTest | Volume Free Space: 7932051456
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID K = 80
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID Ti = 50000
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID Td = 10
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID Tf = 10
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID Tt = 100
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID B = 1
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID uLow = -50
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID uHigh = 50
$ | 2021-04-30 | 21:44 | UnitTest | PlatVel PID h = 3
$ | 2021-04-30 | 21:44 | UnitTest | Engr Logger Initialized
$ | 2021-04-30 | 21:44 | UnitTest | File Check Passed.
$ | 2021-04-30 | 21:44 | UnitTest | BE::init: Initializing Buoyancy Engine
$ | 2021-04-30 | 21:44 | UnitTest | Sending Elmo Echo Off command
$ | 2021-04-30 | 21:44 | UnitTest | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-04-30 | 21:44 | UnitTest | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-04-30 | 21:44 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 10
$ | 2021-04-30 | 21:44 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 9
$ | 2021-04-30 | 21:44 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 8
$ | 2021-04-30 | 21:44 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 7
$ | 2021-04-30 | 21:44 | UnitTest | BE::closeMV: Starting valve close
$ | 2021-04-30 | 21:44 | UnitTest | BE::init: Getting bellows position 5X
$ | 2021-04-30 | 21:44 | UnitTest | Try 0 BP = 47.241716374973464
$ | 2021-04-30 | 21:44 | UnitTest | Try 1 BP = 32.598585077494675
$ | 2021-04-30 | 21:44 | UnitTest | Try 2 BP = 32.608101074091778
$ | 2021-04-30 | 21:44 | UnitTest | Try 3 BP = 32.624745657171417
$ | 2021-04-30 | 21:44 | UnitTest | Try 4 BP = 32.633021525398973
$ | 2021-04-30 | 21:44 | UnitTest | BE::openMV: Starting valve open
$ | 2021-04-30 | 21:44 | UnitTest | STX | Date | Time | State | Time | Bellows Position | Volts | milliAmps
$ | 2021-04-30 | 21:44 | UnitTest | 21:44 | 32.65 | 31.575 | 5 | EO=0;;;;;;;;;0;0;0;16827136;
$ | 2021-04-30 | 21:44 | UnitTest | 21:44 | 32.67 | 31.575 | 5 | 0;0;0;16827136;
$ | 2021-04-30 | 21:44 | UnitTest | 21:44 | 32.67 | 31.575 | 5 | 0;0;0;16827136;
$ | 2021-04-30 | 21:44 | UnitTest | 21:44 | 32.67 | 31.575 | 5 | 0;0;0;16827136;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.67 | 31.575 | 5 | 0;0;0;16827136;
$ | 2021-04-30 | 21:45 | UnitTest | BE::sendJV: -100000
$ | 2021-04-30 | 21:45 | UnitTest | Start increasing buoyancy
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.67 | 31.5 | 525 | ;;;-94173;-0.15646;-0.69184;62964496;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.64 | 31.5 | 565 | -92592;-0.15538;-2.12767;62964496;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.56 | 31.5 | 590 | -92393;-0.02932;-2.41517;29410064;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.54 | 31.5 | 590 | -92750;0.01539;-1.42248;96518928;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.53 | 31.5 | 590 | -92657;0.02209;-2.32916;29410064;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.4 | 31.5 | 570 | -92382;-0.09859;-2.42886;46187280;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.34 | 31.475 | 590 | -94712;-0.00580;-1.72433;79741712;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.34 | 31.475 | 620 | -92094;0.13536;-2.30356;79741712;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.25 | 31.45 | 845 | -92434;-0.19751;-2.80838;96518928;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.16 | 31.425 | 1080 | -89890;-0.02095;-4.85686;79749904;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.07 | 31.525 | 150 | 0;-0.01158;-2.98387;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;0.00723;-2.96977;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;0.00571;-2.99797;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;-0.03766;-3.00362;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;0.02027;-2.99797;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.05 | 31.525 | 150 | 0;0.02027;-2.99797;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;0.01875;-2.98387;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.05 | 31.525 | 150 | 0;0.00571;-2.99375;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.04 | 31.525 | 150 | 0;-0.02462;-3.01207;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.05 | 31.525 | 150 | 0;0.01299;-3.00219;21029648;
$ | 2021-04-30 | 21:45 | UnitTest | 21:45 | 32.05 | 31.525 | 150 | 0;-5.398589e-05;-2.98387;21029648;
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.04 | 31.525 | 150 | 0;0.00723;-2.99797;21029648;
$ | 2021-04-30 | 21:46 | UnitTest | Stop pumping
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.05 | 31.55 | 5 | ;;;;;0;0;0;50381568;
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.05 | 31.55 | 5 | 0;0;0;50381568;
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.05 | 31.55 | 5 | 0;0;0;50381568;
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.05 | 31.55 | 5 | 0;0;0;50381568;
$ | 2021-04-30 | 21:46 | UnitTest | 21:46 | 32.05 | 31.55 | 5 | 0;0;0;50381568;
$ | 2021-04-30 | 21:46 | UnitTest | BE::sendJV: 100000
$ | 2021-04-30 | 21:46 | UnitTest | Start decreasing buoyancy
$ | 2021-04-30 | 21:46 | UnitTest | BE::closeMV: Starting valve close
$ | 2021-04-30 | 21:46 | UnitTest | BE::closeMV: Starting valve close

## Test 001
100000 | jog velocity CPS
80 | psi
161
254
355
420 | OK
465 | Something turned off
GC: 2msec 887736 bytes used, 66218028 bytes available
Type 0F (STRING ): 360 bytes
Type 11 (CLASS ): 14832 bytes
Type 12 (VALUETYPE ): 14724 bytes
Type 13 (SZARRAY ): 185688 bytes
Type 03 (U1 ): 88680 bytes
Type 04 (CHAR ): 86736 bytes
Type 06 (U2 ): 540 bytes
Type 07 (I4 ): 108 bytes
Type 08 (U4 ): 1044 bytes
Type 0C (R8 ): 3852 bytes
Type 11 (CLASS ): 3168 bytes
Type 12 (VALUETYPE ): 1560 bytes
Type 15 (FREEBLOCK ): 66218028 bytes
Type 16 (CACHEDBLOCK ): 96 bytes
Type 17 (ASSEMBLY ): 52140 bytes
Type 18 (WEAKCLASS ): 48 bytes
Type 19 (REFLECTION ): 144 bytes
Type 1B (DELEGATE_HEAD ): 432 bytes
Type 1D (OBJECT_TO_EVENT ): 240 bytes
Type 1E (BINARY_BLOB_HEAD ): 601380 bytes
Type 1F (THREAD ): 768 bytes
Type 20 (SUBTHREAD ): 96 bytes
Type 21 (STACK_FRAME ): 1524 bytes
Type 27 (FINALIZER_HEAD ): 216 bytes
Type 31 (IO_PORT ): 324 bytes
Type 34 (APPDOMAIN_HEAD ): 72 bytes
Type 36 (APPDOMAIN_ASSEMBLY ): 14652 bytes
GC: performing heap compaction...
The thread '<No Name>' (0x2) has exited with code 0 (0x0).
SMBUS Read Error
SMBUS Read Error
$ | 2021-04-30 | 21:51 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
No SD: $ | 2021-04-30 | 21:51 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
$ | 2021-04-30 | 21:51 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
No SD: $ | 2021-04-30 | 21:51 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
$ | 2021-04-30 | 21:51 | UnitTest | Opened new engr log file: \SD\data\2021-4-30T21-51-16\CPF003.001.eng
$ | 2021-04-30 | 21:51 | UnitTest | Reset Controller Status Register Value = 65792
$ | 2021-04-30 | 21:51 | UnitTest | File Name = \SD\data\2021-4-30T21-51-16\CPF003.001.eng
$ | 2021-04-30 | 21:51 | UnitTest | Volume Total Size: 7939817472
$ | 2021-04-30 | 21:51 | UnitTest | Volume Free Space: 7931985920
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID K = 80
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID Ti = 50000
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID Td = 10
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID Tf = 10
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID Tt = 100
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID B = 1
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID uLow = -50
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID uHigh = 50
$ | 2021-04-30 | 21:51 | UnitTest | PlatVel PID h = 3
$ | 2021-04-30 | 21:51 | UnitTest | Engr Logger Initialized
$ | 2021-04-30 | 21:51 | UnitTest | File Check Passed.
$ | 2021-04-30 | 21:51 | UnitTest | BE::init: Initializing Buoyancy Engine
$ | 2021-04-30 | 21:51 | UnitTest | Sending Elmo Echo Off command
$ | 2021-04-30 | 21:51 | UnitTest | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-04-30 | 21:51 | UnitTest | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-04-30 | 21:51 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 10
$ | 2021-04-30 | 21:51 | UnitTest | BE::closeMV: Starting valve close
$ | 2021-04-30 | 21:51 | UnitTest | BE::init: Getting bellows position 5X
$ | 2021-04-30 | 21:51 | UnitTest | Try 0 BP = 32.052416764841659
$ | 2021-04-30 | 21:51 | UnitTest | Try 1 BP = 31.722691407869338
$ | 2021-04-30 | 21:51 | UnitTest | Try 2 BP = 31.745126516737535
$ | 2021-04-30 | 21:52 | UnitTest | Try 3 BP = 31.769179660601438
$ | 2021-04-30 | 21:52 | UnitTest | Try 4 BP = 31.792203537039398
$ | 2021-04-30 | 21:52 | UnitTest | BE::openMV: Starting valve open
STX | Date | Time | State | Time | Bellows Position | Volts | milliAmps
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.81 | 31.55 | 5 | EO=0;;;;;;;;;0;0;0;83936000;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32 | 31.55 | 5 | 0;0;0;83936000;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32.06 | 31.55 | 10 | 0;0;0;83936000;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32.05 | 31.55 | 5 | 0;0;0;83936000;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32.06 | 31.55 | 10 | 0;0;0;83936000;
$ | 2021-04-30 | 21:52 | UnitTest | BE::sendJV: -100000
$ | 2021-04-30 | 21:52 | UnitTest | Start increasing buoyancy
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32.06 | 31.475 | 535 | ;;;-93714;-0.13635;-2.11727;29410064;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 32.06 | 31.475 | 580 | -92764;-0.06226;-1.63465;96518928;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.9 | 31.475 | 630 | -94696;-0.14298;-1.54029;113296144;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.82 | 31.475 | 610 | -90930;-0.00284;-2.52618;96518928;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.75 | 31.475 | 635 | -92687;0.00281;-1.61865;113296144;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.64 | 31.475 | 590 | -93462;-0.18697;-2.74610;96518928;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.56 | 31.45 | 605 | -92149;-0.13469;-2.07288;79741712;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.47 | 31.45 | 645 | -92367;0.03468;-2.06844;46187280;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.4 | 31.475 | 640 | -94207;-0.20856;-1.85915;29410064;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.3 | 31.475 | 625 | -93206;-0.23027;-2.02447;96518928;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.19 | 31.45 | 640 | -93142;-0.03183;-2.15723;46187280;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.11 | 31.45 | 600 | -92749;0.17314;-2.64871;29410064;
$ | 2021-04-30 | 21:52 | UnitTest | 21:52 | 31.04 | 31.45 | 590 | -94028;0.11237;-2.10843;79741712;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.97 | 31.45 | 670 | -92149;0.00451;-2.48424;46187280;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.86 | 31.45 | 705 | -91416;-0.09040;-2.74696;113296144;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.78 | 31.45 | 675 | -92361;-0.16113;-1.88883;29410064;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.77 | 31.45 | 680 | -93262;-0.23129;-2.06257;79741712;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.6 | 31.45 | 705 | -91061;-0.04430;-2.21890;113296144;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.5 | 31.425 | 685 | -92000;-0.07489;-2.79077;62964496;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.41 | 31.425 | 700 | -89970;0.04390;-2.58288;96518928;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.33 | 31.425 | 700 | -91898;-0.06967;-2.92532;46187280;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.22 | 31.425 | 770 | -90903;0.01191;-2.31832;113296144;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30.08 | 31.425 | 805 | -90344;-0.12635;-2.94234;96518928;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 30 | 31.425 | 765 | -90387;0.26999;-2.80530;29410064;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.98 | 31.425 | 800 | -90030;-0.09360;-2.51918;29410064;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.8 | 31.425 | 765 | -91361;-0.20763;-2.97390;62964496;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.69 | 31.425 | 800 | -91113;0.09489;-2.49474;46187280;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.6 | 31.425 | 765 | -91230;-0.15254;-2.69099;79741712;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.49 | 31.4 | 890 | -91544;-0.02849;-2.55321;79741712;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.39 | 31.4 | 875 | -91215;-0.23578;-3.75476;29410064;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.31 | 31.475 | 155 | -268;0.04657;-3.00216;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.24 | 31.5 | 150 | -9;-0.00378;-2.99034;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.24 | 31.5 | 155 | 0;0.04657;-3.02046;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.24 | 31.5 | 155 | 0;0.00897;-3.00610;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.23 | 31.5 | 155 | 0;-0.00983;-3.01258;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.24 | 31.5 | 155 | 0;-0.02862;-2.99822;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.23 | 31.5 | 155 | 0;-0.03467;-2.94726;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.23 | 31.5 | 155 | 0;0.00227;-2.99822;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.23 | 31.5 | 155 | 0;-0.04137;-3.00216;71361296;
$ | 2021-04-30 | 21:53 | UnitTest | 21:53 | 29.23 | 31.5 | 155 | 0;-0.02258;-3.00610;71361296;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.23 | 31.5 | 155 | 0;0.04052;-2.99822;71361296;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.23 | 31.5 | 155 | 0;-0.02862;-3.01652;71361296;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.23 | 31.5 | 155 | 0;0.00897;-3.02046;71361296;
$ | 2021-04-30 | 21:54 | UnitTest | Stop pumping
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.24 | 31.525 | 5 | ;;;;;0;0;0;83936000;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.23 | 31.525 | 10 | 0;0;0;83936000;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.24 | 31.525 | 10 | 0;0;0;83936000;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.24 | 31.525 | 10 | 0;0;0;83936000;
$ | 2021-04-30 | 21:54 | UnitTest | 21:54 | 29.24 | 31.525 | 5 | 0;0;0;83936000;

## Test 002
40000 | jog velocity CPS
635 | psi faded out.
$ | 2021-04-30 | 21:58 | UnitTest | BE::sendJV: -40000
$ | 2021-04-30 | 21:58 | UnitTest | Start increasing buoyancy
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.23 | 31.5 | 255 | ;;;-40152;0.15592;0.30136;113296144;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.23 | 31.5 | 255 | -40379;0.15775;-2.22501;96518928;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.17 | 31.5 | 370 | -38264;-0.27765;-1.56857;62964496;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.13 | 31.475 | 410 | -40748;-0.03085;-4.41607;96518928;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.1 | 31.475 | 400 | -38636;-0.36090;-0.86453;113296144;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.08 | 31.475 | 390 | -36151;0.12238;-3.46765;62964496;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 29.03 | 31.475 | 420 | -38365;0.15314;-0.26623;29410064;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.96 | 31.475 | 430 | -37310;-0.04445;-3.45806;62964496;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.94 | 31.475 | 430 | -39703;-0.09133;-2.05015;113296144;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.9 | 31.475 | 465 | -38225;0.12630;-1.43245;29410064;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.89 | 31.475 | 470 | -35259;0.03664;-0.86737;79741712;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.88 | 31.475 | 455 | -37741;0.15024;-4.96880;113296144;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.78 | 31.475 | 440 | -35063;0.22953;-4.38221;29410064;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.75 | 31.475 | 460 | -40396;-0.11869;-2.36956;96518928;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.69 | 31.475 | 455 | -38615;-0.08515;-1.48871;113296144;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.64 | 31.475 | 460 | -35795;-0.04537;-3.46817;96518928;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.6 | 31.475 | 460 | -38299;-0.00431;-4.84099;46187280;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.56 | 31.475 | 440 | -39788;-0.09471;-1.66490;29410064;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.52 | 31.475 | 450 | -40011;0.14783;-4.34343;46187280;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.48 | 31.475 | 455 | -36588;0.04210;-4.59453;96518928;
$ | 2021-04-30 | 21:58 | UnitTest | 21:58 | 28.46 | 31.45 | 435 | -38129;-0.10892;-4.66870;62964496;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.4 | 31.475 | 450 | -37795;0.13442;-3.56879;113296144;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.36 | 31.475 | 435 | -38354;0.11711;-1.36250;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.32 | 31.475 | 450 | -37705;-0.22889;-0.37281;62964496;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.26 | 31.45 | 440 | -40026;-0.14421;-0.46660;46187280;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.22 | 31.475 | 435 | -36953;0.06956;-4.31655;46187280;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.17 | 31.475 | 440 | -40559;-0.03426;-0.08053;113296144;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.12 | 31.45 | 410 | -40779;0.10600;-4.81507;79741712;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.09 | 31.45 | 420 | -40337;-0.11068;-1.75592;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.04 | 31.45 | 435 | -38048;0.16105;-0.43517;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 28.01 | 31.45 | 430 | -37642;-0.40675;-5.26687;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.96 | 31.45 | 430 | -36718;-0.04696;-3.41273;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.95 | 31.45 | 425 | -38259;0.05356;-3.07412;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.89 | 31.475 | 445 | -35931;0.07226;0.50333;62964496;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.84 | 31.45 | 410 | -39731;0.14614;-3.83157;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.8 | 31.45 | 425 | -38833;-0.34069;-2.06460;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.74 | 31.45 | 445 | -38661;0.20209;-2.36722;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.7 | 31.45 | 415 | -37846;0.23366;-2.99584;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.67 | 31.45 | 440 | -36551;0.10423;-3.43510;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.62 | 31.45 | 445 | -40220;0.18408;-3.00311;29410064;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.58 | 31.45 | 430 | -39653;0.16560;-3.59500;46187280;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.54 | 31.45 | 445 | -37644;0.10636;-1.91116;79741712;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.5 | 31.45 | 440 | -37948;-0.04298;-2.05823;96518928;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.46 | 31.45 | 450 | -39672;0.17932;-3.71783;62964496;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.43 | 31.45 | 430 | -37399;0.01153;-4.84812;46187280;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.38 | 31.45 | 440 | -36043;0.05160;-4.61917;46187280;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.32 | 31.45 | 435 | -36358;0.07884;-5.28992;113296144;
$ | 2021-04-30 | 21:59 | UnitTest | 21:59 | 27.28 | 31.45 | 430 | -35081;-0.26915;-5.06317;29410064;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.24 | 31.45 | 435 | -40326;-0.12537;-2.93153;79741712;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.2 | 31.45 | 455 | -35736;0.24372;-4.56363;62964496;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.18 | 31.45 | 475 | -35036;-0.01800;-3.62612;96518928;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.12 | 31.45 | 465 | -40174;-0.10322;-4.54087;113296144;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.09 | 31.45 | 445 | -40516;0.17736;-0.27361;29410064;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.05 | 31.45 | 465 | -40455;0.08866;-3.35289;96518928;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 27.03 | 31.45 | 490 | -37584;0.00561;-3.11943;29410064;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.97 | 31.475 | 150 | 10;-0.01909;-2.97277;21029648;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.94 | 31.475 | 150 | 0;-0.03828;-3.01339;21029648;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.93 | 31.475 | 150 | 0;0.01601;-2.96096;21029648;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.475 | 150 | 0;0.01601;-3.01150;21029648;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.475 | 150 | 0;-0.03031;-2.96285;21029648;
$ | 2021-04-30 | 22:00 | UnitTest | Stop pumping
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.91 | 31.5 | 10 | ;;;;;0;0;0;16827136;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.5 | 5 | 0;0;0;16827136;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.5 | 10 | 0;0;0;16827136;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.5 | 10 | 0;0;0;16827136;
$ | 2021-04-30 | 22:00 | UnitTest | 22:00 | 26.92 | 31.5 | 5 | 0;0;0;16827136;

## Test3
Sending Elmo read current limit
$ | 2021-05-06 | 19:27 | UnitTest | Sending Elmo CL[1] command
EO=0;
;
;
;
;
;
;
;
;
3.00000;
$ | 2021-05-06 | 19:28 | UnitTest | BE::openMV: Starting valve open
STX | Date | Time | State | Time | Bellows Position | Volts | milliAmps | Velocity (CPF) | Acctive Current | Reactive Current | Status |  | Pump Motor Fault
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.63 | 31.4 | 10 | 0 | 0 | 0 | 67158784 | 00000100.00000000.11000011.00000000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.88 | 31.4 | 5 | 0 | 0 | 0 | 67158784 | 00000100.00000000.11000011.00000000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.87 | 31.4 | 5 | 0 | 0 | 0 | 67158784 | 00000100.00000000.11000011.00000000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.87 | 31.4 | 5 | 0 | 0 | 0 | 67158784 | 00000100.00000000.11000011.00000000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.87 | 31.4 | 5 | 0 | 0 | 0 | 67158784 | 00000100.00000000.11000011.00000000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | BE::sendJV: -100000 | [7 empty] | 00000000.00000000.00000000.00000000
$ | 2021-05-06 | 19:28 | UnitTest | Start increasing buoyancy | [7 empty] | 00000000.00000000.00000000.00000000
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.88 | 31.35 | 505 | -95401 | 0.0461 | -1.957 | 96518928 | 00000101.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.75 | 31.325 | 540 | -94371 | -0.09603 | -1.5758 | 79741712 | 00000100.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.65 | 31.325 | 560 | -93279 | -0.07143 | -1.8194 | 79741712 | 00000100.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.52 | 31.325 | 575 | -92882 | 0.03226 | -2.0175 | 46187280 | 00000010.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.39 | 31.325 | 590 | -93555 | -0.03722 | -1.9524 | 46187280 | 00000010.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.28 | 31.325 | 595 | -93881 | 0.20974 | -2.0054 | 96518928 | 00000101.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:28 | UnitTest | 19:28 | 26.16 | 31.325 | 595 | -94348 | 0.22152 | -2.0736 | 79741712 | 00000100.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 26.04 | 31.325 | 600 | -91968 | -0.05211 | -2.2054 | 113296144 | 00000110.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.92 | 31.325 | 615 | -93047 | -0.16031 | -3.2451 | 113296144 | 00000110.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.82 | 31.325 | 610 | -93845 | -0.13559 | -2.2316 | 113296144 | 00000110.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.71 | 31.325 | 610 | -93163 | -0.1744 | -2.4685 | 29410064 | 00000001.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.58 | 31.275 | 885 | -92539 | -0.01918 | -2.3948 | 96518928 | 00000101.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.49 | 31.275 | 780 | -90294 | -0.11155 | -2.0314 | 113296144 | 00000110.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.37 | 31.275 | 855 | -90434 | 0.14585 | -2.9996 | 62964496 | 00000011.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.26 | 31.275 | 805 | -92983 | 0.28009 | -2.4183 | 79741712 | 00000100.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.25 | 31.275 | 830 | -92952 | -0.09159 | -2.7124 | 46187280 | 00000010.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 25.08 | 31.275 | 835 | -90419 | 0.24525 | -3.5336 | 96518928 | 00000101.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.96 | 31.275 | 850 | -91617 | 0.33355 | -2.0626 | 79741712 | 00000100.11000000.11000011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.88 | 31.275 | 785 | -83729 | 0.01284 | -3.0131 | 79749904 | 00000100.11000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.76 | 31.275 | 785 | -80553 | -0.12493 | -3.0812 | 96527120 | 00000101.11000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.65 | 31.275 | 680 | -67111 | 0.01458 | -3.0896 | 96527120 | 00000101.11000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.6 | 31.3 | 575 | -55640 | 0.22417 | -2.977 | 29418256 | 00000001.11000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.5 | 31.35 | 150 | 0 | 0.02615 | -2.9814 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | 0.00221 | -2.9936 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.01685 | -3.0237 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.00488 | -2.9964 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.03592 | -3.0115 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.01685 | -3.0171 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.00488 | -2.9964 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.48 | 31.35 | 150 | 0 | 0.01906 | -2.9786 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.48 | 31.35 | 150 | 0 | -0.03592 | -2.9814 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | -0.00488 | -3.0115 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.47 | 31.35 | 150 | 0 | 0.00931 | -2.9964 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:29 | UnitTest | 19:29 | 24.48 | 31.35 | 150 | 0 | 0.02615 | -2.9608 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.48 | 31.35 | 150 | 0 | -0.01685 | -2.9936 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -0.01685 | -3.0171 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | 0.01418 | -2.9871 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | 0.01418 | -2.9993 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -0.04789 | -2.9936 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -0.02395 | -2.9993 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -6.6749e-06 | -3.0293 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -0.00976 | -3.0443 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.46 | 31.35 | 150 | 0 | -0.04301 | -2.9964 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | -0.02395 | -3.0115 | 21029648 | 00000001.01000000.11100011.00010000 | 1
$ | 2021-05-06 | 19:30 | UnitTest | 19:30 | 24.47 | 31.35 | 150 | 0 | 0.03812 | -3.0086 | 21029648 | 00000001.01000000.11100011.00010000 | 1

## 2021May10
115 | psi
345 | psi
758 | psi
The thread '<No Name>' (0x2) has exited with code 0 (0x0).
SMBUS Read Error
$ | 2021-05-10 | 23:04 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
No SD: $ | 2021-05-10 | 23:04 |  | [ERROR] LHEBoard::setOutPuts Writing Outputs: BF
$ | 2021-05-10 | 23:04 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
No SD: $ | 2021-05-10 | 23:04 |  | [ERROR] LHEBoard::UpdateBatteryPack Couldn't Poll PIO 0x21 for Switch Disable
$ | 2021-05-10 | 23:04 | UnitTest | Opened new engr log file: \SD\data\2021-5-10T23-3-52\CPF003.001.eng
$ | 2021-05-10 | 23:04 | UnitTest | Reset Controller Status Register Value = 65792
$ | 2021-05-10 | 23:04 | UnitTest | File Name = \SD\data\2021-5-10T23-3-52\CPF003.001.eng
$ | 2021-05-10 | 23:04 | UnitTest | Volume Total Size: 7939817472
$ | 2021-05-10 | 23:04 | UnitTest | Volume Free Space: 7931461632
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID K = 80
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID Ti = 50000
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID Td = 10
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID Tf = 10
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID Tt = 100
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID B = 1
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID uLow = -50
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID uHigh = 50
$ | 2021-05-10 | 23:04 | UnitTest | PlatVel PID h = 3
$ | 2021-05-10 | 23:04 | UnitTest | Engr Logger Initialized
$ | 2021-05-10 | 23:04 | UnitTest | File Check Passed.
$ | 2021-05-10 | 23:04 | UnitTest | BE::init: Initializing Buoyancy Engine
$ | 2021-05-10 | 23:04 | UnitTest | Sending Elmo Echo Off command
$ | 2021-05-10 | 23:04 | UnitTest | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-05-10 | 23:04 | UnitTest | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-05-10 | 23:04 | UnitTest | BE::readyMV: Valve not ready, attempts remaining: 10
$ | 2021-05-10 | 23:04 | UnitTest | BE::closeMV: Starting valve close
$ | 2021-05-10 | 23:04 | UnitTest | BE::init: Getting bellows position 5X
$ | 2021-05-10 | 23:04 | UnitTest | Try 0 BP = 24.429988736310996
$ | 2021-05-10 | 23:04 | UnitTest | Try 1 BP = 24.084210171880052
$ | 2021-05-10 | 23:04 | UnitTest | Try 2 BP = 24.10549056605716
$ | 2021-05-10 | 23:04 | UnitTest | Try 3 BP = 24.131099412491892
$ | 2021-05-10 | 23:04 | UnitTest | Try 4 BP = 24.152687165508851
Sending Elmo read current limit
$ | 2021-05-10 | 23:04 | UnitTest | Sending Elmo CL[1] command
EO=0;
;
;
;
;
;
;
;
;
3.00000;
Setting Elmo current limit = 4.7
$ | 2021-05-10 | 23:04 | UnitTest | Sending Elmo CL[1]=4.7 command
;
Sending Elmo read current limit
$ | 2021-05-10 | 23:04 | UnitTest | Sending Elmo CL[1] command
4.70000;
$ | 2021-05-10 | 23:05 | UnitTest | BE::openMV: Starting valve open
$ | 2021-05-10 | 23:05 | UnitTest | STX | Date | Time | State | Time | Bellows Position | Volts | milliAmps | Pump Motor Fault
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.17 | 31.3 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.44 | 31.3 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.44 | 31.3 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.44 | 31.3 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.45 | 31.3 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:05 | UnitTest | BE::sendJV: -100000
$ | 2021-05-10 | 23:05 | UnitTest | Start increasing buoyancy
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.44 | 31.225 | 535 | ;;;-95327;-0.05792;-1.34653;96518928; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.32 | 31.225 | 550 | -92234;-0.20013;-1.99159;29410064; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.25 | 31.2 | 635 | -92678;-0.13216;-2.01254;96518928; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.21 | 31.225 | 660 | -93634;0.00346;-1.82795;96518928; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 24.01 | 31.2 | 620 | -92081;0.02139;-2.80588;46187280; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 23.91 | 31.2 | 635 | -91410;-0.08036;-1.34905;46187280; | 1
$ | 2021-05-10 | 23:05 | UnitTest | 23:05 | 23.78 | 31.2 | 630 | -94442;-0.08605;-1.82445;96518928; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.61 | 31.2 | 620 | -91899;0.18300;-1.74355;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.55 | 31.2 | 635 | -93220;-0.02261;-2.00485;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.45 | 31.2 | 660 | -91755;-0.03250;-2.73609;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.28 | 31.2 | 625 | -91873;-0.14395;-1.95613;96518928; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.16 | 31.2 | 640 | -94105;0.04388;-2.13744;96518928; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 23.05 | 31.2 | 685 | -92436;-0.00499;-1.95891;62964496; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.92 | 31.2 | 685 | -90756;-0.21319;-2.07203;29410064; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.85 | 31.175 | 655 | -90646;0.03649;-3.06469;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.72 | 31.175 | 675 | -91363;-0.08414;-1.99876;113296144; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.62 | 31.175 | 685 | -92694;0.23587;-2.68117;62964496; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.55 | 31.175 | 695 | -90661;-0.04926;-2.72680;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.39 | 31.175 | 665 | -90120;-0.11756;-2.80736;29410064; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.26 | 31.175 | 665 | -91475;0.02589;-2.85145;96518928; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.13 | 31.175 | 750 | -91615;0.29293;-2.09350;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 22.04 | 31.175 | 795 | -92872;-0.06544;-2.52004;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.92 | 31.15 | 770 | -92452;-0.09147;-2.79122;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.78 | 31.15 | 785 | -90614;0.03963;-3.05946;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.7 | 31.15 | 775 | -93232;0.07818;-2.73410;29410064; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.6 | 31.15 | 795 | -90210;-0.05914;-3.13215;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.46 | 31.15 | 790 | -90661;0.22836;-3.03918;46187280; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.43 | 31.15 | 770 | -92941;0.05505;-3.35038;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.27 | 31.15 | 790 | -90872;0.20261;-2.48702;113296144; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.17 | 31.15 | 920 | -90750;0.35331;-2.89289;62964496; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 21.03 | 31.125 | 975 | -91224;0.31788;-3.29998;29410064; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 20.94 | 31.125 | 1015 | -89499;-0.12639;-3.87836;113296144; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 20.91 | 31.125 | 1030 | -88913;0.00775;-3.82065;79741712; | 1
$ | 2021-05-10 | 23:06 | UnitTest | 23:06 | 20.75 | 31.125 | 1055 | -89116;-0.14713;-4.57485;96518928; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.66 | 31.125 | 1050 | -91371;-0.13361;-3.24136;46187280; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.54 | 31.125 | 1040 | -88295;-0.02511;-3.04948;79741712; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.44 | 31.125 | 1050 | -89285;-0.00545;-3.25536;113296144; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.35 | 31.1 | 1030 | -92692;0.16742;-4.36715;46187280; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.25 | 31.1 | 1040 | -91758;0.19621;-3.24626;46187280; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.14 | 31.1 | 1035 | -89936;-0.11275;-4.12853;46187280; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 20.04 | 31.1 | 1035 | -91834;0.10237;-4.39998;46187280; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.93 | 31.1 | 1025 | -88175;-0.05503;-4.31474;29410064; | 1
$ | 2021-05-10 | 23:07 | UnitTest | Stop pumping
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.63 | 31.225 | 5 | ;;;;;0;0;0;16827136; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.52 | 31.25 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.53 | 31.25 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.52 | 31.25 | 5 | 0;0;0;16827136; | 1
$ | 2021-05-10 | 23:07 | UnitTest | 23:07 | 19.52 | 31.25 | 5 | 0;0;0;16827136; | 1