# CPF Production Checkout Form

Revision 3

Unit SN:

### Installation

#### LHE (SN: 0002)

  - 6 Batteries Installed

  - SB1-10 unconnected

  - JP1 removed for Sleep enabled

  - JP2-3 2-2 for logic control

  - Fuses installed (3 places)

#### Motherboard (SN: 007)

  - SD Card Inserted (Size: 16GB)

  - JP1, JP2 Removed (LED Disable)

  - JP3 MODE wired for USB MODE

  - USB client harness installed

#### Daughtercards

  - SN2 in SLOT-1 (SN: P70729)

  - SN1 in SLOT-2 (SN: P70722)

  - SN3 in SLOT-3 (SN: P70734)

  - BTB on mount: Configured for RS232, LED resistors removed,

  - (SN: 004)

  - ISB in SLOT-6 (SN: 04)

#### Upper Assembly Hardware

  - MSC/ISUS/DuraFet (SN’s: P85922, P85970)

  - SBE Board (SN: P211239)

  - GPS (SN: No mark)

  - Iridium Modem

  - (SN: 01H9B)

  - (IMEI: 300125060569270)

  - (SIM: ???)

  - GPS/Iridium subsystem deck test

#### Lower Assembly Hardware

  - String pot & ADC (SN: STR:36920, ADC: NO Mark )

  - ELMO & Motor (SN: GS2194723665)

  - Motorized Valve

  - Arrow pointing toward pump

  - Bellows Plumbed

#### Wire Harness Check

  - WH-Battery Charger

  - WH-BT Console

  - WH-CTD Pwr/Comms

  - WH-FLBB

  - WH-GPS

  - WH-Iridium Comms

  - WH-LHE to MoBo Pwer/ISB

  - WH-Mot Valve

  - WH-MSC

  - WH-Fiberlite

  - WH-OCR504

  - WH-On/Off Switches

  - WH-Optode

  - WH-Pos Xducer

  - WH-PTH

  - WH-Pump Motor

  - WH-ucComms

  - Finalize all WH routings

### Pre-oil Fill

  - Motherboard SW Checkout

  - Energy Monitor BATT

  - 12V Control

  - 5V Control

#### Sensor Functionality

  - SLOT1-J5 to SLOT5 BT Console PWR/TELEM

  - SLOT1-J2 CTD PWR/TELEM

  - SLOT1-J4 Pump PWR/TELEM

  - SLOT2-J2-J3 Iridium PWR/TELEM

  - SLOT2-J4 MSC PWR/TELEM

  - SLOT2-J5 Optode PWR/TELEM (SN: 2707)

  - SLOT3-J4 OCR PWR/TELEM (SN:      )

  - SLOT3-J5 FLBB PWR/TELEM (SN:      )

  - SLOT6-J1 GPS PWR/TELEM (SN:      )

  - SLOT6-J2 Bellows Position PWR/TELEM

  - SLOT3-J6 Mot Valve PWR/DIO (SN:      )

  - SLOT6-J8 LHE I2C Attached

#### LHE

  - LHE Battery Polling

  - LHE Sleep Test

  - LHE Pump PWR/TELEM

    - Verify 2048 counts/rev

  - LHE Pump Energy Monitor

  - Charging Cycle through Endcap

#### Calibrations

  - MSC Calibrations

  - Environmental Sensors on ISB

#### Closed Unit Deck Test

  - Iridium Deck Test

  - GPS Deck Test

  - Bluetooth Deck Test

#### Fill with oil when 1-12 are complete

#### String Pot Cal

  - 0% Full (bellows upper plate against bellows bottom

    - ADC counts =

    - Voltage =

  - 100% Full (bellows upper plate 3mm below fixed top plate

    - ADC counts =

    - Voltage =

  - Slope =            Inter. =

#### Fill With Oil

  - Total oil in GC to start =

  - Left in GC at end =

  - Oil in CPF (a – b) =

#### Benchtop

  - Pump/Motor Calibration

  - Pump Bellows Cycling (10x)

  - Install desiccant packs

  - Close Unit

### Tank Tests

#### Surface Operations

  - Bluetooth

  - Temperature & Humidity Good (<25%RH)

  - GPS [ATTEMPT]

  - IRIDIUM SBD [ATTEMPT]

  - IRIDIUM SBD [ATTEMPT]

#### Buoyancy Operations

  - Ballast Tests

  - SurfaceOps Bellows Position

  - Descent/Ascent

  - Velocity Control

  - Depth Holding

  - Profile Control

  - Sampling Profile

- Configuration File Options

  - TBD

GENERAL COMMENTS: