## CPF003.001.2021-2-25T18-46-23
$ | Date | Time | State | Comment | Pressure | Bel Pos | Pump Volts | Pump milliAmps | Pump Joules | Hotel Volts | Hotel milliAmps | Hotel Joules | CTD Temp | CTD Sal | Raw Press | LPF Press | LPF Vel | Diff Vel | Diff 2 Vel | Slope of LPF Press. | CTD Sample Period | LPS331 Press | LPS311 Temp | SHT21 Humid | SHT21 Temp | PID SP | PID PV | PID Y1 | PID Y2 | PID I | PID v | PID u | PID uCPS | PID h | FLBB | Topt | Tphase | Rphase | NO3 | pH Vrs | OCR | GPS | Irid Modem | Msc
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Opened new engr log file: \SD\data\CPF003.001.2021-2-25T18-46-23.eng
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Reset Controller Status Register Value = 65792
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | File Name = \SD\data\CPF003.001.2021-2-25T18-46-23.eng
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Volume Total Size: 15468593152
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Volume Free Space: 15468486656
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID K = 80
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID Ti = 50000
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID Td = 10
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID Tf = 10
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID Tt = 100
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID B = 1
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID uLow = -50
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID uHigh = 50
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | PlatVel PID h = 3
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Engr Logger Initialized
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Opening new .dura file: \SD\data\CPF003.001.2021-2-25T18-46-23.dura
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Opening new .isus file: \SD\data\CPF003.001.2021-2-25T18-46-23.isus
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Creating Mission
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Recovery mode = True
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Park Sample Period = 00:01:00
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Mission Timeout = 3.00:00:00
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Max Profiles = 250
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Max Pressure = 125
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Descend table 0 Pressure, PV, Park Time, sample list: 100, -0.200, 00:04:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 0 Pressure, PV, Park Time, sample list: 100, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 1 Pressure, PV, Park Time, sample list: 95, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 2 Pressure, PV, Park Time, sample list: 90, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 3 Pressure, PV, Park Time, sample list: 85, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 4 Pressure, PV, Park Time, sample list: 80, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 5 Pressure, PV, Park Time, sample list: 75, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 6 Pressure, PV, Park Time, sample list: 70, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 7 Pressure, PV, Park Time, sample list: 65, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 8 Pressure, PV, Park Time, sample list: 60, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 9 Pressure, PV, Park Time, sample list: 55, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 10 Pressure, PV, Park Time, sample list: 50, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 11 Pressure, PV, Park Time, sample list: 45, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 12 Pressure, PV, Park Time, sample list: 40, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 13 Pressure, PV, Park Time, sample list: 35, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 14 Pressure, PV, Park Time, sample list: 30, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 15 Pressure, PV, Park Time, sample list: 25, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 16 Pressure, PV, Park Time, sample list: 20, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 17 Pressure, PV, Park Time, sample list: 15, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 18 Pressure, PV, Park Time, sample list: 10, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 19 Pressure, PV, Park Time, sample list: 5, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Ascend table 20 Pressure, PV, Park Time, sample list: 0, 0.100, 00:00:00, 7
$ | 2021-02-25 | 18:46 | Engineering Logger Initialization | Unable to load last profile number mission state
$ | 2021-02-25 | 18:46 | Initializing GPS and synching time | Initializing GPS and synching time
$ | 2021-02-25 | 18:46 | Initializing GPS and synching time | Response to GPS PUBX04 message | NaN | [36 empty] | US=INIT*3B
$ | 2021-02-25 | 18:46 | Initializing GPS and synching time | Response to GPS PUBX04 message | NaN | [36 empty] | UBX,04,000001.00,181015,1.00,1867,17D,0,0.000,21*5C
$ | 2021-02-25 | 18:46 | Initializing GPS and synching time | Time from GPS <2018; Adjust from RTC: 02/25/2021 18:46:28 + 00:00:00.0666400
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | Initializing Buoyancy Engine
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | BE::init: Initializing Buoyancy Engine
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | Sending Elmo Echo Off command
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-02-25 | 18:46 | Initializing Buoyancy Engine | BE::readyMV: Valve not ready, attempts remaining: 10
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | BE::closeMV: Starting valve close
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | BE::init: Getting bellows position 5X
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | [ERROR] 2485 Sample out of range
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | [ERROR] converting ADC value, raw value = 2147483647
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | Try 0 BP = NaN
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | Try 1 BP = 48.538171218569047
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | Try 2 BP = 48.748480559319205
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | Try 3 BP = 48.834152043633779
$ | 2021-02-25 | 18:47 | Initializing Buoyancy Engine | Try 4 BP = 48.914134455353434
$ | 2021-02-25 | 18:47 | Init Mission | Setting Execution Constraint = 900000
$ | 2021-02-25 | 18:47 | Init Mission | State Entry
$ | 2021-02-25 | 18:47 | Init Mission | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-02-25 | 18:47 | Init Mission | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-02-25 | 18:47 | Init Mission | Powering up FLBB
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB stop command
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB pkt command: $pkt 1
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB ave command: $ave 1
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB stop command
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB pkt command: $pkt 1
$ | 2021-02-25 | 18:47 | Init Mission | Sending FLBB ave command: $ave 1
$ | 2021-02-25 | 18:47 | Init Mission | Powering up Iridium Modem
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | NAL Research Corporation
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | Iridium Modem Model: A3LA-RG
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | Firmware Version 1.1.0r197
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | Running Self Test...Passed
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | ENCRYPTION DISABLED THIS POWER CYCLE
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | COMMAND MODE
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | AT&D0
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | AT&K0
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | AT+SBDD2
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | 0
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | AT+GSN
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | 300125010615650
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | AT+SBDC
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | 0
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | ATEn=0
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | ERROR
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | 8.9882e+18
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message
$ | 2021-02-25 | 18:47 | Init Mission | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:47 | Init Mission | Powering Up CTD
$ | 2021-02-25 | 18:47 | Init Mission | Sending SBE41 stopProfile
$ | 2021-02-25 | 18:47 | Init Mission | pcutoff=1
$ | 2021-02-25 | 18:47 | Init Mission | Sending outputPTSyes
$ | 2021-02-25 | 18:47 | Init Mission | Sending tsWait
$ | 2021-02-25 | 18:47 | Init Mission | Sending 11 bin setup commands
$ | 2021-02-25 | 18:47 | Init Mission | SBE41 Message | -0.11 | 48.9141 | NaN | NaN | [5 empty] | -0.11, 17.4360, 0.0089 | -0.11 | -1e-06 | 0 | 0.036667 | 0.018333 | 0 | 3000
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>pcutoff=1
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>outputpts=y
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>tswait=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>autobinavg=n
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>top_bin_interval=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>top_bin_size=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>top_bin_max=10
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>middle_bin_interval=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>middle_bin_size=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>middle_bin_max=20
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>bottom_bin_interval=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>bottom_bin_size=2
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>includetransitionbin=n
$ | 2021-02-25 | 18:47 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>includenbin=y
$ | 2021-02-25 | 18:47 | Init Mission | Powering up 4330 Optode
$ | 2021-02-25 | 18:47 | Init Mission | Optode: Set passkey high
$ | 2021-02-25 | 18:47 | Init Mission | Optode Message | [31 empty] | !#
$ | 2021-02-25 | 18:47 | Init Mission | Optode: Disable text
$ | 2021-02-25 | 18:47 | Init Mission | Optode Message | [31 empty] | #
$ | 2021-02-25 | 18:47 | Init Mission | Optode: Disable air sat
$ | 2021-02-25 | 18:47 | Init Mission | Optode Message | [31 empty] | #
$ | 2021-02-25 | 18:47 | Init Mission | Optode: Disable comm timeout
$ | 2021-02-25 | 18:47 | Init Mission | Optode Message | [31 empty] | #
$ | 2021-02-25 | 18:47 | Init Mission | Optode: Disable sleep
$ | 2021-02-25 | 18:47 | Init Mission | Optode Message | [31 empty] | #
$ | 2021-02-25 | 18:47 | Init Mission | Initializing Pressure, Temperature, Humidity sensor
$ | 2021-02-25 | 18:47 | Init Mission | Initializing MSC
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: MBARI Sensor Controller (ISUS/DURA) Initializing...
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: MBARI Serial Number : 0003
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: CF2 App: CPF_MAIN.C Date: Nov 20 2020 13:19:41
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: CF2 S/N: 15079 - BIOS:4.03 - PicoDOS:4.03
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: CF Card: Size=256614400 Avail=98.24%
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: CF2 Power Up (GMT): Thu Feb 25 18:47:26 2021
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: CF2 RTC Time (GMT): Thu Feb 25 18:47:30 2021
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Adjusted Local Time: Thu Feb 25 10:47:30 2021
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: TZ Offset (GMT - LOCAL) : +8.00 hrs.
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: RTC delta (CF2 - DS3234) : -1.00 secs.
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: System Batt Voltage = 11.700
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: System Load Current = 2.46e-02
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Housing Temperature = +17.92C = +64.26F
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Housing Humidity = 47.5% = 6.6C (DP)
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Power Cycle Count = 1
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: System Reset Count = 1
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: System Error Count = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last System Error = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last Error Time = Thu Jan 1 00:00:00 1970
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: ISUS Error Count = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last ISUS Error = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last Error Time = Thu Jan 1 00:00:00 1970
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: DURA Error Count = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last DURA Error = 0
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Last Error Time = Thu Jan 1 00:00:00 1970
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Fiberlite Odometer = 01:41:11 = 6071 secs
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Fiberlite Cycles = 1637
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Spectrometer Status = MBARI-ISUS 1.1, 04-Mar-15, 10:16:08
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Zeiss Coef File Found 4 coefs loaded.
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Ecoef File Found 256 coefs loaded.
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: MBARI Sensor Controller (ISUS/DURA) Initialized
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Auto Shutdown in 10 hours at: Fri Feb 26 04:47:31 2021
$ | 2021-02-25 | 18:48 | Init Mission | [MSC] RX: Entering Suspend Mode, Serial Input (/WAKE) will wake me, send M for Menu Mode
$ | 2021-02-25 | 18:48 | Init Mission | Initializing Radiometer 1
$ | 2021-02-25 | 18:48 | Init Mission | Powering down OCR504
$ | 2021-02-25 | 18:48 | Init Mission | Powering up OCR504
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Satlantic OCR-504 Multispectral Radiometer
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Copyright (C) 2011, Satlantic Inc. All rights reserved.
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Firmware version: 5.1.0 - SatNet Type B
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Instrument: SATDI4
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | S/N: 0545
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Reset Source: Power
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Press <Ctrl+C> for command console.
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Initializing system. Please wait...
$ | 2021-02-25 | 18:48 | Init Mission | Radiometer Message | [36 empty] | Autonomous operation enabled.
$ | 2021-02-25 | 18:48 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:48 | Init Mission | System Data (dBar %full Volts mAmps): | -0.11 | 49.7819 | 0.17508 | 0 | 8480 | 32.825 | 118.5 | 8479 | [9 empty] | 1261.03 | 18.75 | 44.663 | 18.75
$ | 2021-02-25 | 18:48 | Init Mission | Pump motor not faulted
$ | 2021-02-25 | 18:48 | Init Mission | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:48 | Init Mission | getting Elmo acceleration limit
$ | 2021-02-25 | 18:48 | Init Mission | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:48 | Init Mission | Sending Elmo Active Current command
$ | 2021-02-25 | 18:48 | Init Mission | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:48 | Init Mission | Sending Elmo SR command
$ | 2021-02-25 | 18:48 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:48 | Init Mission | BE::closeMV: Starting valve close
$ | 2021-02-25 | 18:48 | Init Mission | Closed valve isValveOpen = false
$ | 2021-02-25 | 18:48 | Init Mission | BE::openMV: Starting valve open
$ | 2021-02-25 | 18:48 | Init Mission | Opened valve isValveOpen = true
$ | 2021-02-25 | 18:48 | Init Mission | BE::closeMV: Starting valve close
$ | 2021-02-25 | 18:48 | Init Mission | Closed valve isValveOpen = false
$ | 2021-02-25 | 18:48 | Init Mission | SBE41 Message | -0.1 | 49.7904 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.000234 | -3e-06 | -0.003333 | 0.016667 | 0 | 3000
$ | 2021-02-25 | 18:48 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:48 | Init Mission | BE::openMV: Starting valve open
$ | 2021-02-25 | 18:48 | Init Mission | Bellows inside limits: 49.805479263806262
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.7947
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.7971
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.7982
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.8022
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.9258
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 49.9903
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 50.1199
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 50.2109
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 50.3269
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: 100000
$ | 2021-02-25 | 18:48 | Init Mission | Decreasing Buoyancy |  | 50.4181
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:48 | Init Mission | Increasing Buoyancy |  | 50.5426
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:48 | Init Mission | Increasing Buoyancy |  | 50.6391
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:48 | Init Mission | Increasing Buoyancy |  | 50.6261
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:48 | Init Mission | Increasing Buoyancy |  | 50.5406
$ | 2021-02-25 | 18:48 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:48 | Init Mission | Increasing Buoyancy |  | 50.4336
$ | 2021-02-25 | 18:49 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:49 | Init Mission | Increasing Buoyancy |  | 50.3477
$ | 2021-02-25 | 18:49 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:49 | Init Mission | Increasing Buoyancy |  | 50.242
$ | 2021-02-25 | 18:49 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:49 | Init Mission | Increasing Buoyancy |  | 50.1446
$ | 2021-02-25 | 18:49 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:49 | Init Mission | Increasing Buoyancy |  | 50.0149
$ | 2021-02-25 | 18:49 | Init Mission | BE::sendJV: -100000
$ | 2021-02-25 | 18:49 | Init Mission | Increasing Buoyancy |  | 49.9268
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message:
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ?;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: :?;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | System Data (dBar %full Volts mAmps): | -0.1 | 49.8319 | 32.8143 | 10 | 11992 | 32.8 | 173 | 11991 | [9 empty] | 1258.8 | 19 | 44.179 | 19
$ | 2021-02-25 | 18:49 | Init Mission | Pump motor not faulted
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:49 | Init Mission | getting Elmo acceleration limit
$ | 2021-02-25 | 18:49 | Init Mission | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Active Current command
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo SR command
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: JV=-100000;
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 ds command
$ | 2021-02-25 | 18:49 | Init Mission | Sending ds command
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: VX;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: AC;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 1000000000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: DC;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 1000000000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ID;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: SR;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>ds
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | variant: CP UW
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | firmware compilation date: Oct 14 2015 20:03:56
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | stop profile when pressure is less than = 1.0 decibars
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | automatic bin averaging at end of profile disabled
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | number of samples = 168
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | number of bins = 11
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | top bin interval = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | top bin size = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | top bin max = 10
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | middle bin interval = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | middle bin size = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | middle bin max = 20
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | bottom bin interval = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | bottom bin size = 2
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | do not include two transition bins
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | include samples per bin
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | pumped take sample wait time = 2 sec
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | real-time output is PTS
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 ds command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | S>dc
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | temperature: 16-Apr-17
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | TA0 = -7.829710e-04
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | TA1 = 2.815017e-04
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | TA2 = -3.129120e-06
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | TA3 = 1.345287e-07
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | conductivity: 16-Apr-17
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | G = -9.938839e-01
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | H = 1.391656e-01
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | I = -3.565656e-04
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | J = 4.449399e-05
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | CTCOR = 3.250000e-06
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | CPCOR = -9.570000e-08
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | WBOTC = 1.866479e-07
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | pressure S/N = 10590232, range = 2900 psia: 10-Apr-17
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PA0 = 5.710354e-01
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PA1 = 3.929324e-04
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PA2 = -2.780861e-13
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCA0 = -7.695170e+03
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCA1 = 1.133033e+02
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCA2 = -2.151497e+00
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCB0 = 2.517137e+01
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCB1 = -5.250000e-04
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTCB2 = 0.000000e+00
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTHA0 = 3.403627e+02
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTHA1 = -6.365802e-05
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | PTHA2 = -1.453093e-12
$ | 2021-02-25 | 18:49 | Init Mission | Unparsed SBE41 Message | [9 empty] | POFFSET = 0.000000e+00
$ | 2021-02-25 | 18:49 | Init Mission | Sending SBE41 dc command
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] Starting MSC Sequence
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] TX: W
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] Timeout for CommandWake
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] TX: W
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] RX:
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] Timeout for CommandWake
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] TX: W
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | System Data (dBar %full Volts mAmps): | -0.1 | 49.7327 | 32.8143 | 10 | 12612 | 32.8 | 184.5 | 12611 | [9 empty] | 1259.17 | 19 | 44.405 | 19
$ | 2021-02-25 | 18:49 | Init Mission | Pump motor not faulted
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:49 | Init Mission | getting Elmo acceleration limit
$ | 2021-02-25 | 18:49 | Init Mission | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Active Current command
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:49 | Init Mission | Sending Elmo SR command
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: VX;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] RX: ACK
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: AC;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 1000000000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: DC;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 1000000000;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: ID;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: SR;
$ | 2021-02-25 | 18:49 | Init Mission | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:49 | Init Mission | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] TX: INIT
$ | 2021-02-25 | 18:49 | Init Mission | [MSC] RX: ACK,INIT
$ | 2021-02-25 | 18:49 | Init Mission | Calculated new PID Constant, h = 3
$ | 2021-02-25 | 18:49 | Init Mission | CTD Starting Command Mode Timer
$ | 2021-02-25 | 18:49 | Init Mission | Init Mission started ctd1 comand mode timer
$ | 2021-02-25 | 18:49 | Init Mission | Normal State Exit
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Setting Execution Constraint = 3600000
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | State Entry
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Setting Elmo Acceleration limit = AC=100000;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Setting Elmo Deacceleration limit = DC=100000;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Inflating bellows to Surface Ops position = 50.0 at 200000 cps
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: AC=100000;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: DC=100000;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Checking Global Issues.
$ | 2021-02-25 | 18:49 | Surface Ops Set Bellows | Normal State Exit
$ | 2021-02-25 | 18:49 | RecoveryMode | Setting Execution Constraint = 2147483647
$ | 2021-02-25 | 18:49 | RecoveryMode | State Entry
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: MO=1;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: JV=0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: BG;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ST;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: MO=0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ;
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.1 | 49.7247 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.002854 | -2.4e-05 | 0 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Powering down FLBB
$ | 2021-02-25 | 18:49 | RecoveryMode | [MSC] Powering down MSC
$ | 2021-02-25 | 18:49 | RecoveryMode | Powering down 4330 Optode
$ | 2021-02-25 | 18:49 | RecoveryMode | Powering down OCR504
$ | 2021-02-25 | 18:49 | RecoveryMode | Powering up GPS
$ | 2021-02-25 | 18:49 | RecoveryMode | Powering up Iridium Modem
$ | 2021-02-25 | 18:49 | RecoveryMode | Recovery state desired bellows position = 50.00
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.1 | 49.7257 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.013847 | -4e-05 | 0 | 0 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | 0
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | 300125010615650
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | 0
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | ERROR
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.1 | 49.7257 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.037683 | 0.000223 | 0 | 0 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | 8.9882e+18
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.1 | 49.7372 | 32.8143 | 10 | 13379 | 32.8 | 150 | 13378 | [9 empty] | 1259.25 | 19.01 | 44.216 | 19.01
$ | 2021-02-25 | 18:49 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending SBDD2 cmd
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:49 | RecoveryMode | Unparsed SBE41 Message | [9 empty] | S>
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got--> <--
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | 0
$ | 2021-02-25 | 18:49 | RecoveryMode | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got-->0 <--
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:49 | RecoveryMode | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got--> <--
$ | 2021-02-25 | 18:49 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:49 | RecoveryMode | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got-->OK <--
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.1 | 49.739 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.067492 | 0.001301 | 0 | 0 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.11 | 49.7411 | NaN | NaN | [5 empty] | -0.11 | -0.11 | -0.089434 | 0.003389 | 0.003333 | 0.001667 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.11 | 49.7234 | 32.8143 | 10 | 13989 | 32.8 | 151 | 13988 | [9 empty] | 1259.25 | 19.01 | 44.452 | 19.01
$ | 2021-02-25 | 18:49 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.1 | 49.7217 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.098428 | 0.005786 | -0.003333 | 0 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.1 | 49.7359 | 32.8143 | 10 | 14600 | 32.8 | 154 | 14599 | [9 empty] | 1259.25 | 19 | 44.329 | 19
$ | 2021-02-25 | 18:49 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:49 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.12 | 49.7359 | NaN | NaN | [5 empty] | -0.12 | -0.12 | -0.10027 | 0.007299 | 0.006667 | 0.001667 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:49 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | SBE41 Message | -0.11 | 49.7342 | NaN | NaN | [5 empty] | -0.11 | -0.11 | -0.10108 | 0.00714 | -0.003333 | 0.001667 | 0 | 3000
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:49 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.11 | 49.7468 | NaN | NaN | [5 empty] | -0.11 | -0.11 | -0.10276 | 0.00541 | 0 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.11 | 49.7479 | 32.8143 | 10 | 15211 | 32.8 | 157.5 | 15210 | [9 empty] | 1259.25 | 19.02 | 43.991 | 19.02
$ | 2021-02-25 | 18:50 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.1 | 49.7405 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.10522 | 0.003048 | -0.003333 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.1 | 49.745 | 32.8143 | 5 | 15821 | 32.8 | 153.5 | 15820 | [9 empty] | 1259.33 | 19.01 | 44.24 | 19.01
$ | 2021-02-25 | 18:50 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.1 | 49.745 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.10804 | 0.001245 | 0 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending CREG cmd
$ | 2021-02-25 | 18:50 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:50 | RecoveryMode | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got--> <--
$ | 2021-02-25 | 18:50 | RecoveryMode | A3LA Message | [38 empty] | +CREG:000,004
$ | 2021-02-25 | 18:50 | RecoveryMode | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got-->+CREG:000,004 <--
$ | 2021-02-25 | 18:50 | RecoveryMode | A3LA Message
$ | 2021-02-25 | 18:50 | RecoveryMode | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got--> <--
$ | 2021-02-25 | 18:50 | RecoveryMode | A3LA Message | [38 empty] | OK
$ | 2021-02-25 | 18:50 | RecoveryMode | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got-->OK <--
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.1 | 49.7499 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.11013 | 0.000557 | 0 | 0 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.11 | 49.7454 | NaN | NaN | [5 empty] | -0.11 | -0.11 | -0.10994 | 0.000619 | 0.003333 | 0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.11 | 49.7481 | 32.8143 | 10 | 16456 | 32.8 | 159.5 | 16455 | [9 empty] | 1259.3101 | 19.01 | 44.127 | 19.01
$ | 2021-02-25 | 18:50 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.1 | 49.7561 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.10726 | 0.00075 | -0.003333 | 0 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | System Data (dBar %full Volts mAmps): | -0.1 | 49.7655 | 32.8143 | 5 | 17087 | 32.8 | 153 | 17086 | [9 empty] | 1259.36 | 19.02 | 44.228 | 19.02
$ | 2021-02-25 | 18:50 | RecoveryMode | Pump motor not faulted
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Main Encoder Velocity command
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo acceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | getting Elmo deacceleration limit
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Active Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo Reactive Current command
$ | 2021-02-25 | 18:50 | RecoveryMode | Sending Elmo SR command
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: VX;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: AC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: DC;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 100000;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: ID;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: IQ;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 0;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: SR;
$ | 2021-02-25 | 18:50 | RecoveryMode | Processing Twitter message: 50381568;
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.1 | 49.7551 | NaN | NaN | [5 empty] | -0.1 | -0.1 | -0.104 | 0.000592 | 0 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | SBE41 Message | -0.09 | 49.7496 | NaN | NaN | [5 empty] | -0.09 | -0.09 | -0.10232 | 0.000158 | -0.003333 | -0.001667 | 0 | 3000
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.
$ | 2021-02-25 | 18:50 | RecoveryMode | Checking Global Issues.