## 2018-10-15T20-38-52
$ | Date | Time | Date Time | State | Comment | Pressure | Bel Pos | Batt Volt | Batt Amps | CTD Temp | CTD Sal | Raw Press | LPF Press | LPF Vel | Diff Vel | Diff 2 Vel | Slope of LPF Press. | CTD Sample Period | LPS331 Press | LPS311 Temp | SHT21 Humid | SHT21 Temp | PID SP | PID PV | PID Y1 | PID Y2 | PID I | PID v | PID u | PID uCPS | PID h | FLBB | Topt | Tphase | Rphase | NO3 | pH | GPS | Irid Modem
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | Reset Controller Status Register Value = 65792
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | File Name = \SD\data\2018-10-15T20-38-52
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | Volume Total Size: 7939817472
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | Volume Free Space: 7901904896
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID K = 80
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID Ti = 50000
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID Td = 10
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID Tf = 10
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID Tt = 100
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID B = 1
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID uLow = -50
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID uHigh = 50
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | PlatVel PID h = 3
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | Engr Logger Initialized
0:00
$ | 2018-10-15 | 20:39 | 43388.8603 | SM Not Running | Initializing Bluetooth Console
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Initializing GPS and synching time
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Creating Mission
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Maximum number of profiles = 10
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Mission Timeout = 24:00:00 Mission Start Time: 10/15/2018 20:38:57
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Recovery mode = True
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Park Sample Period = 00:02:00
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Descend table 0 Pressure, PV, Park Time, sample list: 100, -0.200, 00:04:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 0 Pressure, PV, Park Time, sample list: 100, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 1 Pressure, PV, Park Time, sample list: 95, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 2 Pressure, PV, Park Time, sample list: 90, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 3 Pressure, PV, Park Time, sample list: 85, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 4 Pressure, PV, Park Time, sample list: 80, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 5 Pressure, PV, Park Time, sample list: 75, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 6 Pressure, PV, Park Time, sample list: 70, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 7 Pressure, PV, Park Time, sample list: 65, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 8 Pressure, PV, Park Time, sample list: 60, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 9 Pressure, PV, Park Time, sample list: 55, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 10 Pressure, PV, Park Time, sample list: 50, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 11 Pressure, PV, Park Time, sample list: 45, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 12 Pressure, PV, Park Time, sample list: 40, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 13 Pressure, PV, Park Time, sample list: 35, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 14 Pressure, PV, Park Time, sample list: 30, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 15 Pressure, PV, Park Time, sample list: 25, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 16 Pressure, PV, Park Time, sample list: 20, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 17 Pressure, PV, Park Time, sample list: 18, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 18 Pressure, PV, Park Time, sample list: 16, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 19 Pressure, PV, Park Time, sample list: 14, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 20 Pressure, PV, Park Time, sample list: 12, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 21 Pressure, PV, Park Time, sample list: 10, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 22 Pressure, PV, Park Time, sample list: 8, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 23 Pressure, PV, Park Time, sample list: 6, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 24 Pressure, PV, Park Time, sample list: 4, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 25 Pressure, PV, Park Time, sample list: 2, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Ascend table 26 Pressure, PV, Park Time, sample list: 0, 0.100, 00:00:00, 7
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Initializing Buoyancy Engine
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | SM Not Running | Starting valve close
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | Init Mission | State Entry
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | Init Mission | Initializing FLBB
0:00
$ | 2018-10-15 | 20:39 | 43388.8604 | Init Mission | Sending FLBB stop command
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | Sending FLBB pkt command: $pkt 1
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | Sending FLBB ave command: $ave 20
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | Initializing Iridium Modem
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | Initializing SBE41
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | Sending SBE41 stopProfile
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | pcutoff=1
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Sending outputPTSyes
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Sending tsWait
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Sending 11 bin setup commands
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Initializing Optode
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Sending Optode Wakeup
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Initializing Pressure, Temperature, Humidity sensor
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Set can pressure resolution to low
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Set can pressure active
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | PTH Message | [13 empty] | 772.6748 | 22.375 | 55.8248 | 23.3887
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | NOT YET Initializing Radiometer 1
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | AT&D0
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | AT&K0
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | AT+SBDD2
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | 0
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | AT+GSN
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | 300125060561320
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message
0:00
$ | 2018-10-15 | 20:39 | 43388.8605 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | AT+SBDC
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | 0
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | PTH Message | [13 empty] | 772.6748 | 22.3583 | 55.8248 | 23.3887
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 250 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Starting valve close
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Closed valve isValveOpen = false
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Starting valve open
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Opened valve isValveOpen = true
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Starting valve close
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | Closed valve isValveOpen = false
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | ATEn=0
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | 8.9882e+18
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | A3LA Message | [33 empty] | OK
0:00
$ | 2018-10-15 | 20:39 | 43388.8606 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>stopprofile
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | ?cmd S>pcutoff=1
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>outputpts=y
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>tswait=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>autobinavg=n
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_interval=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_size=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_max=10
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_interval=2
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 250 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | Starting valve open
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | Bellows inside limits
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_size=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_max=20
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>bottom_bin_interval=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>bottom_bin_size=2
0:00
$ | 2018-10-15 | 20:39 | 43388.8607 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>includetransitionbin=n
0:00
$ | 2018-10-15 | 20:39 | 43388.8608 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>includenbin=y
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Optode Message | NaN | [26 empty] | !#
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Optode Message | NaN | [26 empty] | #
0:00
$ | 2018-10-15 | 20:40 | 43388.8608 | Init Mission | Optode Message | NaN | [26 empty] | #
0:00
$ | 2018-10-15 | 20:40 | 43388.8609 | Init Mission | SBE41 Message | [5 empty] | 0.11 | 0.11 | 1e-06 | 0 | -0.036667 | -0.018333 | 0 | 3
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 122.8099 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | Increasing bellows position |  | 123.3568
0:00
$ | 2018-10-15 | 20:40 | 43388.861 | Init Mission | Increasing bellows position |  | 123.7034
0:00
$ | 2018-10-15 | 20:40 | 43388.8611 | Init Mission | Increasing bellows position |  | 124.0995
0:00
$ | 2018-10-15 | 20:40 | 43388.8611 | Init Mission | Increasing bellows position |  | 124.3943
0:00
$ | 2018-10-15 | 20:40 | 43388.8611 | Init Mission | Increasing bellows position |  | 124.5982
0:00
$ | 2018-10-15 | 20:40 | 43388.8611 | Init Mission | Increasing bellows position |  | 124.7506
0:00
$ | 2018-10-15 | 20:40 | 43388.8612 | Init Mission | Increasing bellows position |  | 124.7161
0:00
$ | 2018-10-15 | 20:40 | 43388.8612 | Init Mission | Increasing bellows position |  | 124.7185
0:00
$ | 2018-10-15 | 20:40 | 43388.8612 | Init Mission | Increasing bellows position |  | 124.7521
0:00
$ | 2018-10-15 | 20:40 | 43388.8612 | Init Mission | Increasing bellows position |  | 124.763
0:00
$ | 2018-10-15 | 20:40 | 43388.8613 | Init Mission | Decreasing bellows position |  | 124.7672
0:00
$ | 2018-10-15 | 20:40 | 43388.8613 | Init Mission | Decreasing bellows position |  | 124.773
0:00
$ | 2018-10-15 | 20:40 | 43388.8613 | Init Mission | Decreasing bellows position |  | 124.7941
0:00
$ | 2018-10-15 | 20:40 | 43388.8613 | Init Mission | Decreasing bellows position |  | 124.7865
0:00
$ | 2018-10-15 | 20:40 | 43388.8614 | Init Mission | Decreasing bellows position |  | 124.8057
0:00
$ | 2018-10-15 | 20:40 | 43388.8614 | Init Mission | Decreasing bellows position |  | 124.7984
0:00
$ | 2018-10-15 | 20:40 | 43388.8614 | Init Mission | Decreasing bellows position |  | 124.7622
0:00
$ | 2018-10-15 | 20:40 | 43388.8615 | Init Mission | Decreasing bellows position |  | 124.7733
0:00
$ | 2018-10-15 | 20:41 | 43388.8615 | Init Mission | Decreasing bellows position |  | 124.7895
0:00
$ | 2018-10-15 | 20:41 | 43388.8615 | Init Mission | Decreasing bellows position |  | 124.7579
0:00
$ | 2018-10-15 | 20:41 | 43388.8615 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7529 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8615 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7046 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Sending SBE41 ds command
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Sending ds command
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.6838 | 32.225 | 61.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Sending SBE41 ds command
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>ds
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | firmware compilation date: 18 December 2007 09:20
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | stop profile when pressure is less than = 1.0 decibars
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | automatic bin averaging at end of profile disabled
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | number of samples = 65
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | number of bins = 6
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin interval = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin size = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin max = 10
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin interval = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin size = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin max = 20
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | bottom bin interval = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | bottom bin size = 2
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | do not include two transition bins
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | PTH Message | [13 empty] | 772.978 | 22.5917 | 55.5044 | 23.571
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7146 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Sending SBE41 ds command
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | include samples per bin
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | pumped take sample wait time = 2 sec
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Unparsed SBE41 Message | [5 empty] | real-time output is PTS
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7228 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8616 | Init Mission | Sending SBE41 ds command
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7102 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Sending SBE41 dc command
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Sending dc command
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7171 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Sending SBE41 dc command
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>dc
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | temperature: 15-mar-14
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA0 = 3.536242e-05
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA1 = 2.674251e-04
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA2 = -1.901062e-06
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA3 = 1.365250e-07
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | conductivity: 15-mar-14
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | G = -9.858232e-01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | H = 1.476071e-01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | I = -3.292498e-04
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | J = 4.505543e-05
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | CPCOR = -9.570001e-08
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | CTCOR = 3.250000e-06
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | WBOTC = -3.218098e-07
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | pressure S/N = 4004719, range = 2900 psia: 10-mar-14
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7174 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Sending SBE41 dc command
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA0 = 1.629284e-01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA1 = 1.404717e-01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA2 = -3.503310e-08
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA0 = 2.758681e+01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA1 = 2.201518e-02
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA2 = 1.374282e-03
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB0 = 2.510888e+01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB1 = 1.175000e-03
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB2 = 0.000000e+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA0 = -7.442904e+01
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA1 = 4.994783e-02
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA2 = -3.966033e-07
0:00
$ | 2018-10-15 | 20:41 | 43388.8617 | Init Mission | Unparsed SBE41 Message | [5 empty] | POFFSET = 0.000000e+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.728 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Sending SBE41 dc command
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.7413 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.11 | 124.743 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Sending Optode GetAll
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Sending Optode Wakeup
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | SBE41 Message | [5 empty] | -0.12 | -0.12 | 0.000232 | 3e-06 | 0.076667 | 0.02 | 0 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | %!Product Name,4330,1532,Optode Sensor
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | Product Number,4330,1532,4330
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | Serial Number,4330,1532,1532
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | SW ID,4330,1532,1940006
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | SW Version,4330,1532,4,8,1
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | Node Description,4330,1532,optode 1532
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | Owner,4330,1532,
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | Salinity[PSU],4330,1532,0.00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | PhaseCoef,4330,1532,3.795891E-01,9.893345E-01,0.000000E+00,0.000000E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | FoilID,4330,1532,1206E
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | FoilCoefA,4330,1532,-2.988314E-06,-6.137784E-06,1.684659E-03,-1.857173E-01,6.784399E-04,-5.597907E-07,1.040158E+01,-5.986906E-02,1.360425E-04,-4.776978E-07,-3.032936E+02,2.530496E+00,-1.267045E-02,1.040454E-04
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | FoilCoefB,4330,1532,-3.560390E-07,3.816713E+03,-4.475507E+01,4.386164E-01,-7.146341E-03,8.906235E-05,-6.343012E-07,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Mission | Optode Message | -0.12 | [26 empty] | FoilPolyDegT,4330,1532,1,0,0,0,1,2,0,1,2,3,0,1,2,3,4,0,1,2,3,4,5,0,0,0,0,0,0,0
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Mission | Normal State Exit
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.12 | 124.7244 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Profile | State Entry
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Profile | Initializing SBE 41 LPF
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Profile | Sending SBE41 stopProfile
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Profile | Resetting SBE41 with qsr
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Init Profile | Sending qsr command
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | FoilPolyDegO,4330,1532,4,5,4,3,3,3,2,2,2,2,1,1,1,1,1,0,0,0,0,0,0,0,0,0,0,0,0,0
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | SVUFoilCoef,4330,1532,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | ConcCoef,4330,1532,-1.549127E+00,1.068129E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | NomAirPress[hPa],4330,1532,1013.25
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | NomAirMix,4330,1532,0.20946
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | CalDataSat[Deg],4330,1532,31.61,10.06
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | CalDataAPress[hPa],4330,1532,1002.000
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | CalDataZero[Deg],4330,1532,61.907,21.413
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Mode,4330,1532,Smart Sensor Terminal
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Enable Sleep,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Enable Polled Mode,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Enable Text,4330,1532,No
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Enable Decimalformat,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Analog TempLimit[Deg.C],4330,1532,-5.00,35.00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Analog ConcLimit[Deg.C],4330,1532,0.00,800.00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Init Profile | Optode Message | -0.12 | [26 empty] | Analog SatLimit[Deg.C],4330,1532,0.00,200.00
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Init Profile | Normal State Exit
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Init Profile | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.12 | 124.7643 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Init Profile | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:09.6318226
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Surface Ops Set Bellows | State Entry
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Surface Ops Set Bellows | Inflating bellows to Surface Ops position = 125.0 at 200000 cps
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Analog PhaseLimit[Deg.C],4330,1532,10.00,70.00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Analog Output,4330,1532,O2Concentration
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Analog1 Coef,4330,1532,0.000000E+00,1.000000E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Analog2 Coef,4330,1532,0.000000E+00,1.000000E+00
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Enable AirSaturation,4330,1532,No
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Enable Rawdata,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Enable Temperature,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Enable HumidityComp,4330,1532,Yes
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Enable SVUformula,4330,1532,No
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Interval[s],4330,1532,30.000
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Location,4330,1532,
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Geographic Position,4330,1532,60.323605,5.37225
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Vertical Position,4330,1532,
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | SBE41 Message | [5 empty] | -0.12 | -0.12 | -0.12 | 0 | 0 | 0 | 0 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Surface Ops Set Bellows | Optode Message | -0.12 | [26 empty] | Reference,4330,1532,
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Surface Ops Set Bellows | Normal State Exit
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Surface Ops Set Bellows | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.12 | 124.7331 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Surface Ops Set Bellows | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:06.4068061
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | State Entry
0:00
$ | 2018-10-15 | 20:41 | 43388.8618 | Pre-Mission Delay | Optode Message | -0.12 | [26 empty] | #
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Pre-Mission Delay | SBE41 Message | [5 empty] | -1.13 | -1.13 | -0.12001 | 0 | 0.33667 | 0.16833 | 0 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -1.13 | 124.7762 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.3705495
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Pre-Mission Delay | SBE41 Message | [5 empty] | 4.76 | 4.76 | -0.12209 | -2.4e-05 | -1.9633 | -0.81333 | 2e-06 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | S>qsr
0:00
$ | 2018-10-15 | 20:41 | 43388.8619 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | powering down
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | S>SBE 41CP UW V 2.0
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | S>
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 4.76 | 124.7656 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.9884292
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Pre-Mission Delay | SBE41 Message | [5 empty] | -1.2 | -1.2 | -0.13393 | -8e-05 | 1.9867 | 0.011667 | 2e-05 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.862 | Pre-Mission Delay | SBE41 Message | [5 empty] | 1.44 | 1.44 | -0.10822 | 0.000779 | -0.88 | 0.55333 | 4e-06 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 1.44 | 124.7646 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.1599477
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | SBE41 Message | [5 empty] | 0.13 | 0.13 | 0.12748 | 0.003021 | 0.43667 | -0.22167 | -0.000304 | 3
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.34 | -0.34 | 0.61601 | -0.001348 | 0.15667 | 0.29667 | -0.001206 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.34 | 124.7689 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.1591885
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.34 | 124.7705 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:41 | 43388.8621 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.12 | -0.12 | 0.99523 | -0.025918 | -0.073333 | 0.041667 | -0.00253 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | SBE41 Message | [5 empty] | 2.95 | 2.95 | 0.93755 | -0.06613 | -1.0233 | -0.54833 | -0.003715 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.13 | -0.13 | 0.60535 | -0.093793 | 1.0267 | 0.001667 | -0.004415 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.13 | 124.7721 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.3841012
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.13 | 124.7781 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | SBE41 Message | [5 empty] | -2.71 | -2.71 | 0.33414 | -0.084594 | 0.86 | 0.94333 | -0.004732 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -2.71 | 124.7866 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8622 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -2.71 | 124.7779 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -2.71 | 124.7904 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | SBE41 Message | [5 empty] | 2.11 | 2.11 | 0.32385 | -0.038039 | -1.6067 | -0.37333 | -0.005007 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 2.11 | 124.7726 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 2.11 | 124.7675 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 2.11 | 124.771 | 32.125 | 146.5
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | SBE41 Message | [5 empty] | 2.94 | 2.94 | 0.5263 | 0.019726 | -0.27667 | -0.94167 | -0.005505 | 3
0:00
$ | 2018-10-15 | 20:42 | 43388.8623 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 2.94 | 124.7696 | 32.125 | 146.5