## 2018-9-5T16-54-25
$ | Date | Time | State | Comment | Pressure | Bel Pos | Batt Volt | Batt Amps | CTD Temp | CTD Sal | Raw Press | LPF Press | LPF Vel | Diff Vel | Diff 2 Vel | Slope of LPF Press. | CTD Sample Period | LPS331 Press | LPS311 Temp | SHT21 Humid | SHT21 Temp | PID SP | PID PV | PID Y1 | PID Y2 | PID I | PID v | PID u | PID uCPS | PID h | FLBB | Topt | Tphase | Rphase | NO3 | pH | GPS | Irid Modem
$ | 2018-09-05 | 16:54 | SM Not Running | Reset Controller Status Register Value = 65792
$ | 2018-09-05 | 16:54 | SM Not Running | File Name = \SD\data\2018-9-5T16-54-25
$ | 2018-09-05 | 16:54 | SM Not Running | Volume Total Size: 7939817472
$ | 2018-09-05 | 16:54 | SM Not Running | Volume Free Space: 7915962368
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID K = 80
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID Ti = 50000
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID Td = 10
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID Tf = 10
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID Tt = 100
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID B = 1
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID uLow = -50
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID uHigh = 50
$ | 2018-09-05 | 16:54 | SM Not Running | PlatVel PID h = 3
$ | 2018-09-05 | 16:54 | SM Not Running | Engr Logger Initialized
$ | 2018-09-05 | 16:54 | SM Not Running | Initializing Bluetooth Console
$ | 2018-09-05 | 16:54 | SM Not Running | Initializing GPS and synching time
$ | 2018-09-05 | 16:54 | SM Not Running | Creating Mission
$ | 2018-09-05 | 16:54 | SM Not Running | Maximum number of profiles = 10
$ | 2018-09-05 | 16:54 | SM Not Running | Mission Timeout = 24:00:00 Mission Start Time: 09/05/2018 16:54:29
$ | 2018-09-05 | 16:54 | SM Not Running | Recovery mode = True
$ | 2018-09-05 | 16:54 | SM Not Running | Park Sample Period = 00:02:00
$ | 2018-09-05 | 16:54 | SM Not Running | Descend table 0 Pressure, PV, Park Time, sample list: 100, -0.200, 00:04:00, 7
$ | 2018-09-05 | 16:54 | SM Not Running | Ascend table 0 Pressure, PV, Park Time, sample list: 100, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:54 | SM Not Running | Ascend table 1 Pressure, PV, Park Time, sample list: 95, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:54 | SM Not Running | Ascend table 2 Pressure, PV, Park Time, sample list: 90, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:54 | SM Not Running | Ascend table 3 Pressure, PV, Park Time, sample list: 85, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 4 Pressure, PV, Park Time, sample list: 80, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 5 Pressure, PV, Park Time, sample list: 75, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 6 Pressure, PV, Park Time, sample list: 70, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 7 Pressure, PV, Park Time, sample list: 65, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 8 Pressure, PV, Park Time, sample list: 60, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 9 Pressure, PV, Park Time, sample list: 55, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 10 Pressure, PV, Park Time, sample list: 50, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 11 Pressure, PV, Park Time, sample list: 45, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 12 Pressure, PV, Park Time, sample list: 40, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 13 Pressure, PV, Park Time, sample list: 35, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 14 Pressure, PV, Park Time, sample list: 30, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 15 Pressure, PV, Park Time, sample list: 25, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 16 Pressure, PV, Park Time, sample list: 20, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 17 Pressure, PV, Park Time, sample list: 18, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 18 Pressure, PV, Park Time, sample list: 16, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 19 Pressure, PV, Park Time, sample list: 14, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 20 Pressure, PV, Park Time, sample list: 12, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 21 Pressure, PV, Park Time, sample list: 10, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 22 Pressure, PV, Park Time, sample list: 8, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 23 Pressure, PV, Park Time, sample list: 6, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 24 Pressure, PV, Park Time, sample list: 4, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 25 Pressure, PV, Park Time, sample list: 2, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Ascend table 26 Pressure, PV, Park Time, sample list: 0, 0.100, 00:00:00, 7
$ | 2018-09-05 | 16:55 | SM Not Running | Initializing Buoyancy Engine
$ | 2018-09-05 | 16:55 | SM Not Running | Starting valve close
$ | 2018-09-05 | 16:55 | Init Mission | State Entry
$ | 2018-09-05 | 16:55 | Init Mission | Initializing FLBB
$ | 2018-09-05 | 16:55 | Init Mission | Sending FLBB stop command
$ | 2018-09-05 | 16:55 | Init Mission | Sending FLBB pkt command: $pkt 1
$ | 2018-09-05 | 16:55 | Init Mission | Sending FLBB ave command: $ave 20
$ | 2018-09-05 | 16:55 | Init Mission | Initializing Iridium Modem
$ | 2018-09-05 | 16:55 | Init Mission | Initializing SBE41
$ | 2018-09-05 | 16:55 | Init Mission | Sending SBE41 stopProfile
$ | 2018-09-05 | 16:55 | Init Mission | pcutoff=1
$ | 2018-09-05 | 16:55 | Init Mission | Sending outputPTSyes
$ | 2018-09-05 | 16:55 | Init Mission | Sending tsWait
$ | 2018-09-05 | 16:55 | Init Mission | Sending 11 bin setup commands
$ | 2018-09-05 | 16:55 | Init Mission | Initializing Optode
$ | 2018-09-05 | 16:55 | Init Mission | Sending Optode Wakeup
$ | 2018-09-05 | 16:55 | Init Mission | Initializing Pressure, Temperature, Humidity sensor
$ | 2018-09-05 | 16:55 | Init Mission | Set can pressure resolution to low
$ | 2018-09-05 | 16:55 | Init Mission | Set can pressure active
$ | 2018-09-05 | 16:55 | Init Mission | PTH Message | [13 empty] | 738.958 | 21.2083 | 30.9072 | 22.402
$ | 2018-09-05 | 16:55 | Init Mission | NOT YET Initializing Radiometer 1
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | AT&D0
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | AT&K0
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | AT+SBDD2
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | 0
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | AT+GSN
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | 300125060561320
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | AT+SBDC
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | 0
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | PTH Message | [13 empty] | 738.958 | 21.2 | 30.9301 | 22.3912
$ | 2018-09-05 | 16:55 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 250 | 27.325 | 73
$ | 2018-09-05 | 16:55 | Init Mission | Starting valve close
$ | 2018-09-05 | 16:55 | Init Mission | Closed valve isValveOpen = false
$ | 2018-09-05 | 16:55 | Init Mission | Starting valve open
$ | 2018-09-05 | 16:55 | Init Mission | Opened valve isValveOpen = true
$ | 2018-09-05 | 16:55 | Init Mission | Starting valve close
$ | 2018-09-05 | 16:55 | Init Mission | Closed valve isValveOpen = false
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | ATEn=0
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | 8.9882e+18
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message
$ | 2018-09-05 | 16:55 | Init Mission | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>stopprofile
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | ?cmd S>pcutoff=1
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>outputpts=y
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>tswait=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>autobinavg=n
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_interval=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_size=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>top_bin_max=10
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_interval=2
$ | 2018-09-05 | 16:55 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 250 | 27.325 | 73
$ | 2018-09-05 | 16:55 | Init Mission | Starting valve open
$ | 2018-09-05 | 16:55 | Init Mission | Bellows inside limits
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_size=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>middle_bin_max=20
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>bottom_bin_interval=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>bottom_bin_size=2
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>includetransitionbin=n
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>includenbin=y
$ | 2018-09-05 | 16:55 | Init Mission | Optode Message | NaN | [26 empty] | !#
$ | 2018-09-05 | 16:55 | Init Mission | Optode Message | NaN | [26 empty] | #
$ | 2018-09-05 | 16:55 | Init Mission | Optode Message | NaN | [26 empty] | #
$ | 2018-09-05 | 16:55 | Init Mission | Unparsed SBE41 Message | [5 empty] | -7.68
$ | 2018-09-05 | 16:55 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 122.1668 | 27.325 | 73
$ | 2018-09-05 | 16:55 | Init Mission | Increasing bellows position |  | 122.8151
$ | 2018-09-05 | 16:55 | Init Mission | Increasing bellows position |  | 123.176
$ | 2018-09-05 | 16:55 | Init Mission | Increasing bellows position |  | 123.6128
$ | 2018-09-05 | 16:55 | Init Mission | Increasing bellows position |  | 123.9331
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.138
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.1785
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.2132
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.2197
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.241
$ | 2018-09-05 | 16:56 | Init Mission | Increasing bellows position |  | 124.2592
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2622
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2789
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.284
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2644
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2747
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2968
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2817
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2929
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.2963
$ | 2018-09-05 | 16:56 | Init Mission | Decreasing bellows position |  | 124.305
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.3058 | 27.325 | 73
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2954 | 27.325 | 73
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 ds command
$ | 2018-09-05 | 16:56 | Init Mission | Sending ds command
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2789 | 27.325 | 73
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 ds command
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>ds
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | firmware compilation date: 18 December 2007 09:20
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | stop profile when pressure is less than = 1.0 decibars
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | automatic bin averaging at end of profile disabled
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | number of samples = 753
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | number of bins = 6
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin interval = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin size = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | top bin max = 10
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin interval = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin size = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | middle bin max = 20
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | bottom bin interval = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | bottom bin size = 2
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | do not include two transition bins
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2933 | 27.325 | 73
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 ds command
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | include samples per bin
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | pumped take sample wait time = 2 sec
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | real-time output is PTS
$ | 2018-09-05 | 16:56 | Init Mission | PTH Message | [13 empty] | 739.4983 | 21.45 | 30.7775 | 22.4556
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2981 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 ds command
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2887 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 dc command
$ | 2018-09-05 | 16:56 | Init Mission | Sending dc command
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.294 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 dc command
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | S>dc
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | temperature: 15-mar-14
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA0 = 3.536242e-05
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA1 = 2.674251e-04
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA2 = -1.901062e-06
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | TA3 = 1.365250e-07
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | conductivity: 15-mar-14
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | G = -9.858232e-01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | H = 1.476071e-01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | I = -3.292498e-04
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | J = 4.505543e-05
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | CPCOR = -9.570001e-08
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | CTCOR = 3.250000e-06
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | WBOTC = -3.218098e-07
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | pressure S/N = 4004719, range = 2900 psia: 10-mar-14
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2864 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 dc command
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA0 = 1.629284e-01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA1 = 1.404717e-01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PA2 = -3.503310e-08
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA0 = 2.758681e+01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA1 = 2.201518e-02
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCA2 = 1.374282e-03
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB0 = 2.510888e+01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB1 = 1.175000e-03
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTCB2 = 0.000000e+00
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA0 = -7.442904e+01
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA1 = 4.994783e-02
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | PTHA2 = -3.966033e-07
$ | 2018-09-05 | 16:56 | Init Mission | Unparsed SBE41 Message | [5 empty] | POFFSET = 0.000000e+00
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2879 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending SBE41 dc command
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.2934 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0 | 124.3018 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Mission | Sending Optode GetAll
$ | 2018-09-05 | 16:56 | Init Mission | Sending Optode Wakeup
$ | 2018-09-05 | 16:56 | Init Mission | SBE41 Message | [5 empty] | -0.07 | -0.07 | -1e-06 | 0 | 0.023333 | 0.011667 | 0 | 3
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | %!Product Name,4330,1532,Optode Sensor
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | Product Number,4330,1532,4330
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | Serial Number,4330,1532,1532
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | SW ID,4330,1532,1940006
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | SW Version,4330,1532,4,8,1
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | Node Description,4330,1532,optode 1532
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | Owner,4330,1532,
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | Salinity[PSU],4330,1532,0.00
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | PhaseCoef,4330,1532,3.795891E-01,9.893345E-01,0.000000E+00,0.000000E+00
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | FoilID,4330,1532,1206E
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | FoilCoefA,4330,1532,-2.988314E-06,-6.137784E-06,1.684659E-03,-1.857173E-01,6.784399E-04,-5.597907E-07,1.040158E+01,-5.986906E-02,1.360425E-04,-4.776978E-07,-3.032936E+02,2.530496E+00,-1.267045E-02,1.040454E-04
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | FoilCoefB,4330,1532,-3.560390E-07,3.816713E+03,-4.475507E+01,4.386164E-01,-7.146341E-03,8.906235E-05,-6.343012E-07,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00
$ | 2018-09-05 | 16:56 | Init Mission | Optode Message | -0.07 | [26 empty] | FoilPolyDegT,4330,1532,1,0,0,0,1,2,0,1,2,3,0,1,2,3,4,0,1,2,3,4,5,0,0,0,0,0,0,0
$ | 2018-09-05 | 16:56 | Init Mission | Normal State Exit
$ | 2018-09-05 | 16:56 | Init Mission | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3068 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Init Profile | State Entry
$ | 2018-09-05 | 16:56 | Init Profile | Initializing SBE 41 LPF
$ | 2018-09-05 | 16:56 | Init Profile | Sending SBE41 stopProfile
$ | 2018-09-05 | 16:56 | Init Profile | Resetting SBE41 with qsr
$ | 2018-09-05 | 16:56 | Init Profile | Sending qsr command
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | FoilPolyDegO,4330,1532,4,5,4,3,3,3,2,2,2,2,1,1,1,1,1,0,0,0,0,0,0,0,0,0,0,0,0,0
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | SVUFoilCoef,4330,1532,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00,0.000000E+00
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | ConcCoef,4330,1532,-1.549127E+00,1.068129E+00
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | NomAirPress[hPa],4330,1532,1013.25
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | NomAirMix,4330,1532,0.20946
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | CalDataSat[Deg],4330,1532,31.61,10.06
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | CalDataAPress[hPa],4330,1532,1002.000
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | CalDataZero[Deg],4330,1532,61.907,21.413
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Mode,4330,1532,Smart Sensor Terminal
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Enable Sleep,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Enable Polled Mode,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Enable Text,4330,1532,No
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Enable Decimalformat,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Analog TempLimit[Deg.C],4330,1532,-5.00,35.00
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Analog ConcLimit[Deg.C],4330,1532,0.00,800.00
$ | 2018-09-05 | 16:56 | Init Profile | Optode Message | -0.07 | [26 empty] | Analog SatLimit[Deg.C],4330,1532,0.00,200.00
$ | 2018-09-05 | 16:57 | Init Profile | Normal State Exit
$ | 2018-09-05 | 16:57 | Init Profile | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3154 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Init Profile | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:05.4540518
$ | 2018-09-05 | 16:57 | Surface Ops Set Bellows | State Entry
$ | 2018-09-05 | 16:57 | Surface Ops Set Bellows | Inflating bellows to Surface Ops position = 125.0 at 100000 cps
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Analog PhaseLimit[Deg.C],4330,1532,10.00,70.00
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Analog Output,4330,1532,O2Concentration
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Analog1 Coef,4330,1532,0.000000E+00,1.000000E+00
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Analog2 Coef,4330,1532,0.000000E+00,1.000000E+00
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Enable AirSaturation,4330,1532,No
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Enable Rawdata,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Enable Temperature,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Enable HumidityComp,4330,1532,Yes
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Enable SVUformula,4330,1532,No
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Interval[s],4330,1532,30.000
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Location,4330,1532,
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Geographic Position,4330,1532,60.323605,5.37225
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Vertical Position,4330,1532,
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | Reference,4330,1532,
$ | 2018-09-05 | 16:56 | Surface Ops Set Bellows | Optode Message | -0.07 | [26 empty] | #
$ | 2018-09-05 | 16:57 | Surface Ops Set Bellows | Normal State Exit
$ | 2018-09-05 | 16:57 | Surface Ops Set Bellows | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3169 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops Set Bellows | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:02.5320026
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | State Entry
$ | 2018-09-05 | 16:56 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.06 | -0.06 | -0.07 | 0 | -0.003333 | -0.001667 | 0 | 3
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3155 | 27.2 | 188.5
$ | 2018-09-05 | 16:56 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | -20.36
$ | 2018-09-05 | 16:56 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.06 | -0.06 | -0.069979 | 0 | 0 | -0.001667 | 0 | 3
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3275 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3268 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | Unparsed SBE41 Message | [5 empty] | S>
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3162 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | SBE41 Message | [5 empty] | -3.67 | -3.67 | -0.06977 | 2e-06 | 1.2033 | 0.60167 | 0 | 3
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -3.67 | 124.3249 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | SBE41 Message | [5 empty] | 0.01 | 0.01 | -0.076359 | -8.5e-05 | -1.2267 | -0.011667 | 8e-06 | 3
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.01 | 124.3287 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.01 | 124.3447 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | 0.01 | 124.3154 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | SBE41 Message | [5 empty] | -0.06 | -0.06 | -0.153 | -0.000736 | 0.023333 | -0.60167 | 0.000112 | 3
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3329 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | RecMode true, PID Off, Motor Stopped, Valve Open, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3249 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Pre-Mission Delay | State Timed Out
$ | 2018-09-05 | 16:57 | Surface Ops | State Entry
$ | 2018-09-05 | 16:57 | Surface Ops | Starting valve close
$ | 2018-09-05 | 16:57 | Surface Ops | Sending Optode Do Sample
$ | 2018-09-05 | 16:57 | Surface Ops | Sending Optode Wakeup
$ | 2018-09-05 | 16:57 | Surface Ops | Sending SBDD2 cmd
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3327 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:02.3122370
$ | 2018-09-05 | 16:57 | Surface Ops | Unparsed SBE41 Message | [5 empty] | -22.99
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got--> <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message | [33 empty] | 0
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got-->0 <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got--> <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->AT+SBDD2<-- Got-->OK <--
$ | 2018-09-05 | 16:57 | Surface Ops | Optode Message | -22.99 | [26 empty] | 4330,1532,265.212,20.875,29.798,29.735,36.881,7.146,653.6,526.9,163.1
$ | 2018-09-05 | 16:57 | Surface Ops | Optode Message | -22.99 | [26 empty] | #
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 9.21 | 9.21 | -0.43043 | -0.000694 | -3.09 | -1.5333 | 0.000573 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 9.21 | 124.3363 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.5174483
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 9.21 | 124.3223 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 9.21 | 124.3296 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 9.21 | 124.3425 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | -0.06 | -0.06 | -0.85027 | 0.008505 | 3.09 | 0 | 0.001535 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3449 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3436 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3641 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 0.22 | 0.22 | -0.87425 | 0.037277 | -0.093333 | 1.4983 | 0.002456 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.22 | 124.3539 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.22 | 124.3461 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.22 | 124.3387 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 0.91 | 0.91 | 0.09187 | 0.071912 | -0.23 | -0.16167 | 0.002103 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.91 | 124.3542 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.91 | 124.3385 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.91 | 124.3381 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 3.46 | 3.46 | 1.6908 | 0.061133 | -0.85 | -0.54 | -0.000199 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 3.46 | 124.3648 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 3.46 | 124.3544 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | Unparsed SBE41 Message | [5 empty] | -17.81
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 3.46 | 124.356 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 3.46 | 124.349 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 3.46 | 124.341 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 2.6223 | -0.037259 | 1.1767 | 0.16333 | -0.003607 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3576 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3706 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3472 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 2.2757 | -0.18564 | 0 | 0.58833 | -0.006307 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3529 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3614 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3672 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | Unparsed SBE41 Message | [5 empty] | -30.59
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3535 | 27.2 | 188.5
$ | 2018-09-05 | 16:57 | Surface Ops | PTH Message | [13 empty] | 739.2659 | 21.525 | 30.5257 | 22.595
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3704 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.361 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 0.97 | 0.97 | 1.5468 | -0.28091 | -0.34667 | -0.17333 | -0.00792 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.97 | 124.3659 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.97 | 124.3562 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 0.97 | 124.3483 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | -0.01 | -0.01 | 1.305 | -0.2553 | 0.32667 | -0.01 | -0.009075 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.01 | 124.3795 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.01 | 124.3619 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.01 | 124.3717 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | -0.06 | -0.06 | 1.2552 | -0.13108 | 0.016667 | 0.17167 | -0.010052 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.368 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3698 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.06 | 124.3847 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 2.03 | 2.03 | 0.94252 | 0.015734 | -0.69667 | -0.34 | -0.010556 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 2.03 | 124.3715 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 2.03 | 124.3667 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 2.03 | 124.3593 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | SBE41 Message | [5 empty] | 14.39 | 14.39 | 0.56058 | 0.1103 | -4.12 | -2.4083 | -0.010553 | 3
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.3711 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | Sending CREG cmd
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.376 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got--> <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message | [33 empty] | +CREG:000,004
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got-->+CREG:000,004 <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got--> <--
$ | 2018-09-05 | 16:57 | Surface Ops | A3LA Message | [33 empty] | OK
$ | 2018-09-05 | 16:57 | Surface Ops | iModem invalid response: Looking for IModem-->+CREG:000,001<-- Got-->OK <--
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.3883 | NaN | 171.5
$ | 2018-09-05 | 16:57 | Surface Ops | Unparsed SBE41 Message | [5 empty] | -7.24
$ | 2018-09-05 | 16:57 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.3649 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.3698 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 14.39 | 124.3614 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.09 | -0.09 | 0.41567 | 0.12435 | 4.8267 | 0.35333 | -0.010297 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.3669 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.3806 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.3832 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.17 | -0.17 | 0.75391 | 0.098216 | 0.026667 | 2.4267 | -0.010428 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.17 | 124.3645 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.17 | 124.3859 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.17 | 124.372 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.51 | -0.51 | 2.0032 | 0.078845 | 0.11333 | 0.07 | -0.011934 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.51 | 124.3914 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.51 | 124.3959 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.51 | 124.3658 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 3.8378 | 0.0306 | -0.14667 | -0.016667 | -0.015324 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3739 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3731 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.392 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.08 | -0.08 | 4.5995 | -0.10897 | 0.003333 | -0.071667 | -0.019244 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.3686 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.3974 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.3953 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | 18.05 | 18.05 | 3.3392 | -0.28303 | -6.0433 | -3.02 | -0.021477 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 18.05 | 124.4052 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 18.05 | 124.3725 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 18.05 | 124.3734 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.08 | -0.08 | 1.3621 | -0.33814 | 6.0433 | 0 | -0.021412 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.3974 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.3847 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.08 | 124.393 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 0.5629 | -0.19823 | -0.003333 | 3.02 | -0.020465 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3872 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3922 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3792 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | 1.87 | 1.87 | 1.6984 | 0.058955 | -0.64667 | -0.325 | -0.020694 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 1.87 | 124.3874 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 1.87 | 124.401 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 1.87 | 124.3796 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -4.03 | -4.03 | 3.9775 | 0.25196 | 1.9667 | 0.66 | -0.023175 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.404 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.3937 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.3964 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | Unparsed SBE41 Message | [5 empty] | -8.67
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.3809 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.3968 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -4.03 | 124.3897 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 5.2355 | 0.20884 | -1.32 | 0.32333 | -0.026742 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3925 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4129 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3863 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | Trying GPS get position try num: 0 of 6
$ | 2018-09-05 | 16:58 | Surface Ops | Got Position: lat = 0000.00000 N lon = 00000.00000 E num sats = 0
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 4.1228 | -0.054163 | 0 | -0.66 | -0.028838 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3997 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | ERROR: State machine cycle time exceeded SMCyclePeriod = 00:00:01.2548915
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4033 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3993 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | 4.8 | 4.8 | 1.8119 | -0.29254 | -1.6233 | -0.81167 | -0.028354 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 4.8 | 124.3839 | NaN | 171.5
$ | 2018-09-05 | 16:58 | Surface Ops | PTH Message | [13 empty] | 738.8413 | 21.6 | 30.3045 | 22.6808
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 4.8 | 124.3983 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | 4.8 | 124.3961 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.09 | -0.09 | 0.045133 | -0.27664 | 1.63 | 0.003333 | -0.026031 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.4008 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.4119 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.09 | 124.3969 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | -0.63104 | -0.010537 | -0.006667 | 0.81167 | -0.023079 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4037 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4037 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4055 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | -0.26976 | 0.31441 | 0 | -0.003333 | -0.020568 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3991 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3984 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.3999 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | SBE41 Message | [5 empty] | -0.07 | -0.07 | 0.67065 | 0.47692 | 0 | 0 | -0.019037 | 3
$ | 2018-09-05 | 16:58 | Surface Ops | Processing Console Command: $go
$ | 2018-09-05 | 16:58 | Surface Ops | RecMode true, PID Off, Motor Stopped, Valve Closed, depthNum = 0 Pres, BP, BatV, BatI: | -0.07 | 124.4071 | 27.2 | 166
$ | 2018-09-05 | 16:58 | Surface Ops | Sending Optode Do Sample
$ | 2018-09-05 | 16:58 | Surface Ops | Sending Optode Wakeup
$ | 2018-09-05 | 16:58 | Surface Ops | Sending FLBB run command
$ | 2018-09-05 | 16:58 | Surface Ops | Normal State Exit
$ | 2018-09-05 | 16:58 | Surface Ops | Closing old engr log file: \SD\data\2018-9-5T16-54-25
$ | 2018-09-05 | 16:58 | Surface Ops | Enqueueing File for Transfer: \SD\data\2018-9-5T16-54-25.sci
$ | 2018-09-05 | 16:58 | Surface Ops | Closing Science File: System.Byte[]