## Slide 1: Coastal Profiling Float Linear Translation Stage Tests
Nick Raymond & Gene Massion
Meeting with Andy Hamilton

## Slide 2: Overview
Research objective
  Determine smallest detectable acceleration
  Apply filtering to remove noise.
  Look at filter freq. response and output
  Evaluate velocity estimate.
Approach
  Run the linear translation stage
  Detrend then filter signals before numerical integration with trapezoid rule.
  Calculate the percent difference of velocity from expected result.

## Slide 3: Experimental Trials
Run | Acceleration | Terminal Velocity | Total samples | Ramp time
 | mm/sec^2 | mm/sec | samples | sec
A | 50 | 200 | 500 | 4
B | 25 | 125 | 714 | 5
C | 10 | 80 | 1125 | 8
D | 5 | 60 | 1567 | 12
E | 1 | 25 | 3570 | 25
Limiting conditions:
Sample Rate: 100 Hz
Total length of table: 600 mm
Max velocity: 200 mm/sec
Max acceleration: 600 mm/sec^2

## Slide 4: Run A

## Slide 5: Run B

## Slide 6: Run C

## Slide 7: Run D

## Slide 8: Run E

## Slide 9: Detrend the data

## Slide 10: Historic Ocean Current Data – M1 Buoy

## Slide 11: Simulink Model
Acceleration profile for OceanCurrent05

## Slide 12: Comparison with and without Calibrating Accelerometer
Vfinal = 80 mm/sec
Trim 100 pts
MAV 100 pts

## Slide 13: Run F – calibrated
Vfinal = 80 mm/sec
A = 10 mm/sec^2
Trim 100 pts
MAV 100 pts

## Slide 14: Run G - calibrated
Vfinal = 55 mm/sec
A = 5 mm/sec^2
Trim 100 pts
MAV 100 pts

## Slide 15: Run H - calibrated
Vfinal = 25 mm/sec
A = 1 mm/sec^2
Trim 100 pts
MAV 100 pts

## Slide 16: Run I - calibrated
Vfinal = 17 mm/sec
A = 0.5 mm/sec^2
Trim 100 pts
MAV 500 pts

## Slide 17: Run J - calibrated
Vfinal = 11 mm/sec
A = 0.2 mm/sec^2
Trim 100 pts
MAV 500 pts
Move backwards