CPF-P2 Deployment check list				Date:

- Software checks

___________Clear breakpoints				______Comment out compiler directives

- Mission configuration

_____________Bellows upper/lower limit		________________Park hours/minutes

_____________Surface ops bellows position	________________Recovery mode BP

_____________parkdepth 				________________maxPressure

_____________maxProfiles				________________maxDays/Hours

_____________Pre mission delay TO			________________Surface ops TO

_____________Descend TO				________________Park TO

_____________Anchor TO				________________Ascend TO

_____________Number of SBD retries		________________ Homer ID

- Pre-Deployment Mechanical

_____Receive SBD message				_____Receive  GPS tracker message

_____Double check lifting bridle			_____Remove Optode  cover

_____Remove CTD caps					_____Remove FLBB cover

_____Connector dummy plugs installed		_____Remove GPS tracker off magnet

___________________Number of ballast bars	_________________Battery bus voltage

___________________Humidity/Temp.		_________________Int. pressure/Temp.

_____Remove Telonics magnet/Frequency (160.12210 MHz)

_____Remove ISUS cover

- Deployment

__________________Mission start time		__________________Over the side time

__________________Deployment lat.		__________________Deployment long.

__________________AB retract fast start time	__________________ Descend time