CPF-P2 Deployment check list				Date:

User:

Mission Statement:

- Engineering Checks

Clear breakpoints						Comment out compiler directives

- Mission Configuration (i.e., Creating Mission)

GM print out__Bellows Position upper/lower Limit	s

GM print out__Surface Ops Bellows Position			GM print out__ Recovery Mode BellowsPosition

_____________Park Sample Period (HH:MM)

_____________Mission TimeOut (HH:MM)		________________Max Profiles

_____________Park Depth (Ascend Table)		________________Max Pressure

_____________Platform Velocity (PV descend)	________________PlatformVelocity (PV ascend)

_____________Park/Anchor Time (HH:MM, Descend Table)

GM print out__Pre-Mission Delay TO			GM print out_____Surface Ops TO

GM print out__Descend TimeOut 			GM print out_____Park TO

GM print out__Anchor TimeOut				GM print out_____Ascend TO

________________ Homer ID

________________ Can Humidity (% RH)		_________________Can Pressure (mbar)

________________ Battery Bus Voltage (V)		_________________Battery Bus Current (mA)

Gene to count____  Number of Ballast Bars

- Pre-Deployment

_____Receive SBD message				_____Receive GPS Tracker Message (if mounted)

_____Double check lifting bridle			_____Remove Optode  cover

_____Remove CTD caps					_____Remove FLBB cover

_____Remove ISUS cover				_____Connector dummy plugs installed

Gene to count__Number of ballast bars	           _________________Battery bus voltage

___________________Humidity/Temp.		_________________Int. pressure/Temp.

_____Remove Telonics Magnet (Freq 160.15000MHz)

_____Homer Beacon (ID 13 (07-1), TYPE 7835-000-02, SERIAL 213796-03)

- Deployment

__________________Water Depth (m) 		__________________Over the side Time (LT)

__________________Mission Start Time (On)		__________________Under Surface Time (LT)

_________________Profile Start Time ($GO)	_________________Descend Time (LT)

_________________Deployment Lat (under)		_________________Deployment Lon (under)

FORM ON BACK FOR SUBSEQUENT DIVES FROM STARTING PROFILE: