CPF-P2 Deployment check list				Date:

User:

Mission Statement:

- Software Checks

_____ Clear breakpoints					_____	Comment out compiler directives

- Mission Configuration (i.e., Creating Mission)

_____________ Mission TimeOut (HH:MM)		_____________ Park Sample Period (HH:MM)

_____________ Max Profiles				_____________ Max Pressure (m)

_____________ Park Depth (Ascend Table)		_____________ Ascend Glide Depth*

_____________ Platform Velocity Descend		_____________ Platform Velocity Ascend

_____________ Park/Anchor Time (HH:MM, Descend Table)

_____________ Estimated Surfacing Time (HH:MM)

_____________ Pre-Mission Delay TimeOut*			_____________ Surface Ops TO*

_____________ Descend TimeOut* 			_____________ Park TO*

_____________ Anchor TimeOut*				_____________ Ascend TO*

________________ Homer ID

_____________ Can Humidity (% RH)			_____________ Can Pressure (mbar)

_____________ Battery Bus Voltage (V)		_____________ Battery Bus Current (mA)

_____________ Bellows Position Limits*		_____________ Number of Ballast Bars*

_____________ SurfaceOps Bellows Position	_____________ RecoveryMode Bellows Position

- Pre-Deployment

_____Receive SBD message				_____Receive GPS Tracker Message (if mounted)

_____Double check lifting bridle			_____Remove Optode  cover

_____Remove CTD caps					_____Remove FLBB cover

_____Remove ISUS cover				_____Connector dummy plugs installed

Gene to count__Number of ballast bars	           _________________Battery bus voltage

___________________Humidity/Temp.		_________________Int. pressure/Temp.

_____Remove Telonics Magnet (Freq 160.15000MHz)

_____Homer Beacon (ID 13 (07-1))

- Deployment

__________________ Water Depth (m) 		__________________ Over the side Time (LT)

__________________ Mission Start Time (On)		__________________ Under Surface Time (LT)

__________________ Profile Start Time ($GO)	__________________ Descend Time (LT)

__________________ Deployment Lat (Under)		__________________ Deployment Lon (Under)

FORM ON BACK FOR SUBSEQUENT DIVES FROM STARTING PROFILE:

| Profile # | Under Time | Lat/Lon Under | Surface Time | Lat/Lon Surface | Surfac |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

To Be Printed Out

Gene or Eric