## Production Summary All GDFs
Serial Number | Current Status | Lot Number (Build start date) | Configuration Gasket VL Pellet Front Cover |  |  | Comments
GDF001 | In Peter's office |  | 0.020" Silicone Rubber | Soldered | -020x0625 | deployed on float 18340, silicone gasket extruded into isfet chip opening
GDF002 | Renumbered GDF003
GDF003 | seawater conditioned for use |  | 0.03125" Viton | soldered | tall shoulder 0.028
GDF004 | on CTD 9021/APEX 19719 |  | 0.03125" Viton | fuzzbutton | tall shoulder 0.028 | Mike Parker modified housing to accept nail/fuzzbutton connection
GDF005 | parts in house to build 3/21 |  | 0.03125" Viton | fuzzbutton | tall shoulder 0.028 | Mike Parker modified housing to accept nail/fuzzbutton connection
GDF006 | parts in house to build 3/21 |  | 0.03125" Viton | fuzzbutton | tall shoulder 0.028 | Mike Parker modified housing to accept nail/fuzzbutton connection
GDF007 | parts in house to build 3/21 |  | 0.03125" Viton | fuzzbutton | tall shoulder 0.028 | Mike Parker modified housing to accept nail/fuzzbutton connection
GDF008 | parts in house to build 3/21 |  | 0.03125" Viton | fuzzbutton | tall shoulder 0.028 | Mike Parker modified housing to accept nail/fuzzbutton connection
GDF009 | [5 empty] | Housing needs to be modified for fuzz button VL Pellet
GDF010 | [5 empty] | Housing needs to be modified for fuzz button VL Pellet
GDF011 | [5 empty] | Housing needs to be modified for fuzz button VL Pellet
GDF012 | [5 empty] | Housing needs to be modified for fuzz button VL Pellet

## Performance Summary All GDFs
GDF performance summary
| Gasket squeeze | Tall/short shoulder | k2 1atm | k2 2000 dBar | fP range (2000 dbar; 20C; mV) | fP max hysteresis (mV) | Deployed on: | Comments
GDF001
GDF002
GDF003 | [6 empty] | APEX 18340
GDF004 | [6 empty] | APEX 5906441
GDF005 |  |  |  |  | 8 | 1 | Spray Glider
GDF006
GDF007 |  | Tall
GDF007_2 |  | Short |  |  | 20 |  |  | Same GDF7 body; changed cover plate to short shoulder; new ISFET chip, but same ISE as GDF007
GDF008

## GDF001
GDF Production Traveler
Serial Number: |  | 1
Version2: |  | IR
Installed on Float WMO: |  | 18340
Step No. | Description |  | Date | By | Notes
1 | Kit parts
2 | Visual Inspection
3 | Coverplate -number |  |  |  | -020x0625
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
4 | Gasket thickness |  | 0.02
| Gasket material |  | Silicone Rubber
| Gasket compression |  | -0.039 |  | -0.002 to -0.006
5 | Build sensor
6 | Photos front and back3 | [5 empty] | Production Comments:
7 | Other photos3 | [5 empty] | This is the first GDF ever deployed
8 | VL pellet resistance | [5 empty] | This was pre-traveler and no dimensions were measured on this build
9 | ISFET diode measurement | [5 empty] | Sensor was also refered to as GDF#1
10 | Counter electrode resistance
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | F(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed |  | 2020 Mar 09 |  | From Paragon in Ca Current
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number
Lab Book
Date | Name
2020-09-02 | Gene | Ken and Josh recovered the float using the R/V Fulmar
2020-09-03 | Gene | Luke removed the endcap, Dueterium lamp is not turning on
2020-09-03 | Gene | Peter and Gene started GDF inspection and dis-assembly
Observations: Cut in flow cell O-ring probably not a big deal
Silicon rubber gasket squeezed based shoulder ID in cover plate, partially coveres ISFET
8-9 Sep 20 | Gene | Sensor was run for K0 calibration post-deployment
2020-10-06 | Gene | List of issues and possible explanation
Gene, the extruded gasket explains the issues seen by 18340 is all respects. See below.
Ken
1. Extrusion of the ISFET face seal under the shoulder on the cover plate. We’re working on this now and should be able to remove this from the list after some more pressure cycles.
2. The shallow water anomaly from the 18340 deployment. As I understand it, this is defined by the discrepancy between the model predicted pH values and the GDF measured pH values above 200 meters or so.
The extruded seal covers part of the ISFET gate – when parked at 1000 m, the ISFET sees 1000 m water and generates beautiful, stable data.
As the float rises, only part of the water exchanges and the ISFET sees a mixture of deep and shallow water. Results are mixed near the surface – exactly what we see
3. Possible change in K0 (I think it was K0) and f(p) from lab cal to observed in-situ measurements
The uncertainty in k2 and f(P) are consistent with the explanation above.
4. Low Vk on GDF#4
Peter cleaned up the counter electrode, everything is good.
5. Others?
I think these 2 have been resolved but just to be complete.
6. Low frequency variation in Ib that Yui discovered.
7. High frequency noise in the Apex like pressure chamber.
EMI filter fixes this.

## GDF002
GDF Production Traveler
Serial Number: |  | 002 (also named GDF#2)
Version2: |  | IR
Installed on Float WMO: |  |  |  | Coverplate: -020 x 0625
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2020-08-10 | PW
2 | Visual Inspection |  | 2020-08-10 | PW
3 | Coverplate -number |  | -020 0625 | PW
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.057 | 0.045 | 0.297 | 0.098 | 0.061 | 0.0187 | 0.301
4 | Gasket thickness |  | 0.02
| Gasket material |  | Silicone Rubber
| Gasket compression |  | 0.2357 |  | -0.002 to -0.006
5 | Build sensor |  | 2020-08-10 | PW | JM wired pcb - half moon
6 | Photos front and back3
7 | Other photos3
8 | VL pellet resistance |  | 2020-08-10 | PW | <100 kOhm
9 | ISFET diode measurement |  | 2020-08-10 | PW | 0.607 white / 0.608 black |  | Comments:
10 | Counter electrode resistance |  | 2020-08-10 | PW | 0.3 Ohm |  | This GDF was built as much as possible like 2019-001 to help uncover shallow water
11 | Seawater Cond. (num. days) | [6 empty] | anomalies observed druing 2019-001 deployment.
12 | K2 cal (file name) | [5 empty] | This sensor was also called GDF#2
13 | F(p) cal (file name) |  |  |  | in Ti apex chamber |  | Yui and Joseph Warren used this in the Carbon lab, but saw sensor repsonse correlated
14 | Install on endcap | [5 empty] | the lab temperature flucutation. Worked ok with a MSC controller board but had a
15 | Test / Calibration K0 | [5 empty] | repsonse to lab temps with other controller electronics.
16 | Shipped to
17 | Deployed | [5 empty] | 2020-09-11 | Rebuilt with new cover plate and viton gasket, renumbered SN003
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number
Lab Book

## GDF003
GDF Production Traveler
Serial Number: |  | 003
Version2: |  | IR
Installed on Float WMO: |  |  |  | coverplate tall shoulder
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2020-09-11 | PW
2 | Visual Inspection |  | 2020-09-11 | PW
3 | Coverplate -number |  | tall shoulder | PW
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.027 | 0.035 | 0.297 | 0.096 | 0.061 | 0.0187 | 0.301
4 | Gasket thickness |  | 0.031
| Gasket material |  | viton
Gasket compression
5 | Build sensor |  | 2020-09-11 | PW | rebuilt GDF#2 with viton gasket
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3 | [5 empty] | rebuilt GDF 2020-001 (GDF#2) with viton gasket, tall shoulder coverplate
8 | VL pellet resistance |  | 2020-09-11 | PW | ~50kOhm |  | same pellet with solder joint on back
9 | ISFET diode measurement |  | 2020-09-11 | PW | 0.605 / 0.605 |  | run in Ti pressure chamber 9/15/20-9/16/20. 0.01N HCl in 0.6M NaCl
10 | Counter electrode resistance |  | 2020-09-11 | PW | 0.3 Ohm |  | fP run in Ti pressure chamber, Oct 1 2020
11 | Seawater Cond. (num. days) |  | 14+ |  |  |  | Seawater conditioning pellet, Feb 2021
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
1 YYYY-xxx: YYYY = year, xxx = number of GDF build that year e.g., 2019-001, 2019-002, 2020-001, 2020-002, …
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number
Lab Book

## GDF004
GDF Production Traveler
Serial Number: |  | 004
Version2: |  | rev A
Installed on Float WMO: |  | 19719
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  |  |  | 125 length fuzzbutton
2 | Visual Inspection |  | 2020-09-15 | PW
3 | Coverplate -number |  | tall shoulder
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.027 | 0.351 | 0.297 | 0.096 | 0.061 | 0.018 | 0.301
4 | Gasket thickness |  | 0.031
| Gasket material |  | viton
Gasket compression
5 | Build sensor |  | 2020-09-15
6 | Photos front and back3 | [5 empty] | Comments: Fuzzbutton connection to ref pellet, new "butterfly" shape pcb board.
7 | Other photos3 |  |  |  | gasket + chip hole |  | 9/16/20 checked sensor output in 0.01N HCl
8 | VL pellet resistance |  | 2020-09-16 | PW | <100 kOhm |  | fP work done in Ti pressure vessel Oct 2020
9 | ISFET diode measurement |  | 2020-09-16 | PW | 0.605 blk / 0.604 whi |  | installed on float head CTD 9021 / APEX 18340 and K0 run Dec 9-12 2020
10 | Counter electrode resistance |  | 2020-09-16 | PW | 0.3 Ohm |  | entire APEX flatt 18340 shipped to UW on Dec 22, 2020.
11 | Seawater Cond. (num. days) |  | 14+ |  |  |  | UW intalled CTD 9021 onto float 19719 and returned to MBARI - Feb 2021.
12 | K2 cal (file name) | [5 empty] | Deployed from Western Flyer on 3/18/21
13 | f(p) cal (file name)
14 | Install on endcap |  | 2020-12-07 | PW
15 | Test / Calibration K0 |  | 12/9/20-12/12/2020 | PW
16 | Shipped to |  | 2020-12-22 |  | shipped to UW
17 | Deployed |  | 2021-03-18 |  | Barry cruise on WF
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF005
GDF Production Traveler
Serial Number: |  | GDF 005
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2021-03-01 | PW
2 | Visual Inspection
3 | Coverplate |  | tall shoulder
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.028 | 0.036 | 0.297 | 0.098 | 0.061 | 0.019 | 0.301
4 | Gasket thickness |  | 0.031
| Gasket material |  | 1/32" viton sheet
Gasket compression
5 | Build sensor |  | 2021-03-10 | JM
6 | Photos front and back3 | [5 empty] | Comments: f(P) in Ti pressure vessel and k2 by Yui in thermal beaker.
7 | Other photos3 | [5 empty] | Planning to deploy for field testing on spray glider, April 2021.
8 | VL pellet resistance |  | 3/22/21 | PW | 120 kOhm
9 | ISFET diode measurement |  | 3/22/21 | PW | 0.617/0.617
10 | Counter electrode resistance |  | 3/22/21 | PW | 0.2 Ohm
11 | Seawater Cond. (num. days)
12 | K2 cal (file name) |  | 2021-03-25
13 | f(p) cal (file name) |  | 2021-03-22
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF006
GDF Production Traveler
Serial Number: |  | GDF 006
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2021-03-01 | PW
2 | Visual Inspection
3 | Coverplate |  | tall shoulder
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.028 | 0.036 | 0.295 | 0.096 | 0.061 | 0.019 | 0.301
4 | Gasket thickness |  | 0.031
| Gasket material |  | 1/32" viton sheet
Gasket compression
5 | Build sensor |  | 2021-03-10 | JM
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance |  | 3/22/21 | PW | 100 kOhm
9 | ISFET diode measurement |  | 3/22/21 | PW | 0.611/0.611
10 | Counter electrode resistance |  | 3/22/21 | PW | 0.2 Ohm
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF007
GDF Production Traveler
Serial Number: |  | GDF 007
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2021-03-01 | PW
2 | Visual Inspection
3 | Coverplate |  | tall shoulder
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.027 | 0.036 | 0.296 | 0.097 | 0.061 | 0.018 | 0.3
4 | Gasket thickness |  | 0.031
| Gasket material |  | 1/32" viton sheet
Gasket compression
5 | Build sensor |  | 2021-03-10 | JM
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance |  | 3/22/21 | PW | 90 kOhm
9 | ISFET diode measurement |  | 3/22/21 | PW | 0.609/0.609
10 | Counter electrode resistance |  | 3/22/21 | PW | 0.3 Ohm
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF008
GDF Production Traveler
Serial Number: |  | GDF 008
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts |  | 2021-03-01 | PW
2 | Visual Inspection
3 | Coverplate |  | tall shoulder
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
0.027 | 0.036 | 0.296 | 0.096 | 0.061 | 0.017 | 0.301
4 | Gasket thickness |  | 0.031
| Gasket material |  | 1/32" viton sheet
Gasket compression
5 | Build sensor |  | 2021-03-10 | JM
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance |  | 3/22/21 | PW | 90 kOhm
9 | ISFET diode measurement |  | 3/22/21 | PW | 0.608/0.608
10 | Counter electrode resistance |  | 3/22/21 | PW | 0.3 Ohm
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF009
GDF Production Traveler
Serial Number: |  | GDF 009
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts
2 | Visual Inspection
3 | Coverplate
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
|  |  |  | 0.0609 | 0.0194 | 0.301
4 | Gasket thickness
Gasket material
Gasket compression
5 | Build sensor
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance
9 | ISFET diode measurement
10 | Counter electrode resistance
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF010
GDF Production Traveler
Serial Number: |  | GDF 010
Version2: |  | rev A
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts
2 | Visual Inspection
3 | Coverplate
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
|  |  |  | 0.0608 | 0.0199 | 0.301
4 | Gasket thickness
Gasket material
Gasket compression
5 | Build sensor
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance
9 | ISFET diode measurement
10 | Counter electrode resistance
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number

## GDF Traveler Template
GDF Production Traveler
Serial Number:
Version2:
Installed on Float WMO:
Step No. | Description |  | Date | By | Notes
1 | Kit parts
2 | Visual Inspection
3 | Coverplate
Dim A | Dim B | Dim C | Dim D | Dim E | Dim F | Dim G
4 | Gasket thickness
Gasket material
Gasket compression
5 | Build sensor
6 | Photos front and back3 | [5 empty] | Comments:
7 | Other photos3
8 | VL pellet resistance
9 | ISFET diode measurement
10 | Counter electrode resistance
11 | Seawater Cond. (num. days)
12 | K2 cal (file name)
13 | f(p) cal (file name)
14 | Install on endcap
15 | Test / Calibration K0
16 | Shipped to
17 | Deployed
2 IR = Initial release (soldered pellet), A = rev A (fuzzy pellet)
3 Photos go in \\atlas.shore.mbari.org\ProjectLibrary\pH2018\Production\YYYY-xxx\photos,
YYYY-xxx is the serial number