## Slide 1
SUMMARY
Looking mostly at 12XXX floats
Pump offset coincident with ~0.4 mA increase in System amps in CP region (0-985m)
Floats without pump offsets show a decrease in or constant current over same region
Floats with pump offsets tend to have larger drifts in Vk
Vk shows ~5 mV decrease in CP zone
Vk pump offset shows curvature, while Vrs, pH offset more of a step function

## Slide 2
Floats with large pump offsets

## Slide 3
12701

## Slide 4
12878

## Slide 5
12558

## Slide 6
12884

## Slide 7
12734

## Slide 8
12711

## Slide 9
12709

## Slide 10
12701

## Slide 11
Floats with small pump offsets

## Slide 12
12745

## Slide 13
12396

## Slide 14
12883

## Slide 15
12696

## Slide 16
12549

## Slide 17
12727