## test3_dPdt_Ch A
Labview Date/Time | Thermistor Temp | Bath Temp | Bath Set Point | Pressure (dBar) | Max Flow | Flow Rate | Pump Volume | CRC | ID | DATE TIME | UTC SECS | CTD DEPTH | CTD TEMP | CTD SALINITY | SAMPLE COUNTER | RESET COUNTER | ERROR COUNTER | HOUSING TEMPERATURE | HOUSING HUMIDITY | INPUT VOLTAGE | INPUT CURRENT | FOOBAR PH VALUE | BACKUP BATTERY | VRS VOLTS | VRS STDDEV | VK VOLTS | VK STDDEV | IK AMPS | IB AMPS | Set_temp | Set_pres | StepNum
H | Datalogger Serial Num | SN:0777H | Application Name | APF_MAIN.C
H | App Build Date | Nov 1 2018 | 17:16:14
H | Power Up Time (GMT) | 08/21/2023 19:36:53
H | Current Time (GMT) | 08/23/2023 22:44:44
H | Alarm Time (GMT) | 08/24/2023 07:36:56
H | Power Active Timeout | 10
H | Persistor CF2-1M Info | S/N:15083 - BIOS:4.03 - PicoDOS:4.03
H | Compact FLASH Size | 256614400
H | Compact FLASH Left | 20.23%
H | Power Cycle Counter | 101
H | System Reset Counter | 105
H | System Error Counter | 1357
H | Last System Error | -103
H | Last System ErrorTime | 08/23/2023 21:36:56
H | DURA Error Counter | 3
H | Last DURA Error | -301
H | Last DURA Error Time | 08/28/2021 02:09:43
H | DURA Sample Counter | 1288136
H | Last Sample Rec. Time | 08/23/2023 22:44:40
H | AtoD Reads per Sample | 10
H | AtoD Reading Delay | 250
H | Samps per AtoD Recal | 250
2023-08-23 16:11 | 18.0879 | 16.633 | 20 | 15.158 | 0.05 | 0 | 85.2371 | 0x9D3B | pH | 2023-08-23 23:07 | 0 | -1 | -1 | -1 | 1288141 | 101 | 3 | 24.59 | 45.65 | 11.74 | 0.0362 | 7.1234 | 3.608 | 0.036945 | 5.6e-05 | -2.048 | 0 | 3.473e-09 | 1.343e-09 | 20 | 10 | 1
2023-08-23 16:12 | 17.8801 | 16.871 | 20 | 19.981 | 0.05 | 0.03059 | 85.234 | 0xFEFB | pH | 2023-08-23 23:08 | 0 | -1 | -1 | -1 | 1288142 | 101 | 3 | 24.6 | 45.67 | 11.74 | 0.0362 | 7.1234 | 3.608 | 0.037247 | 7.3e-05 | -2.048 | 0 | 5.609e-09 | 1.004e-09 | 20 | 10 | 1
2023-08-23 16:12 | 17.7273 | 17.175 | 20 | 26.871 | 0.05 | 0.01119 | 85.2253 | 0x0E1A | pH | 2023-08-23 23:08 | 0 | -1 | -1 | -1 | 1288143 | 101 | 3 | 24.6 | 45.71 | 11.74 | 0.0362 | 7.1234 | 3.609 | 0.036982 | 2.6e-05 | -2.048 | 0 | 3.816e-09 | 2.864e-09 | 20 | 10 | 1
2023-08-23 16:13 | 17.648 | 17.464 | 20 | 33.761 | 0.05 | 0.00902 | 85.2204 | 0xCAA1 | pH | 2023-08-23 23:09 | 0 | -1 | -1 | -1 | 1288144 | 101 | 3 | 24.62 | 45.73 | 11.74 | 0.0362 | 7.1234 | 3.609 | 0.037179 | 6.4e-05 | -2.048 | 0 | 4.854e-09 | 2.984e-09 | 20 | 10 | 1
2023-08-23 16:13 | 17.6337 | 17.751 | 20 | 40.651 | 0.05 | 0.00996 | 85.2158 | 0x79A1 | pH | 2023-08-23 23:09 | 0 | -1 | -1 | -1 | 1288145 | 101 | 3 | 24.63 | 45.7 | 11.74 | 0.036 | 7.1234 | 3.609 | 0.037509 | 4.8e-05 | -2.048 | 0 | 4.333e-09 | 4.84e-09 | 20 | 10 | 1
2023-08-23 16:14 | 17.6759 | 18.018 | 20 | 47.541 | 0.05 | 0.00911 | 85.2114 | 0xE246 | pH | 2023-08-23 23:10 | 0 | -1 | -1 | -1 | 1288146 | 101 | 3 | 24.64 | 45.68 | 11.74 | 0.036 | 7.1234 | 3.609 | 0.037534 | 2.9e-05 | -2.048 | 0 | 4.236e-09 | -1.893e-09 | 20 | 10 | 1
2023-08-23 16:14 | 17.7606 | 18.298 | 20 | 54.431 | 0.05 | 0.00854 | 85.207 | 0xC5C0 | pH | 2023-08-23 23:10 | 0 | -1 | -1 | -1 | 1288147 | 101 | 3 | 24.67 | 45.66 | 11.74 | 0.036 | 7.1234 | 3.61 | 0.037597 | 6.6e-05 | -2.048 | 0 | 4.951e-09 | 3.371e-09 | 20 | 10 | 1
2023-08-23 16:15 | 17.8788 | 18.574 | 20 | 61.321 | 0.05 | 0.00832 | 85.2028 | 0x5114 | pH | 2023-08-23 23:11 | 0 | -1 | -1 | -1 | 1288148 | 101 | 3 | 24.69 | 45.64 | 11.74 | 0.036 | 7.1234 | 3.61 | 0.037761 | 2.5e-05 | -2.048 | 0 | 4.162e-09 | 1.951e-09 | 20 | 10 | 1
2023-08-23 16:15 | 18.0226 | 18.838 | 20 | 68.211 | 0.05 | 0.008 | 85.1986 | 0x933F | pH | 2023-08-23 23:11 | 0 | -1 | -1 | -1 | 1288149 | 101 | 3 | 24.71 | 45.62 | 11.74 | 0.0362 | 7.1234 | 3.61 | 0.037755 | 3.1e-05 | -2.048 | 0 | 5.136e-09 | 4.074e-09 | 20 | 10 | 1
2023-08-23 16:16 | 18.1852 | 19.099 | 20 | 75.101 | 0.05 | 0.00811 | 85.1945 | 0x4952 | pH | 2023-08-23 23:12 | 0 | -1 | -1 | -1 | 1288150 | 101 | 3 | 24.73 | 45.62 | 11.74 | 0.036 | 7.1234 | 3.61 | 0.037623 | 3.5e-05 | -2.048 | 0 | 2.819e-09 | 4.294e-09 | 20 | 10 | 1
2023-08-23 16:16 | 18.365 | 19.357 | 20 | 81.991 | 0.05 | 0.00795 | 85.1905 | 0x332B | pH | 2023-08-23 23:12 | 0 | -1 | -1 | -1 | 1288151 | 101 | 3 | 24.74 | 45.6 | 11.74 | 0.036 | 7.1234 | 3.61 | 0.037762 | 4.9e-05 | -2.048 | 0 | 6.392e-09 | 9.206e-10 | 20 | 10 | 1
2023-08-23 16:17 | 18.5533 | 19.615 | 20 | 88.881 | 0.05 | 0.00766 | 85.1866 | 0x0089 | pH | 2023-08-23 23:13 | 0 | -1 | -1 | -1 | 1288152 | 101 | 3 | 24.75 | 45.58 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037657 | 7e-05 | -2.048 | 0 | 3.996e-09 | 3.656e-09 | 20 | 10 | 1
2023-08-23 16:17 | 18.7545 | 19.866 | 20 | 95.771 | 0.05 | 0.00811 | 85.1825 | 0x5F47 | pH | 2023-08-23 23:13 | 0 | -1 | -1 | -1 | 1288153 | 101 | 3 | 24.77 | 45.56 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037482 | 3e-05 | -2.048 | 0 | 4.553e-09 | 8.86e-10 | 20 | 10 | 1
2023-08-23 16:18 | 18.9608 | 20.053 | 20 | 102.661 | 0.05 | 0.00797 | 85.1785 | 0x0A59 | pH | 2023-08-23 23:14 | 0 | -1 | -1 | -1 | 1288154 | 101 | 3 | 24.78 | 45.52 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037524 | 5.6e-05 | -2.048 | 0 | 5.843e-09 | 1.78e-09 | 20 | 10 | 1
2023-08-23 16:18 | 19.1587 | 20.162 | 20 | 109.551 | 0.05 | 0.00806 | 85.1746 | 0xDB1C | pH | 2023-08-23 23:14 | 0 | -1 | -1 | -1 | 1288155 | 101 | 3 | 24.8 | 45.49 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037366 | 5.3e-05 | -2.048 | 0 | 5.056e-09 | 1.154e-09 | 20 | 10 | 1
2023-08-23 16:19 | 19.3383 | 20.209 | 20 | 116.441 | 0.05 | 0.00833 | 85.1706 | 0x0942 | pH | 2023-08-23 23:15 | 0 | -1 | -1 | -1 | 1288156 | 101 | 3 | 24.82 | 45.48 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037484 | 4.7e-05 | -2.048 | 0 | 4.961e-09 | 1.17e-09 | 20 | 10 | 1
2023-08-23 16:19 | 19.4896 | 20.207 | 20 | 123.331 | 0.05 | 0.00779 | 85.1667 | 0x8B5A | pH | 2023-08-23 23:15 | 0 | -1 | -1 | -1 | 1288157 | 101 | 3 | 24.84 | 45.46 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.037795 | 1.9e-05 | -2.048 | 0 | 4.127e-09 | 2.955e-09 | 20 | 10 | 1
2023-08-23 16:20 | 19.6096 | 20.182 | 20 | 130.221 | 0.05 | 0.00794 | 85.1628 | 0xD046 | pH | 2023-08-23 23:16 | 0 | -1 | -1 | -1 | 1288158 | 101 | 3 | 24.85 | 45.43 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.03821 | 5.2e-05 | -2.048 | 0 | 5.31e-09 | 3.107e-09 | 20 | 10 | 1
2023-08-23 16:20 | 19.7011 | 20.147 | 20 | 137.111 | 0.05 | 0.00747 | 85.159 | 0x98B8 | pH | 2023-08-23 23:16 | 0 | -1 | -1 | -1 | 1288159 | 101 | 3 | 24.87 | 45.43 | 11.74 | 0.036 | 7.1234 | 3.611 | 0.038727 | 4.4e-05 | -2.048 | 0 | 4.685e-09 | 1.89e-09 | 20 | 10 | 1
2023-08-23 16:21 | 19.7704 | 20.108 | 20 | 132.977 | 0.05 | -0.01475 | 85.1587 | 0xB1E4 | pH | 2023-08-23 23:17 | 0 | -1 | -1 | -1 | 1288160 | 101 | 3 | 24.88 | 45.41 | 11.74 | 0.036 | 7.1234 | 3.612 | 0.038571 | 5.6e-05 | -2.048 | 0 | 4.113e-09 | 3.843e-09 | 20 | 10 | 1
2023-08-23 16:21 | 19.8186 | 20.076 | 20 | 126.087 | 0.05 | -0.00648 | 85.1626 | 0xEE2C | pH | 2023-08-23 23:17 | 0 | -1 | -1 | -1 | 1288161 | 101 | 3 | 24.88 | 45.41 | 11.74 | 0.036 | 7.1234 | 3.612 | 0.038769 | 0.00017 | -2.048 | 0 | 5.537e-09 | 3.108e-09 | 20 | 10 | 1