pH Sensor PT Test Chamber discussion

2019 Sep 23

Ken Johnson, Yui Takeshita, Luke Coletti, Carole Sakamoto, Peter Walz, Gene Massion

Notes:

- Increase size of PV by 20-ish%

- Investigate PEEK stem on pH Sensor

  - How is the optode stem designed? Answer: all Peek including threads

- Look at using Upchurch fittings and PEEK tubing

  - Isco pump max flow rate = 100 mL/min so maybe make sure tubing loss < 20% or so, i.e. min fill rate at the far end of the tubing run > 80 mL/min.

- Use 25degC in 400 meters at 0.1m/sec for thermal ramp rate max = 0.375 degC/minute

- Build up fixture to test Peltier cooler electrical noise

  - Consider recirculating water instead of Peltier cooler

- Re-think which part of the pressure chamber should be fixed and which part should move.

- Make sure there is a viable stirring capability

  - Analyze thermal gradients

  - Test at 0 pressure