Coastal Profiling Float Requirements

Gene Massion

Rev History

- July 9, 2012		First draft					Gene Massion

Introduction

The goal of the Coastal Profiling Float (CPF) project is to build a CPF much like the existing Webb APEX ARGO float, designed for global ocean heat content measurements, with additional functionality to address questions more relevant to coastal oceanographic issues.  Our development efforts will focus on the following enhancements to the existing technology

  - Add a “parking” mode to help maintain station between profiles.

  - Provide an ability to park the CPF at depths that can take advantage of favorable currents to keep the CPF in the desired measurement volume.

  - Support for an instrument suite optimized for coastal observations.

  - Provide a mapping capability suitable for evaluating CPF position relative to identified “keep out zones” in order to retrieve a wayward float before it can cause problems

We recognize that the existing ARGO designs are highly successfully and as a design guideline we intend to use as much existing ARGO technology as possible.  For example, the entire software source code is available as an open source project.  In addition, Dana Swift, the author of the existing APEX float software, is already collaborating with us on other profiler related projects and has agreed to collaborate with us on this project.

Requirements

- Sensor suite

The CPF shall support the following instruments

  - Seabird 41CP CTD http://www.seabird.com/alace.htm

    - Both spot and continuous sampling modes shall be supported

  - MBARI pH sensor (Ken Johnson)

  - Oxygen sensor (http://www.aadi.no/Aanderaa/Products/Sensors/OxygenOptode/default.aspx )

  - MBARI ISUS Nitrate sensor (Ken Johnson)

  - Wetlabs FL/BB Fluorometer/Backscatter (http://www.wetlabs.com/products/pub/specsheets/flbbap2ssa.pdf )

  - PAR Sensor (TBD)

  - GPS ( www.u-blox.com/en/gps-modules.html ).

  - 3 axis Accelerometer ( maybe the http://invensense.com/index.html although the accelerometer available on the Cortex M4 development kit may be adequate for initial testing )

  - As a goal, future support for an additional 1 or 2  TBD (but RS232) instruments shall be provided.

- Mission planning

  - Mission states (reference Iridium Apex Manual for additional details)

    - Pressure Activation

    - Mission Prelude

    - Profile from park

This state includes the following phases

      - Descend

      - Park

      - Profile

Sampling only occurs during the profile phase and is defined by a user selected depth table that is flashed into memory.

      - Telemetry

    - Deep profile

  - Mission execution shall proceed from state to state regardless of the health of any other float component.  For example, transition from park to profile to telemetry shall occur even if the float can’t reach the defined park depth or all samples at a given depth can’t be acquired.

This functionality is minimally adequate but the following enhancements are desirable.

  - An arbitrary, user defined depth table without the need for re-compilation or memory flashing.

  - Defining the depth table individually for each instrument.

  - The ability to turn on/off individual instruments as a function of depth

  - Support for continuous (or time based) sampling of any instrument that provides that functionality.

  - Sampling during the ascend and descend phases with different sampling tables

- The mission lifetime shall be 3 years with 5 years a desirable goal.

- Buoyancy control

The buoyancy engine shall provide the following functionality

  - A change in volume of 2.5 liters.  This is based on initial calculations showing a desired anchoring force of about 2 lbf and a de-anchoring force of 3 lbf (5 lbf or 25N total).

  - Ascend at a user defined rate

    - Range: 0 – 10 (15, 20, ?) cm/sec

    - Resolution: 1 cm/sec

    - Accuracy: TBD

  - Descend at a user defined rate

    - Range: 0 – 10 (15, 20, ?) cm/sec

    - Resolution: 1 cm/sec

    - Accuracy: TBD

  - Hold depth

    - Range: 0 – 500 meters

    - Resolution: 1 meter

    - Accuracy: TBD

  - Move to an absolute position

    - Range: 0 – full stroke

    - Resolution: 1% of full stroke

    - Accuracy: TBD

  - Move relative to current position

    - Range: 0 – 100% of full stroke

    - Resolution: 1 gram of sea water displacement (?)

    - Accuracy: 1 gram +/- 0.5 grams (?)

- Positioning

  - The CPF shall track float location whenever the CPF is on the surface

- Telemetry

  - Telemetry shall be via the Iridium satellite network.

  - The shore terminus shall be the existing Linux server in Luke’s office.

  - The data packet shall conform to the existing APEX format.

  - Instrument samples shall be time and depth stamped

  - Float location at the beginning and end of the surface interval shall be included in the data packet.

  - A new mission profile shall be downloadable during any surface interval

- Engineering log

  - The CPF shall keep a detailed, time and depth stamped log of internal engineering data including

    - A history of mission state

    - Battery voltage

    - Individual bus voltages

    - Individual bus current draw

    - Depth

    - Buoyancy engine (BE) oil pressure

    - BE Bellows position

    - GPS quality data e.g. xDOP, number of satellites in view, number of satellites used in fix, satellite signal strength, DGPS state.

    - More later

  - The engineering log shall be available over the telemetry link

    - Short and verbose versions are desirable to minimize telemetry bandwidth

- Size and weight

  - The CPF shall be deployable by 2 persons from a small boat, e.g. MLML 17’ Bay Whaler or RHIB without special permanently mounted equipment e.g. winch, crane etc.

  - Deployment/recovery aides that can be carried aboard and used without significant modification to the small boat shall be acceptable, e.g. a custom cradle/launch chute.

  - Deployment/recover from large ships may require the use of existing cranes, A-frames, etc.

- Next