## Sheet1
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: firmware compilation date: 18 December 2007 09:20
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: stop profile when pressure is less than = 1.0 decibars
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: automatic bin averaging at end of profile disabled
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: number of samples = 8
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: number of bins = 0
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: top bin interval = 10
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: top bin size = 10
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: top bin max = 100
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: middle bin interval = 50
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: middle bin size = 50
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: middle bin max = 1000
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: bottom bin interval = 100
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: bottom bin size = 100
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: do not include two transition bins
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: do not include samples per bin
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: pumped take sample wait time = 5 sec
2014-09-01 | 13:47 | SM Not Running | Unparsed SBE41 Message: real-time output is P only
2014-09-01 | 13:47 | SM Not Running | Intialize Optode
2014-09-01 | 13:47 | SM Not Running | !Product Name | 4330 | 1532 | Optode Sensor
2014-09-01 | 13:47 | SM Not Running | Product Number | 4330 | 1532 | 4330
2014-09-01 | 13:47 | SM Not Running | Serial Number | 4330 | 1532 | 1532
2014-09-01 | 13:47 | SM Not Running | SW ID | 4330 | 1532 | 1940006
2014-09-01 | 13:47 | SM Not Running | SW Version | 4330 | 1532 | 4 | 4 | 8
2014-09-01 | 13:47 | SM Not Running | Node Description | 4330 | 1532 | Optode Sensor #1532
2014-09-01 | 13:47 | SM Not Running | Salinity[PSU] | 4330 | 1532 | 0
2014-09-01 | 13:47 | SM Not Running | PhaseCoef | 4330 | 1532 | 0 | 1 | 0 | 0
2014-09-01 | 13:47 | SM Not Running | FoilID | 4330 | 1532 | 1206E
2014-09-01 | 13:47 | SM Not Running | FoilCoefA | 4330 | 1532 | -2.9883e-06 | -6.1378e-06 | 0.0016847 | -0.18572 | 0.00067844 | -5.5979e-07 | 10.4016 | -0.059869 | 0.00013604 | -4.777e-07 | -303.2937 | 2.5305 | -0.01267 | 0.00010405
2014-09-01 | 13:47 | SM Not Running | FoilCoefB | 4330 | 1532 | -3.5604e-07 | 3816.713 | -44.7551 | 0.43862 | -0.0071463 | 8.9062e-05 | -6.343e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-09-01 | 13:47 | SM Not Running | FoilPolyDegT | 4330 | 1532 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 2 | 3 | 0 | 1 | 2 | 3 | 4 | 0 | 1 | 2 | 3 | 4 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-09-01 | 13:47 | SM Not Running | FoilPolyDegO | 4330 | 1532 | 4 | 5 | 4 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-09-01 | 13:47 | SM Not Running | SVUFoilCoef | 4330 | 1532 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-09-01 | 13:47 | SM Not Running | ConcCoef | 4330 | 1532 | 1.189 | 1.0479
2014-09-01 | 13:47 | SM Not Running | NomAirPress[hPa] | 4330 | 1532 | 1013.25
2014-09-01 | 13:47 | SM Not Running | NomAirMix[hPa] | 4330 | 1532 | 0.20946
2014-09-01 | 13:47 | SM Not Running | CalDataSat[Deg] | 4330 | 1532 | 31.9056 | 9.908
2014-09-01 | 13:47 | SM Not Running | CalDataAPress[hPa] | 4330 | 1532 | 972.7333 | [27 empty] | 2014-09-01 | 13:47 | SM Not Running | CalDataZero[Deg] | 4330 | 1532 | 62.645 | 24.5234
2014-09-01 | 13:47 | SM Not Running | Mode | 4330 | 1532 | AiCaP
2014-09-01 | 13:47 | SM Not Running | Enable Sleep | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable Polled Mode | 4330 | 1532 | No
2014-09-01 | 13:47 | SM Not Running | Enable Text | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable Decimalformat | 4330 | 1532 | No
2014-09-01 | 13:47 | SM Not Running | Analog TempLimit[Deg.C] | 4330 | 1532 | -5 | 35
2014-09-01 | 13:47 | SM Not Running | Analog Output1 | 4330 | 1532 | O2Concentration
2014-09-01 | 13:47 | SM Not Running | Analog Coef | 4330 | 1532 | 0 | 1
2014-09-01 | 13:47 | SM Not Running | Enable AirSaturation | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable Rawdata | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable Temperature | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable HumidityComp | 4330 | 1532 | Yes
2014-09-01 | 13:47 | SM Not Running | Enable SVUformula | 4330 | 1532 | No
2014-09-01 | 13:47 | SM Not Running | Interval[s] | 4330 | 1532 | 30
2014-09-01 | 13:47 | SM Not Running | Owner | 4330 | 1532
2014-09-01 | 13:47 | SM Not Running | Location | 4330 | 1532
2014-09-01 | 13:47 | SM Not Running | Geographic Position | 4330 | 1532 | 60.31115,5.3494
2014-09-01 | 13:47 | SM Not Running | Vertical Position | 4330 | 1532
2014-09-01 | 13:47 | SM Not Running | Reference | 4330 | 1532