State of the CPF address

May 22, 2013

Questions and answers:

- What wireless devices should we be using? (Ken and Gene)

  - Initial tests with Bluetooth over serial have worked so we’ll use that for the debug connection to the CPU

  - Given the reasonably high probability that the CPF might drift out of cell phone coverage we should stick with Iridium.

- Given the answers to question 1 above, do we need anything else for testing in the lab/test tank where we won’t have an Iridium connection? (Wayne and Gene)

- What else besides what is identified in Wayne and Gene’s task lists below do you want to see at the design review (Ken)

- What one instrument (other than the CTD) should we pick for our initial deployment testing? (Ken)

Gene’s task list

- Review all the proposed instrumentation and identify any instruments with funny comm.  issues (like the hardware lines on the CTD) by the next meeting

- Provide Wayne with a GPS this week

- Provide Wayne with an Iridium modem in the next couple of weeks

- Add the new power distribution board to the test tank prototype (TTP)

- Remount the Gadgeteer hardware on the TTP so we can see the LED

- Measure the active and quiescent current/power on the TTP

- Get the TTP working again in the test tank by end of May and leave it alone until after the DOEST (June 18 with practice on the 13th)

- Get the system, electrical and mechanical design for the CPF prototype 1.0 (CPF1.0) ready for a design review

  - Requirements document

  - System block diagram

  - Solidworks models

  - Electrical schematics

  - Test results from tank tests

  - Test plan

  - Concept of operations for the CPF

  - Size, weight and cost estimates

- After the DR, get CPF1.0 built and running

Wayne’s task list

- Get the initial implementation of the go to sea software running with about the same functionality as the current TTP

- Prepare for the design review

  - Software block or state diagrams or whatever is appropriate so non-software types can understand the architecture

  - It would be nice to have some estimates of performance

    - like how many PID loops we can run per second ignoring any instrument sampling

    - how many serial ports and/or total baud rate we can reasonably support

    - Maximum bytes/second we can write to disk with nothing else going on and maybe an estimate of what might be a reasonable number with everything running

    - An estimate of how much of the compute performance margin we have with the Gadgeteer hardware.  I’m not sure how to do this but that shouldn’t surprise anyone.

    - the CPU power numbers in whatever modes are appropriate like active, sleep, hibernate

  - If it is possible to do a little testing/reading on what the hell GC is doing and how it might screw us that would be good.

  - A concept for error detection and handling

  - A test plan of some kind

- After the DR, add CTD and Iridium functionality