## BigComponents
Item | Mfr | PN | Procurement point person | Total | New / unchecked | Programmed / checked out | Incorporated / In Use | Set aside / known Issues | Notes | NUMBER TO ORDER | Ordered? | Quote
MMS-UV Spectrometer w/ 160mm(?) fiber | Zeiss/Hellma | 2474-738 | Josh | 10 | 9 |  | 1 | 1 | 20250605: SN 139853 had blip when used in test unit, replaced by 139858. 5 new in bin, 4 new in box | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 |  | G:\Shared drives\ISUS Development\miniISUS\Orders\MBari-LColetti-Quote-SC051921B-rev_V2_Hellma.pdf
Hereaus Mini-Lamp | Hereaus | DTM 6/58S (discont) | none | 16 | 14 |  | 2 |  | 20250605: PO only lists 15, not sure where extra is from. Many have some corrosion on PCB | None left in the world | N/A | N/A
Bifurcated Optical Fiber | Fiberoptic Systems |  | Ben Davis | 0 | [5 empty] | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 5ea 901217 |  | N/A
Ti Optical Probe | Fluke / PFG |  | Ben Davis | 2 | 1 |  | 1 |  | 20250605: one from 2022 and one from 2021 (in test unit), both unknown quality | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 5ea 901217 |  | Same as Floats?
Probe Adaptor for glider endcap | Fluke? Prunella? |  | Jon Erickson/ | 5 | 4 |  | 1 |  | 20250605: one used for test unit | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 |  | ?
Circular Spec Board - Digital | Indtec | 100222191rA | Irene | 11 | 9 | 1 | 1 | 1 | 20250605: A000002 was handbuilt (but is programmed); A001001 currently in test unit; A000001 (handbuilt) broken. 20250609: confirmed Indtec has 7 bare boards | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Circular Spec Board - Analog | Indtec | 100221520rA | Irene | 9 | 8 |  | 1 |  | 20250605: A001001 currently in test unit. A001010 was previously in there, may or may not have been set up. Many bare boards | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Circular Spec Board - Power | Circuits West / in-house build | 100221519rA | Irene | 11 | 10 |  | 1 |  | 20250606: many bare boards | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Mini ISUS Baseboard | Indtec | 100222237rB | Irene | 0 |  |  |  |  | Already ordered | 5ea 702107.98 5ea 708187.98 10ea 8001699.99 5ea 901217 | Yes
Tiva1290 Module | Indtec | 100222326rC | Irene | 0 |  |  |  |  | Can borrow from MSC, but will need to order our own | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 5ea 901217
Housing tube | Amalga Composites | P-221483 | Jon Erickson/ | 8 | 7 |  | 1 |  | 20250605: one used for fit unit | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Ti Sensor endcap - flush style | Fluke? Prunella? | P-221482 | Jon Erickson/ | 4 | 3 |  | 1 |  | 20250605: one used for fit unit | 5ea 901217
Ti Sensor endcap - glider style | Fluke? Prunella? | P-221979 | Jon Erickson/ | 4 | 3 |  | 1 |  | 20250605: one used for test unit | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Ti Bulkhead endcap | Fluke? Prunella? | P-221481 | Jon Erickson/ | 8 | 7 |  | 1 |  | 20250605: one used for fit unit | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Underwater connector, 6-pin, straight | Subconn? | MCBH6MSS | Joe | [6 empty] | 5ea 901217
Underwater connector, 6-pin, right angle (for glider style) | Subconn? | MCBHRA6MSS | Joe | [6 empty] | 4ea 702107.98 3ea 708187.98 8ea 8001699.99
Spec Housing* | Fluke? Prunella? | A-202xxx | Jon Erickson/ | 1 |  |  | 1 |  | 20250605: one in test unit | 4ea 702107.98 3ea 708187.98 8ea 8001699.99 5ea 901217
*Sub-parts in MechanicalFiddlyBits tab

## MechanicalFiddlyBits
Item | Mfr | PN | Procurement point person | Total per build
#2-034 O-RING | BUNA - N-70 (McMaster-Carr) | #2-034-N-70 | ISUS-APEX_internals_V3.pdf JonE/JKW | 4
#2-56 x 7/16 Pan Hd Phill | McMaster-Carr | 91735A019 | ISUS-APEX_internals_V3.pdf JonE/JKW | 3
Closure Lug | MBARI (6061-T6 Alloy) | P-221493-20 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
#2-56 x 1/8 Pan Hd Phill | McMaster-Carr (AISI 316) | 91735A003 | ISUS-APEX_internals_V3.pdf JonE/JKW | 2
Zeiss Spec. Fiber Guide | MBARI | P-2321515-20 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
#4-40 x 1/4 Pan Hd Phil | McMaster-Carr (AISI 316) | 91735A102 | ISUS-APEX_internals_V3.pdf JonE/JKW | 2
FiberLight Mount racket_V2 | MBARI (ABS) | P-221570-23 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
M2.5-.45 x 6mm Pan Hd Phill | McMaster-Carr (AISI 316) | 90116A110 | ISUS-APEX_internals_V3.pdf JonE/JKW | 3
M2.5-.45x8mm_316 S.S. | McMaster-Carr (AISI 316) | 90116A112 | ISUS-APEX_internals_V3.pdf JonE/JKW | 5
M2.5-.45 x 19mm RThreaded Hex Standoff | McMaster-Carr (6061-T6 Alloy) | 95947A013 | ISUS-APEX_internals_V3.pdf JonE/JKW
M2.5 x 3mm x 4.5mm Dia. Unthreaded spacer

## CircularDigitalBoards
Board ID | Indtec # | Programmed / Checked | Location | Notes / History
A000001 |  | 20240603 | unknown | Hand built and doesn't work
A000002 |  | 20240603 | antistatic bin | Hand built and used in initial test unit, seems to work
A001001 |  | 20250407 | test unit | 20250508: paired with A001001 analog board and used in test unit, seems to work
A001002 |  |  | antistatic bin
A001003 |  |  | antistatic bin
A001004 |  |  | antistatic bin
A001005 |  |  | antistatic bin
A001006 |  |  | antistatic bin
A001007 |  |  | antistatic bin
A001008 |  |  | antistatic bin
A001009 |  |  | antistatic bin
A001010 |  |  | antistatic bin

## CircularAnalogBoards
Board ID | Indtec # | Potentiometers tuned | Location | Notes / History
A001001 |  | 20250508 | test unit | 20250508: paired with A001001 digital board and used in test unit, seems to work
A001002 |  |  | antistatic bin
A001003 |  |  | antistatic bin
A001004 |  |  | antistatic bin
A001005 |  |  | antistatic bin
A001006 |  |  | antistatic bin
A001007 |  |  | antistatic bin
A001008 |  |  | antistatic bin
A001009 |  |  | antistatic bin
A001010 | J76597 |  | antistatic bin | 20250508: removed from test unit where it was paired with A000002 digital board and spec reading had a weird blip (likely untuned)

## Baseboards
Board ID | Indtec # | Checked for basic fxnality | Location | Notes / History
B000001 |  |  |  | Hand built
B000002 |  |  |  | Hand built