## BigComponents
Item | Mfr | PN | Procurement point person | Total | New / unchecked | Programmed / checked out | Incorporated / In Use | Set aside / known Issues | Notes | Quote
Zeiss Mini-Spec | Zeiss | 2474-738 |  | 10 | 9 |  | 1 | 1 | 20250605: SN 139853 had blip when used in test unit, replaced by 139858. 5 new in bin, 4 new in box
Hereaus Mini-Lamp | Hereaus | DTM 6/58S (discont) | none | 16 | 14 |  | 2 |  | 20250605: PO only lists 15, not sure where extra is from. Many have some corrosion on PCB
Bifurcated Optical Fiber |  |  |  | 0
Ti Optical Probe |  |  |  | 2 | 1 |  | 1 |  | 20250605: one from 2022 and one from 2021 (in test unit), both unknown quality
Probe Adaptor for glider endcap |  |  |  | 5 | 4 |  | 1 |  | 20250605: one used for test unit
Circular Spec Board - Digital | Indtec | 100222191 | Irene | 11 | 9 | 1 | 1 | 1 | 20250605: A000002 was handbuilt (but is programmed); A001001 currently in test unit; A000001 (handbuilt) broken. 20250609: confirmed Indtec has 7 bare boards
Circular Spec Board - Analog | Indtec | 100221520 | Irene | 9 | 8 |  | 1 |  | 20250605: A001001 currently in test unit. A001010 was previously in there, may or may not have been set up. Many bare boards
Circular Spec Board - Power | Indtec | 100221519 | Irene | 11 | 10 |  | 1 |  | 20250606: many bare boards
Mini ISUS Baseboard | Indtec | 100222237 | Irene | 0
Tiva1290 Module | Indtec | 100222326 | Irene | 0 |  |  |  |  | Can borrow from MSC, but will need to order our own
Housing tube | Amalga Composites |  |  | 8 | 7 |  | 1 |  | 20250605: one used for fit unit
Sensor endcap - flush style |  |  |  | 4 | 3 |  | 1 |  | 20250605: one used for fit unit
Sensor endcap - glider style |  |  |  | 4 | 3 |  | 1 |  | 20250605: one used for test unit
Bulkhead endcap |  |  |  | 8 | 7 |  | 1 |  | 20250605: one used for fit unit
Spec Housing* |  |  |  | 1 |  |  | 1 |  | 20250605: one in test unit
*Sub-parts in MechanicalFiddlyBits tab

## MechanicalFiddlyBits
Item | Mfr | PN | Procurement point person | Total per build
#2-034 O-RING | BUNA - N-70 (McMaster-Carr) | #2-034-N-70 | ISUS-APEX_internals_V3.pdf JonE/JKW | 4
#2-56 x 7/16 Pan Hd Phill | McMaster-Carr | 91735A019 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
Closure Lug | MBARI (6061-T6 Alloy) | P-221493-20 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
#2-56 x 1/8 Pan Hd Phill | McMaster-Carr (AISI 316) | 91735A003 | ISUS-APEX_internals_V3.pdf JonE/JKW | 2
Zeiss Spec. Fiber Guide | MBARI | P-2321515-20 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
#4-40 x 1/4 Pan Hd Phil | McMaster-Carr (AISI 316) | 91735A102 | ISUS-APEX_internals_V3.pdf JonE/JKW | 2
FiberLight Mount racket_V2 | MBARI (ABS) | P-221570-23 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
M2.5-.45 x 6mm Pan Hd Phill | McMaster-Carr (AISI 316) | 90116A110 | ISUS-APEX_internals_V3.pdf JonE/JKW | 3
M2.5-.45x8mm_316 S.S. | McMaster-Carr (AISI 316) | 90116A112 | ISUS-APEX_internals_V3.pdf JonE/JKW | 5
M2.5-.45 x 19mm RThreaded Hex Standoff | McMaster-Carr (6061-T6 Alloy) | 95947A013 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
M2.5 x 3mm x 4.5mm Dia. Unthreaded spacer | McMaster-Carr (Nylon 6/10) | 93657A202 | ISUS-APEX_internals_V3.pdf JonE/JKW | 1
3D printed spec holder | MBARI (PLA) | P-221570_23_FL-Mnt_V3_JKW_STL | X:\ChemSensors\JonE\ISUS-APEX_2000m | 1
Item | Mfr | PN | Procurement point person | Total per build
Spectro Assembly: X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem |  | A-202xxx-24_SpectroAssem_V5
Housing | MBARI (6061-T6 Alloy) | P-202075-19_SpecHSG_V2.Rev.A | X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem | 1
Spec mount | MBARI (6061-T6 Alloy) | P-221487-23_SpecMnt_V3 | X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem | 1
Front Plate/housing cap | MBARI (6061-T6 Alloy) | P-221488-20_SpecHsgCap_V2.Rev.A | X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem | 1
Plastic Retainer Ring | MBARI (ABS) | P-202074-23_SpectRet.V2 | X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem | 1
Wire Harness Spool v1 | MBARI (ABS) | P-221496-23_Spool_V1 | X:\ChemSensors\JonE\ISUS-APEX_2000m\SpectroAssem | 1
M2-0.4 x 2.5mm Cup Pt. Set Screw | McMaster-Carr | 92015A207 | A-202xxx-24_SpectroAssem_V5 | 2
#4-40 x 1.375 18-8 S.S. Pan Head Phillips | McMaster-Carr (18-8 Stainless Steel) | 91772A122 | A-202xxx-24_SpectroAssem_V5 | 4
2-56x.187_100 Flt Hd Phill | McMaster-Carr (AISI 304) | 93085A015 | A-202xxx-24_SpectroAssem_V5 | 6
#2-56 x 1/8 M-F Standoff | McMaster-Carr (6061-T6 Alloy) | 93505A612 | A-202xxx-24_SpectroAssem_V5 | 3
#2-56 x 9/32 M-F Stand Off | McMaster-Carr (6061-T6 Alloy) | 93505A514 | A-202xxx-24_SpectroAssem_V5 | 9

## CircularDigitalBoards
Board ID | Indtec # | Programmed / Checked | Location | Notes / History
A000001 |  | 20240603 | unknown | Hand built and doesn't work
A000002 |  | 20240603 | antistatic bin | Hand built and used in initial test unit, seems to work
A001001 |  | 20250407 | test unit | 20250508: paired with A001001 analog board and used in test unit, seems to work
A001002 |  |  | antistatic bin
A001003 |  |  | antistatic bin
A001004 |  |  | antistatic bin
A001005 |  |  | antistatic bin
A001006 |  |  | antistatic bin
A001007 |  |  | antistatic bin
A001008 |  |  | antistatic bin
A001009 |  |  | antistatic bin
A001010 |  |  | antistatic bin

## CircularAnalogBoards
Board ID | Indtec # | Potentiometers tuned | Location | Notes / History
A001001 |  | 20250508 | test unit | 20250508: paired with A001001 digital board and used in test unit, seems to work
A001002 |  |  | antistatic bin
A001003 |  |  | antistatic bin
A001004 |  |  | antistatic bin
A001005 |  |  | antistatic bin
A001006 |  |  | antistatic bin
A001007 |  |  | antistatic bin
A001008 |  |  | antistatic bin
A001009 |  |  | antistatic bin
A001010 |  |  | antistatic bin | 20250508: removed from test unit where it was paired with A000002 digital board and spec reading had a weird blip (likely untuned)

## Baseboards
Board ID | Indtec # | Checked for basic fxnality | Location | Notes / History
B000001 |  |  |  | Hand built
B000002 |  |  |  | Hand built