SURpH Sensor Assemby Instruction

SURpH Version Number: 3.2

SURpH Serial Number: SURpH009

ISFET CCA Assembly: uncoated

- Insert Helicoils

  - Inspect 2X 0-80 and 1X 2-56 STI tapped holes, chase if necessary

  - Install all 3 helicoils (BOM x, y).  Ensure helicoil is ~0.005” below surface

  - Remove tangs if necessary

- Install Van London Pellet