Circuit Components:

RTC Plug

Is a clock

Can keep time when powered off due to internal battery

http://www.digitalsmarties.net/products/rtc-plug

Relay Plug

Normal relay switch.

Memory Plug

Ours has 2 memory blocks so 256 Kbyte of memory

3.3 V

UART Board

Allows to change voltage types.

Used to convert signal from the CO2 sensor so it is readable by the jeenode.

Carbon Dioxide Sensor

General Electric T6615 module

Infrared CO2 sensor

Readings are affected by humidity

Accuracy within 10% or 75 ppm

Air Pump

Thomas