## Platform Night 6-23
Platfrom sensor let run overnight 6-22 using the T6615 Flow thought with permiable cover
One nonsese ppm
One duplicate
Clock resets when turned off
time consistant with this trial.
[5 empty] | 310.2679 |  | 21.7791 |  | 53.4287
2000-01-01 | 0:20 | 0:20 | CO2 | ppm= | 337 | temperature= | 22.02 | humidity= | 51.34
2000-01-01 | 0:40 | 0:20 | CO2 | ppm= | 335 | temperature= | 21.94 | humidity= | 51.89
2000-01-01 | 1:00 | 0:20 | CO2 | ppm= | 350 | temperature= | 21.98 | humidity= | 51.92
2000-01-01 | 1:20 | 0:20 | CO2 | ppm= | 341 | temperature= | 21.96 | humidity= | 51.94
2000-01-01 | 1:40 | 0:20 | CO2 | ppm= | 438 | temperature= | 22.11 | humidity= | 51.92
2000-01-01 | 2:00 | 0:21 | CO2 | ppm= | 358 | temperature= | 22.2 | humidity= | 51.6
2000-01-01 | 2:21 | 0:20 | CO2 | ppm= | 42 | temperature= | 22.2 | humidity= | 51.57
2000-01-01 | 2:41 | 0:20 | CO2 | ppm= | 363 | temperature= | 22.19 | humidity= | 51.83
2000-01-01 | 3:01 | 0:20 | CO2 | ppm= | 352 | temperature= | 22.2 | humidity= | 51.92
2000-01-01 | 3:21 | 0:20 | CO2 | ppm= | 561 | temperature= | 22.19 | humidity= | 52.26
2000-01-01 | 3:41 | 0:20 | CO2 | ppm= | 352 | temperature= | 22.13 | humidity= | 52.41
2000-01-01 | 4:01 | 0:20 | CO2 | ppm= | 329 | temperature= | 22.19 | humidity= | 51.77
2000-01-01 | 4:20 | 0:20 | CO2 | ppm= | 312 | temperature= | 22.26 | humidity= | 53.89
2000-01-01 | 4:40 | 0:20 | CO2 | ppm= | 311 | temperature= | 22.48 | humidity= | 54.47
2000-01-01 | 5:00 | 0:20 | CO2 | ppm= | 311 | temperature= | 22.61 | humidity= | 53.63
2000-01-01 | 5:20 | 0:20 | CO2 | ppm= | 303 | temperature= | 22.42 | humidity= | 53.51
2000-01-01 | 5:40 | 0:20 | CO2 | ppm= | 305 | temperature= | 22.56 | humidity= | 52.64
2000-01-01 | 6:00 | 0:20 | CO2 | ppm= | 306 | temperature= | 22.11 | humidity= | 53.37
2000-01-01 | 6:20 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.61 | humidity= | 53.28
2000-01-01 | 6:40 | 0:20 | CO2 | ppm= | 298 | temperature= | 21.28 | humidity= | 53.69
2000-01-01 | 7:00 | 0:00 | CO2 | ppm= | 298 | temperature= | 20.93 | humidity= | 53.6
2000-01-01 | 7:00 | 0:20 | CO2 | ppm= | 298 | temperature= | 20.93 | humidity= | 53.6
2000-01-01 | 7:20 | 0:20 | CO2 | ppm= | 296 | temperature= | 20.8 | humidity= | 54.53
2000-01-01 | 7:40 | 0:20 | CO2 | ppm= | 301 | temperature= | 21.4 | humidity= | 55.11
2000-01-01 | 7:59 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.6 | humidity= | 54.73
2000-01-01 | 8:19 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.54 | humidity= | 54.53
2000-01-01 | 8:39 | 0:40 | CO2 | ppm= | 301 | temperature= | 21.65 | humidity= | 53.8
2000-01-01 | 9:19 | 0:20 | CO2 | ppm= | 302 | temperature= | 21.84 | humidity= | 53.02
2000-01-01 | 9:39 | 0:20 | CO2 | ppm= | 302 | temperature= | 21.89 | humidity= | 53.14
2000-01-01 | 9:59 | 0:20 | CO2 | ppm= | 300 | temperature= | 21.97 | humidity= | 52.73
2000-01-01 | 10:19 | 0:20 | CO2 | ppm= | 297 | temperature= | 21.94 | humidity= | 52.96
2000-01-01 | 10:39 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.98 | humidity= | 54.04
2000-01-01 | 10:59 | 0:20 | CO2 | ppm= | 299 | temperature= | 22.02 | humidity= | 54.7
2000-01-01 | 11:19 | 0:20 | CO2 | ppm= | 301 | temperature= | 22.05 | humidity= | 54.12
2000-01-01 | 11:39 | 0:20 | CO2 | ppm= | 301 | temperature= | 22.06 | humidity= | 53.34
2000-01-01 | 11:58 | 0:20 | CO2 | ppm= | 301 | temperature= | 22.04 | humidity= | 52.93
2000-01-01 | 12:18 | 0:20 | CO2 | ppm= | 296 | temperature= | 22.02 | humidity= | 52.55
2000-01-01 | 12:38 | 0:20 | CO2 | ppm= | 296 | temperature= | 21.83 | humidity= | 53.25
2000-01-01 | 12:58 | 0:20 | CO2 | ppm= | 296 | temperature= | 21.42 | humidity= | 54.5
2000-01-01 | 13:18 | 0:20 | CO2 | ppm= | 293 | temperature= | 21.25 | humidity= | 55.2
2000-01-01 | 13:38 | 0:00 | CO2 | ppm= | 297 | temperature= | 21.14 | humidity= | 56.12
2000-01-01 | 13:38 | 0:20 | CO2 | ppm= | 297 | temperature= | 21.14 | humidity= | 56.12
2000-01-01 | 13:58 | 0:20 | CO2 | ppm= | 296 | temperature= | 21.02 | humidity= | 56.04
2000-01-01 | 14:18 | 0:20 | CO2 | ppm= | 297 | temperature= | 20.87 | humidity= | 56.33
2000-01-01 | 14:38 | 0:20 | CO2 | ppm= | 301 | temperature= | 21.13 | humidity= | 55.34
2000-01-01 | 14:58 | 0:20 | CO2 | ppm= | 297 | temperature= | 21.25 | humidity= | 54.15
2000-01-01 | 15:18 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.37 | humidity= | 53.78
2000-01-01 | 15:37 | 0:20 | CO2 | ppm= | 295 | temperature= | 21.61 | humidity= | 53.22
2000-01-01 | 15:57 | 0:20 | CO2 | ppm= | 302 | temperature= | 21.59 | humidity= | 53.11
2000-01-01 | 16:17 | 0:20 | CO2 | ppm= | 299 | temperature= | 21.62 | humidity= | 53.11
2000-01-01 | 16:37 | 0:20 | CO2 | ppm= | 300 | temperature= | 21.72 | humidity= | 53.08
2000-01-01 | 16:57 | 0:20 | CO2 | ppm= | 304 | temperature= | 21.82 | humidity= | 53.02
2000-01-01 | 17:17 | 0:20 | CO2 | ppm= | 302 | temperature= | 21.85 | humidity= | 53.17
2000-01-01 | 17:37 | 0:20 | CO2 | ppm= | 304 | temperature= | 21.88 | humidity= | 52.96
2000-01-01 | 17:57 | 0:20 | CO2 | ppm= | 300 | temperature= | 21.95 | humidity= | 52.7
2000-01-01 | 18:17 |  | CO2 | ppm= | 307 | temperature= | 21.87 | humidity= | 52.53

## Platfom night 6-22
Platfrom sensor let run overnight 6-22 using the T6615 Flow thought with permiable cover
No nonsence ppm readings
One duplicate
Time appears to reset when unpluged. Also interval is not consistant.
[5 empty] | 306 |  | 22.2452 |  | 52.1548 | Average
2000-01-01 | 0:28 | 0:30 | CO2 | ppm= | 325 | temperature= | 22.45 | humidity= | 50.36
2000-01-01 | 0:58 | 0:29 | CO2 | ppm= | 320 | temperature= | 22.45 | humidity= | 50.39
2000-01-01 | 1:27 | 0:24 | CO2 | ppm= | 316 | temperature= | 22.49 | humidity= | 52.73
2000-01-01 | 1:51 | 0:49 | CO2 | ppm= | 310 | temperature= | 22.49 | humidity= | 53.31
2000-01-01 | 2:39 | 0:25 | CO2 | ppm= | 305 | temperature= | 22.51 | humidity= | 52.76
2000-01-01 | 3:04 | 0:29 | CO2 | ppm= | 303 | temperature= | 22.57 | humidity= | 51.88
2000-01-01 | 3:33 | 0:47 | CO2 | ppm= | 304 | temperature= | 22.59 | humidity= | 51.44
2000-01-01 | 4:21 | 0:27 | CO2 | ppm= | 307 | temperature= | 22.54 | humidity= | 51.41
2000-01-01 | 4:47 | 0:00 | CO2 | ppm= | 301 | temperature= | 22.53 | humidity= | 51.25
2000-01-01 | 4:47 | 1:05 | CO2 | ppm= | 301 | temperature= | 22.53 | humidity= | 51.25
2000-01-01 | 5:53 | 0:27 | CO2 | ppm= | 309 | temperature= | 22.36 | humidity= | 51.73
2000-01-01 | 6:19 | 0:22 | CO2 | ppm= | 306 | temperature= | 22.43 | humidity= | 51.86
2000-01-01 | 6:42 | 0:27 | CO2 | ppm= | 306 | temperature= | 22.39 | humidity= | 51.97
2000-01-01 | 7:08 | 0:37 | CO2 | ppm= | 311 | temperature= | 22.32 | humidity= | 51.94
2000-01-01 | 7:45 | 0:28 | CO2 | ppm= | 307 | temperature= | 22.35 | humidity= | 52.18
2000-01-01 | 8:13 | 0:40 | CO2 | ppm= | 304 | temperature= | 22.36 | humidity= | 52.15
2000-01-01 | 8:54 | 0:49 | CO2 | ppm= | 304 | temperature= | 22.34 | humidity= | 52.44
2000-01-01 | 9:42 | 1:01 | CO2 | ppm= | 298 | temperature= | 21.11 | humidity= | 54.67
2000-01-01 | 10:43 | 0:34 | CO2 | ppm= | 298 | temperature= | 21.11 | humidity= | 54.56
2000-01-01 | 11:17 | 1:12 | CO2 | ppm= | 298 | temperature= | 21.68 | humidity= | 52.93
2000-01-01 | 12:29 | 0:29 | CO2 | ppm= | 299 | temperature= | 22.1 | humidity= | 51.92
2000-01-01 | 12:58 | 0:40 | CO2 | ppm= | 303 | temperature= | 22.05 | humidity= | 52.03
2000-01-01 | 13:38 | 0:30 | CO2 | ppm= | 303 | temperature= | 22.09 | humidity= | 52.35
2000-01-01 | 14:08 | 0:25 | CO2 | ppm= | 308 | temperature= | 22.13 | humidity= | 52.15
2000-01-01 | 14:33 |  | CO2 | ppm= | 304 | temperature= | 22.16 | humidity= | 52.21
memory erased after trial.

## Platform Weekend
Platfrom over the weekend between 6-19 until 6-22, using T6613 permiable
Nonsence ppm readings |  |  |  |  | 307.6409 |  | 21.8715 |  | 52.5221 | Average
Some duplicates |  |  |  |  | 328.9078 |  | 21.8019 |  | 52.799 | Average Excluding nonsense ppm
consistant time intervals of 20 minutes |  |  |  |  | 22.0883 |  | -0.069604 |  | 0.27684 | Difference From Total Average
[5 empty] | 329.7292 |  | 21.7955 |  | 52.7983 | Average Excluding nonsense ppm+duplicates
[5 empty] | 22.0883 |  | -0.076025 |  | 0.27614 | Difference From Total Average
[5 empty] | 220 | total Points
[5 empty] | 23 | Points Excluded due to ppm
[5 empty] | 6 | Points Excluded due to duplicate
2000-01-01 | 0:49 |  | t/ point | CO2 ppm= | 42 | temperature= | 22.64 | humidity= | 48.6
2000-01-01 | 0:20 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.53 | humidity= | 49.73
2000-01-01 | 0:40 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.63 | humidity= | 51.82
2000-01-01 | 1:00 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.63 | humidity= | 51.27
2000-01-01 | 1:20 | 0:20 | t/ point | CO2 ppm= | 387 | temperature= | 22.56 | humidity= | 50.19
2000-01-01 | 1:40 | 0:20 | t/ point | CO2 ppm= | 256 | temperature= | 22.54 | humidity= | 50.36
2000-01-01 | 2:00 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.67 | humidity= | 49.96
2000-01-01 | 2:20 | 0:20 | t/ point | CO2 ppm= | 354 | temperature= | 22.87 | humidity= | 49.29
2000-01-01 | 2:40 | 0:20 | t/ point | CO2 ppm= | 363 | temperature= | 22.72 | humidity= | 49.56
2000-01-01 | 3:00 | 0:20 | t/ point | CO2 ppm= | 160 | temperature= | 22.89 | humidity= | 49.58
2000-01-01 | 3:20 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 23.66 | humidity= | 47.49
2000-01-01 | 3:40 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 23.37 | humidity= | 47.74
2000-01-01 | 4:00 | 0:20 | t/ point | CO2 ppm= | 353 | temperature= | 22.94 | humidity= | 48.76
2000-01-01 | 4:20 | 0:20 | t/ point | CO2 ppm= | 43 | temperature= | 22.77 | humidity= | 49.22
2000-01-01 | 4:40 | 0:20 | t/ point | CO2 ppm= | 8 | temperature= | 22.63 | humidity= | 49.59
2000-01-01 | 5:00 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.86 | humidity= | 49.16
2000-01-01 | 5:20 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.85 | humidity= | 49.42
2000-01-01 | 5:40 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.83 | humidity= | 49.42
2000-01-01 | 6:00 | 0:20 | t/ point | CO2 ppm= | 430 | temperature= | 22.57 | humidity= | 49.9
2000-01-01 | 6:20 | 0:20 | t/ point | CO2 ppm= | 343 | temperature= | 22.34 | humidity= | 50.34
2000-01-01 | 6:40 | 0:00 | t/ point | CO2 ppm= | 344 | temperature= | 22.42 | humidity= | 50.1
2000-01-01 | 6:40 | 0:20 | t/ point | CO2 ppm= | 344 | temperature= | 22.42 | humidity= | 50.1
2000-01-01 | 7:00 | 0:20 | t/ point | CO2 ppm= | 340 | temperature= | 22.32 | humidity= | 50.49
2000-01-01 | 7:20 | 0:20 | t/ point | CO2 ppm= | 160 | temperature= | 22.23 | humidity= | 50.93
2000-01-01 | 7:41 | 0:20 | t/ point | CO2 ppm= | 337 | temperature= | 22.41 | humidity= | 53.25
2000-01-01 | 8:00 | 0:20 | t/ point | CO2 ppm= | 8 | temperature= | 22.41 | humidity= | 55.08
2000-01-01 | 8:21 | 0:20 | t/ point | CO2 ppm= | 335 | temperature= | 22.29 | humidity= | 55.02
2000-01-01 | 8:41 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 22.08 | humidity= | 54.88
2000-01-01 | 9:01 | 0:20 | t/ point | CO2 ppm= | 333 | temperature= | 21.89 | humidity= | 54.62
2000-01-01 | 9:21 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.7 | humidity= | 54.82
2000-01-01 | 9:40 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.64 | humidity= | 54.94
2000-01-01 | 10:00 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.55 | humidity= | 54.7
2000-01-01 | 10:20 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.72 | humidity= | 53.83
2000-01-01 | 10:40 | 0:20 | t/ point | CO2 ppm= | 333 | temperature= | 21.7 | humidity= | 53.6
2000-01-01 | 11:00 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.58 | humidity= | 53.75
2000-01-01 | 11:20 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.58 | humidity= | 53.83
2000-01-01 | 11:40 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.49 | humidity= | 53.98
2000-01-01 | 12:00 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.55 | humidity= | 53.78
2000-01-01 | 12:20 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.53 | humidity= | 53.6
2000-01-01 | 12:40 | 0:20 | t/ point | CO2 ppm= | 334 | temperature= | 21.76 | humidity= | 53.05
2000-01-01 | 13:00 | 0:20 | t/ point | CO2 ppm= | 335 | temperature= | 21.87 | humidity= | 52.64
2000-01-01 | 13:19 | 0:00 | t/ point | CO2 ppm= | 336 | temperature= | 21.89 | humidity= | 52.53
2000-01-01 | 13:19 | 0:20 | t/ point | CO2 ppm= | 336 | temperature= | 21.89 | humidity= | 52.53
2000-01-01 | 13:39 | 0:40 | t/ point | CO2 ppm= | 338 | temperature= | 21.84 | humidity= | 52.41
2000-01-01 | 14:19 | 0:20 | t/ point | CO2 ppm= | 337 | temperature= | 22.03 | humidity= | 51.86
2000-01-01 | 14:39 | 0:20 | t/ point | CO2 ppm= | 43 | temperature= | 22.05 | humidity= | 51.65
2000-01-01 | 14:59 | 0:20 | t/ point | CO2 ppm= | 339 | temperature= | 22.01 | humidity= | 51.6
2000-01-01 | 15:19 | 0:20 | t/ point | CO2 ppm= | 339 | temperature= | 21.98 | humidity= | 51.63
2000-01-01 | 15:39 | 0:20 | t/ point | CO2 ppm= | 339 | temperature= | 22.04 | humidity= | 51.31
2000-01-01 | 15:59 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 22.09 | humidity= | 50.69
2000-01-01 | 16:19 | 0:20 | t/ point | CO2 ppm= | 345 | temperature= | 22.06 | humidity= | 50.7
2000-01-01 | 16:39 | 0:20 | t/ point | CO2 ppm= | 348 | temperature= | 22.03 | humidity= | 50.96
2000-01-01 | 16:59 | 0:20 | t/ point | CO2 ppm= | 352 | temperature= | 22.08 | humidity= | 50.49
2000-01-01 | 17:18 | 0:20 | t/ point | CO2 ppm= | 43 | temperature= | 21.99 | humidity= | 50.93
2000-01-01 | 17:38 | 0:20 | t/ point | CO2 ppm= | 355 | temperature= | 22.04 | humidity= | 50.05
2000-01-01 | 17:58 | 0:20 | t/ point | CO2 ppm= | 361 | temperature= | 22.03 | humidity= | 49.35
2000-01-01 | 18:18 | 0:20 | t/ point | CO2 ppm= | 354 | temperature= | 22.03 | humidity= | 49.19
2000-01-01 | 18:38 | 0:20 | t/ point | CO2 ppm= | 355 | temperature= | 22.05 | humidity= | 49.03
2000-01-01 | 18:58 | 0:20 | t/ point | CO2 ppm= | 352 | temperature= | 22.02 | humidity= | 48.59
2000-01-01 | 19:18 | 0:20 | t/ point | CO2 ppm= | 354 | temperature= | 21.98 | humidity= | 48.86
2000-01-01 | 19:38 | 0:20 | t/ point | CO2 ppm= | 354 | temperature= | 21.99 | humidity= | 48.8
2000-01-01 | 19:58 | 0:00 | t/ point | CO2 ppm= | 768 | temperature= | 21.98 | humidity= | 48.3
2000-01-01 | 19:58 | 0:20 | t/ point | CO2 ppm= | 768 | temperature= | 21.98 | humidity= | 48.3
2000-01-01 | 20:18 | 0:20 | t/ point | CO2 ppm= | 364 | temperature= | 21.97 | humidity= | 47.67
2000-01-01 | 20:38 | 0:20 | t/ point | CO2 ppm= | 366 | temperature= | 21.91 | humidity= | 47.54
2000-01-01 | 20:58 | 0:20 | t/ point | CO2 ppm= | 367 | temperature= | 21.86 | humidity= | 48.14
2000-01-01 | 21:18 | 0:20 | t/ point | CO2 ppm= | 370 | temperature= | 21.83 | humidity= | 49.06
2000-01-01 | 21:38 | 0:20 | t/ point | CO2 ppm= | 355 | temperature= | 21.75 | humidity= | 50.55
2000-01-01 | 21:58 | 0:20 | t/ point | CO2 ppm= | 339 | temperature= | 21.72 | humidity= | 50.93
2000-01-01 | 22:18 | 0:20 | t/ point | CO2 ppm= | 339 | temperature= | 21.72 | humidity= | 51.25
2000-01-01 | 22:38 | 0:20 | t/ point | CO2 ppm= | 336 | temperature= | 21.69 | humidity= | 51.37
2000-01-01 | 22:58 | 0:20 | t/ point | CO2 ppm= | 336 | temperature= | 21.72 | humidity= | 51.57
2000-01-01 | 23:18 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.75 | humidity= | 51.92
2000-01-01 | 23:38 | 0:20 | t/ point | CO2 ppm= | 333 | temperature= | 21.79 | humidity= | 52.24
2000-01-01 | 23:58 | -0.98617 | t/ point | CO2 ppm= | 331 | temperature= | 21.76 | humidity= | 51.31
2000-01-02 | 0:17 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.83 | humidity= | 50.76
2000-01-02 | 0:37 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.75 | humidity= | 50.99
2000-01-02 | 0:57 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.72 | humidity= | 50.9
2000-01-02 | 1:17 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.69 | humidity= | 52.41
2000-01-02 | 1:37 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.71 | humidity= | 53.28
2000-01-02 | 1:57 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.68 | humidity= | 51.86
2000-01-02 | 2:17 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.79 | humidity= | 51.22
2000-01-02 | 2:37 | 0:00 | t/ point | CO2 ppm= | 328 | temperature= | 21.67 | humidity= | 51.77
2000-01-02 | 2:37 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.67 | humidity= | 51.77
2000-01-02 | 2:57 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.65 | humidity= | 52.15
2000-01-02 | 3:17 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.67 | humidity= | 51.86
2000-01-02 | 3:37 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.65 | humidity= | 52.06
2000-01-02 | 3:57 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.65 | humidity= | 52.12
2000-01-02 | 4:16 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.62 | humidity= | 52.18
2000-01-02 | 4:36 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.66 | humidity= | 52.15
2000-01-02 | 4:56 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.62 | humidity= | 52.35
2000-01-02 | 5:16 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.65 | humidity= | 52.38
2000-01-02 | 5:36 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.8 | humidity= | 51.86
2000-01-02 | 5:56 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.66 | humidity= | 52.24
2000-01-02 | 6:16 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.62 | humidity= | 52.76
2000-01-02 | 6:36 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.64 | humidity= | 52.93
2000-01-02 | 6:56 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.61 | humidity= | 52.93
2000-01-02 | 7:16 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.68 | humidity= | 54.62
2000-01-02 | 7:36 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.74 | humidity= | 56.59
2000-01-02 | 7:56 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.28 | humidity= | 58.13
2000-01-02 | 8:15 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.14 | humidity= | 58.38
2000-01-02 | 8:35 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.12 | humidity= | 58.12
2000-01-02 | 8:55 | 0:20 | t/ point | CO2 ppm= | 319 | temperature= | 21.12 | humidity= | 57.8
2000-01-02 | 9:15 | 0:20 | t/ point | CO2 ppm= | 320 | temperature= | 21.01 | humidity= | 58.01
2000-01-02 | 9:35 | 0:20 | t/ point | CO2 ppm= | 319 | temperature= | 20.94 | humidity= | 58.3
2000-01-02 | 9:55 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.25 | humidity= | 57.63
2000-01-02 | 10:15 | 0:20 | t/ point | CO2 ppm= | 320 | temperature= | 21.47 | humidity= | 56.99
2000-01-02 | 10:35 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.61 | humidity= | 56.44
2000-01-02 | 10:55 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.68 | humidity= | 56.18
2000-01-02 | 11:15 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.71 | humidity= | 55.95
2000-01-02 | 11:35 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.84 | humidity= | 55.37
2000-01-02 | 11:54 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.85 | humidity= | 55.2
2000-01-02 | 12:14 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.98 | humidity= | 55.02
2000-01-02 | 12:34 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.98 | humidity= | 54.91
2000-01-02 | 12:54 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.98 | humidity= | 54.73
2000-01-02 | 13:14 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.98 | humidity= | 54.59
2000-01-02 | 13:34 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.98 | humidity= | 54.41
2000-01-02 | 13:54 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.98 | humidity= | 53.77
2000-01-02 | 14:14 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.97 | humidity= | 53.57
2000-01-02 | 14:34 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.94 | humidity= | 53.6
2000-01-02 | 14:54 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.96 | humidity= | 53.98
2000-01-02 | 15:14 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.91 | humidity= | 54.41
2000-01-02 | 15:34 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.96 | humidity= | 54.24
2000-01-02 | 15:53 | 0:00 | t/ point | CO2 ppm= | 325 | temperature= | 22 | humidity= | 54.27
2000-01-02 | 15:53 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 22 | humidity= | 54.27
2000-01-02 | 16:13 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.97 | humidity= | 53.95
2000-01-02 | 16:33 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.96 | humidity= | 54.09
2000-01-02 | 16:54 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 22.01 | humidity= | 53.25
2000-01-02 | 17:14 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.95 | humidity= | 53.08
2000-01-02 | 17:33 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.98 | humidity= | 52.96
2000-01-02 | 17:53 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.99 | humidity= | 52.73
2000-01-02 | 18:13 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.94 | humidity= | 53.05
2000-01-02 | 18:33 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.98 | humidity= | 53.14
2000-01-02 | 18:53 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.9 | humidity= | 53.34
2000-01-02 | 19:13 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.98 | humidity= | 53.08
2000-01-02 | 19:33 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.98 | humidity= | 53.02
2000-01-02 | 19:53 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.97 | humidity= | 52.64
2000-01-02 | 20:13 | 0:20 | t/ point | CO2 ppm= | 262 | temperature= | 21.98 | humidity= | 52.61
2000-01-02 | 20:33 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.97 | humidity= | 52.84
2000-01-02 | 20:53 | 0:20 | t/ point | CO2 ppm= | 160 | temperature= | 21.93 | humidity= | 52.96
2000-01-02 | 21:13 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.88 | humidity= | 52.99
2000-01-02 | 21:33 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.95 | humidity= | 52.79
2000-01-02 | 21:53 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.85 | humidity= | 52.96
2000-01-02 | 22:13 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.88 | humidity= | 52.93
2000-01-02 | 22:33 | 0:00 | t/ point | CO2 ppm= | 329 | temperature= | 21.81 | humidity= | 53.08
2000-01-02 | 22:33 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.81 | humidity= | 53.08
2000-01-02 | 22:52 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.87 | humidity= | 53.17
2000-01-02 | 23:12 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.81 | humidity= | 53.46
2000-01-02 | 23:32 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.83 | humidity= | 53.51
2000-01-02 | 23:52 |  | t/ point | CO2 ppm= | 328 | temperature= | 21.9 | humidity= | 52.09
2000-01-03 | 0:12 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.87 | humidity= | 51.66
2000-01-03 | 0:32 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 21.77 | humidity= | 51.45
2000-01-03 | 0:52 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.76 | humidity= | 52.53
2000-01-03 | 1:12 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.74 | humidity= | 54.1
2000-01-03 | 1:32 | 0:20 | t/ point | CO2 ppm= | 42 | temperature= | 21.94 | humidity= | 52.41
2000-01-03 | 1:52 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.8 | humidity= | 52.18
2000-01-03 | 2:12 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.81 | humidity= | 51.83
2000-01-03 | 2:32 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.69 | humidity= | 52
2000-01-03 | 2:52 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.66 | humidity= | 51.98
2000-01-03 | 3:11 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.6 | humidity= | 51.92
2000-01-03 | 3:31 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.53 | humidity= | 52.01
2000-01-03 | 3:51 | 0:20 | t/ point | CO2 ppm= | 323 | temperature= | 21.51 | humidity= | 52.01
2000-01-03 | 4:11 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.51 | humidity= | 52.12
2000-01-03 | 4:31 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.51 | humidity= | 52.04
2000-01-03 | 4:51 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.53 | humidity= | 52.12
2000-01-03 | 5:11 | 0:00 | t/ point | CO2 ppm= | 321 | temperature= | 21.51 | humidity= | 52.09
2000-01-03 | 5:11 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.51 | humidity= | 52.09
2000-01-03 | 5:31 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.52 | humidity= | 52.12
2000-01-03 | 5:51 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.53 | humidity= | 52.27
2000-01-03 | 6:11 | 0:20 | t/ point | CO2 ppm= | 320 | temperature= | 21.57 | humidity= | 52.09
2000-01-03 | 6:31 | 0:20 | t/ point | CO2 ppm= | 320 | temperature= | 21.5 | humidity= | 52.27
2000-01-03 | 6:50 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.53 | humidity= | 52.27
2000-01-03 | 7:10 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.6 | humidity= | 52.73
2000-01-03 | 7:30 | 0:20 | t/ point | CO2 ppm= | 319 | temperature= | 21.8 | humidity= | 54.47
2000-01-03 | 7:50 | 0:20 | t/ point | CO2 ppm= | 320 | temperature= | 21.28 | humidity= | 56.01
2000-01-03 | 8:10 | 0:20 | t/ point | CO2 ppm= | 319 | temperature= | 21.1 | humidity= | 56.38
2000-01-03 | 8:30 | 0:20 | t/ point | CO2 ppm= | 317 | temperature= | 21.11 | humidity= | 55.95
2000-01-03 | 8:50 | 0:20 | t/ point | CO2 ppm= | 315 | temperature= | 21.08 | humidity= | 55.98
2000-01-03 | 9:10 | 0:20 | t/ point | CO2 ppm= | 318 | temperature= | 21.14 | humidity= | 55.51
2000-01-03 | 9:30 | 0:20 | t/ point | CO2 ppm= | 318 | temperature= | 21.08 | humidity= | 55.51
2000-01-03 | 9:50 | 0:20 | t/ point | CO2 ppm= | 316 | temperature= | 21.38 | humidity= | 54.67
2000-01-03 | 10:10 | 0:20 | t/ point | CO2 ppm= | 319 | temperature= | 21.53 | humidity= | 54.04
2000-01-03 | 10:29 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.61 | humidity= | 53.78
2000-01-03 | 10:49 | 0:20 | t/ point | CO2 ppm= | 321 | temperature= | 21.65 | humidity= | 53.48
2000-01-03 | 11:09 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.67 | humidity= | 53.22
2000-01-03 | 11:29 | 0:20 | t/ point | CO2 ppm= | 324 | temperature= | 21.83 | humidity= | 52.93
2000-01-03 | 11:49 | 0:00 | t/ point | CO2 ppm= | 326 | temperature= | 21.74 | humidity= | 53.11
2000-01-03 | 11:49 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.74 | humidity= | 53.11
2000-01-03 | 12:09 | 0:20 | t/ point | CO2 ppm= | 322 | temperature= | 21.79 | humidity= | 52.85
2000-01-03 | 12:29 | 0:20 | t/ point | CO2 ppm= | 325 | temperature= | 21.69 | humidity= | 52.99
2000-01-03 | 12:49 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.74 | humidity= | 52.85
2000-01-03 | 13:09 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.83 | humidity= | 52.53
2000-01-03 | 13:29 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.75 | humidity= | 52.53
2000-01-03 | 13:49 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.76 | humidity= | 52.44
2000-01-03 | 14:09 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.75 | humidity= | 52.53
2000-01-03 | 14:28 | 0:20 | t/ point | CO2 ppm= | 326 | temperature= | 21.8 | humidity= | 52.03
2000-01-03 | 14:48 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.77 | humidity= | 51.92
2000-01-03 | 15:08 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.83 | humidity= | 51.66
2000-01-03 | 15:28 | 0:20 | t/ point | CO2 ppm= | 327 | temperature= | 21.83 | humidity= | 51.45
2000-01-03 | 15:48 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.86 | humidity= | 51.34
2000-01-03 | 16:08 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.84 | humidity= | 51.66
2000-01-03 | 16:28 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.91 | humidity= | 51.57
2000-01-03 | 16:48 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.82 | humidity= | 52.24
2000-01-03 | 17:08 | 0:20 | t/ point | CO2 ppm= | 334 | temperature= | 21.82 | humidity= | 52.7
2000-01-03 | 17:28 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.8 | humidity= | 52.82
2000-01-03 | 17:48 | 0:20 | t/ point | CO2 ppm= | 329 | temperature= | 21.81 | humidity= | 53.08
2000-01-03 | 18:08 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.88 | humidity= | 52.96
2000-01-03 | 18:28 | 0:00 | t/ point | CO2 ppm= | 331 | temperature= | 21.81 | humidity= | 53.08
2000-01-03 | 18:28 | 0:20 | t/ point | CO2 ppm= | 331 | temperature= | 21.81 | humidity= | 53.08
2000-01-03 | 18:47 | 0:20 | t/ point | CO2 ppm= | 328 | temperature= | 21.82 | humidity= | 53.02
2000-01-03 | 19:07 | 0:20 | t/ point | CO2 ppm= | 334 | temperature= | 21.8 | humidity= | 53.22
2000-01-03 | 19:27 | 0:20 | t/ point | CO2 ppm= | 336 | temperature= | 21.91 | humidity= | 52.79
2000-01-03 | 19:47 | 0:20 | t/ point | CO2 ppm= | 335 | temperature= | 21.86 | humidity= | 53.05
2000-01-03 | 20:07 | 0:20 | t/ point | CO2 ppm= | 334 | temperature= | 21.96 | humidity= | 52.87
2000-01-03 | 20:27 | 0:20 | t/ point | CO2 ppm= | 334 | temperature= | 21.89 | humidity= | 52.88
2000-01-03 | 20:47 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.83 | humidity= | 52.85
2000-01-03 | 21:07 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.9 | humidity= | 52.52
2000-01-03 | 21:27 | 0:20 | t/ point | CO2 ppm= | 332 | temperature= | 21.88 | humidity= | 52.56
2000-01-03 | 21:47 | 0:20 | t/ point | CO2 ppm= | 330 | temperature= | 21.91 | humidity= | 52.47
2000-01-03 | 22:07 |  | t/ point | CO2 ppm= | 262 | temperature= | 22.5 | humidity= | 50.98
0:14

## Platform 6-18
Trial of platform sensor, radio comunication
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54 |  | Up loaded 10 am ish
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54 |  | up loaded 12:44
2000-01-01 | 0:40 | CO2 | ppm= | 42 | temperature= | 23.09 | humidity= | 48.22
2000-01-01 | 1:00 | CO2 | ppm= | 399 | temperature= | 23.28 | humidity= | 47.35 |  | Why CO2 reading 42 ppm?
2000-01-01 | 1:20 | CO2 | ppm= | 42 | temperature= | 23.24 | humidity= | 47.71
2000-01-01 | 1:40 | CO2 | ppm= | 42 | temperature= | 23.08 | humidity= | 49.64 |  | Takes mesurement ever 20 minutes
2000-01-01 | 2:00 | CO2 | ppm= | 386 | temperature= | 22.99 | humidity= | 49.84
|  |  |  | 158.8333 |  | 23.1617 |  | 48.7167 | avg | runs at .05 A normal .15 when pump runs
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54
2000-01-01 | 0:40 | CO2 | ppm= | 42 | temperature= | 23.09 | humidity= | 48.22
2000-01-01 | 1:00 | CO2 | ppm= | 399 | temperature= | 23.28 | humidity= | 47.35
2000-01-01 | 1:20 | CO2 | ppm= | 42 | temperature= | 23.24 | humidity= | 47.71
2000-01-01 | 1:40 | CO2 | ppm= | 42 | temperature= | 23.08 | humidity= | 49.64
2000-01-01 | 2:00 | CO2 | ppm= | 386 | temperature= | 22.99 | humidity= | 49.84
2000-01-01 | 2:58 | CO2 | ppm= | 0 | temperature= | 22.79 | humidity= | 48.56
|  |  |  | 136.1429 |  | 23.1086 |  | 48.6943
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54 |  | 14:43
2000-01-01 | 0:40 | CO2 | ppm= | 42 | temperature= | 23.09 | humidity= | 48.22
2000-01-01 | 1:00 | CO2 | ppm= | 399 | temperature= | 23.28 | humidity= | 47.35
2000-01-01 | 1:20 | CO2 | ppm= | 42 | temperature= | 23.24 | humidity= | 47.71
2000-01-01 | 1:40 | CO2 | ppm= | 42 | temperature= | 23.08 | humidity= | 49.64
2000-01-01 | 2:00 | CO2 | ppm= | 386 | temperature= | 22.99 | humidity= | 49.84
2000-01-01 | 2:58 | CO2 | ppm= | 0 | temperature= | 22.79 | humidity= | 48.56
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54
2000-01-01 | 0:40 | CO2 | ppm= | 42 | temperature= | 23.09 | humidity= | 48.22
2000-01-01 | 1:00 | CO2 | ppm= | 399 | temperature= | 23.28 | humidity= | 47.35
2000-01-01 | 1:20 | CO2 | ppm= | 42 | temperature= | 23.24 | humidity= | 47.71
2000-01-01 | 1:40 | CO2 | ppm= | 42 | temperature= | 23.08 | humidity= | 49.64
2000-01-01 | 2:00 | CO2 | ppm= | 386 | temperature= | 22.99 | humidity= | 49.84
2000-01-01 | 2:58 | CO2 | ppm= | 0 | temperature= | 22.79 | humidity= | 48.56
2000-01-01 | 4:26 | CO2 | ppm= | 400 | temperature= | 22.68 | humidity= | 48.87
2000-01-01 | 4:44 | CO2 | ppm= | 42 | temperature= | 22.87 | humidity= | 50.6
2000-01-01 | 0:20 | CO2 | ppm= | 42 | temperature= | 23.29 | humidity= | 49.54 |  | 8:30 | then memory erased
2000-01-01 | 0:40 | CO2 | ppm= | 42 | temperature= | 23.09 | humidity= | 48.22 |  |  | Erase worked
2000-01-01 | 1:00 | CO2 | ppm= | 399 | temperature= | 23.28 | humidity= | 47.35
2000-01-01 | 1:20 | CO2 | ppm= | 42 | temperature= | 23.24 | humidity= | 47.71
2000-01-01 | 1:40 | CO2 | ppm= | 42 | temperature= | 23.08 | humidity= | 49.64
2000-01-01 | 2:00 | CO2 | ppm= | 386 | temperature= | 22.99 | humidity= | 49.84
2000-01-01 | 2:58 | CO2 | ppm= | 0 | temperature= | 22.79 | humidity= | 48.56
2000-01-01 | 4:26 | CO2 | ppm= | 400 | temperature= | 22.68 | humidity= | 48.87
2000-01-01 | 4:44 | CO2 | ppm= | 42 | temperature= | 22.87 | humidity= | 50.6
2000-01-01 | 6:45 | CO2 | ppm= | 42 | temperature= | 22.49 | humidity= | 50.66
2000-01-01 | 7:05 | CO2 | ppm= | 352 | temperature= | 22.27 | humidity= | 52.23
2000-01-01 | 7:25 | CO2 | ppm= | 8 | temperature= | 22.42 | humidity= | 54.44
2000-01-01 | 7:45 | CO2 | ppm= | 42 | temperature= | 22.51 | humidity= | 54.24
2000-01-01 | 8:05 | CO2 | ppm= | 8 | temperature= | 22.43 | humidity= | 53.4
2000-01-01 | 8:25 | CO2 | ppm= | 334 | temperature= | 21.65 | humidity= | 53.22
2000-01-01 | 8:45 | CO2 | ppm= | 336 | temperature= | 21.25 | humidity= | 53.63
2000-01-01 | 9:05 | CO2 | ppm= | 333 | temperature= | 21.01 | humidity= | 54.24
2000-01-01 | 9:25 | CO2 | ppm= | 330 | temperature= | 20.85 | humidity= | 54.53
2000-01-01 | 9:45 | CO2 | ppm= | 330 | temperature= | 20.47 | humidity= | 55.02
2000-01-01 | 10:04 | CO2 | ppm= | 329 | temperature= | 20.87 | humidity= | 53.78
2000-01-01 | 10:24 | CO2 | ppm= | 336 | temperature= | 21.11 | humidity= | 53.05
2000-01-01 | 10:24 | CO2 | ppm= | 336 | temperature= | 21.11 | humidity= | 53.05
2000-01-01 | 10:44 | CO2 | ppm= | 339 | temperature= | 21.51 | humidity= | 54.24
2000-01-01 | 11:05 | CO2 | ppm= | 341 | temperature= | 21.49 | humidity= | 54.82
2000-01-01 | 11:24 | CO2 | ppm= | 340 | temperature= | 21.6 | humidity= | 54.33
2000-01-01 | 11:44 | CO2 | ppm= | 341 | temperature= | 21.76 | humidity= | 53.57
2000-01-01 | 12:04 | CO2 | ppm= | 341 | temperature= | 21.68 | humidity= | 53.37
2000-01-01 | 12:24 | CO2 | ppm= | 338 | temperature= | 21.72 | humidity= | 52.91
2000-01-01 | 12:44 | CO2 | ppm= | 339 | temperature= | 21.77 | humidity= | 52.67
2000-01-01 | 13:04 | CO2 | ppm= | 42 | temperature= | 21.81 | humidity= | 52.53
2000-01-01 | 13:24 | CO2 | ppm= | 343 | temperature= | 21.76 | humidity= | 52.12
2000-01-01 | 13:44 | CO2 | ppm= | 341 | temperature= | 21.15 | humidity= | 53.46
2000-01-01 | 14:04 | CO2 | ppm= | 339 | temperature= | 20.85 | humidity= | 53.95
2000-01-01 | 14:24 | CO2 | ppm= | 340 | temperature= | 20.64 | humidity= | 53.86
2000-01-01 | 14:44 | CO2 | ppm= | 338 | temperature= | 20.48 | humidity= | 54.13
2000-01-01 | 15:04 | CO2 | ppm= | 343 | temperature= | 20.85 | humidity= | 52.79
2000-01-01 | 15:23 | CO2 | ppm= | 345 | temperature= | 21.08 | humidity= | 51.78
2000-01-01 | 15:43 | CO2 | ppm= | 346 | temperature= | 21.29 | humidity= | 51.06
2000-01-01 | 16:03 | CO2 | ppm= | 348 | temperature= | 21.46 | humidity= | 50.79
2000-01-01 | 16:23 | CO2 | ppm= | 349 | temperature= | 21.37 | humidity= | 51.02
2000-01-01 | 16:43 | CO2 | ppm= | 347 | temperature= | 21.42 | humidity= | 51.05
2000-01-01 | 17:03 | CO2 | ppm= | 353 | temperature= | 21.51 | humidity= | 50.82
2000-01-01 | 17:03 | CO2 | ppm= | 353 | temperature= | 21.51 | humidity= | 50.82
2000-01-01 | 17:23 | CO2 | ppm= | 347 | temperature= | 21.56 | humidity= | 51.11
2000-01-01 | 17:43 | CO2 | ppm= | 347 | temperature= | 21.67 | humidity= | 50.99
2000-01-01 | 18:03 | CO2 | ppm= | 346 | temperature= | 21.69 | humidity= | 51.02
2000-01-01 | 18:23 | CO2 | ppm= | 348 | temperature= | 21.75 | humidity= | 51.14
2000-01-01 | 18:43 | CO2 | ppm= | 336 | temperature= | 21.05 | humidity= | 53.05
2000-01-01 | 19:02 | CO2 | ppm= | 332 | temperature= | 20.76 | humidity= | 53.66
2000-01-01 | 19:22 | CO2 | ppm= | 333 | temperature= | 20.55 | humidity= | 54.21
2000-01-01 | 19:42 | CO2 | ppm= | 332 | temperature= | 20.64 | humidity= | 54.12
2000-01-01 | 20:02 | CO2 | ppm= | 336 | temperature= | 20.87 | humidity= | 53.2
2000-01-01 | 20:22 | CO2 | ppm= | 338 | temperature= | 21.12 | humidity= | 52.36
2000-01-01 | 20:42 | CO2 | ppm= | 345 | temperature= | 21.41 | humidity= | 51.8
2000-01-01 | 21:02 | CO2 | ppm= | 349 | temperature= | 21.26 | humidity= | 52.35
2000-01-01 | 21:22 | CO2 | ppm= | 379 | temperature= | 21.89 | humidity= | 51.19
2000-01-01 | 21:42 | CO2 | ppm= | 42 | temperature= | 22.21 | humidity= | 50.72
|  |  |  | 279.4211 | avg | 21.6647 | avg | 52.1549 | avg
|  |  |  | 345.1778 | avg seleted | 21.3924 | avg seleted | 52.5016 | avg seleted

## Mig 6-18
2015-06-18 | 14:01 | CO2 | ppm= | 4 | temperature= | 23.08 | humidity= | 52.26
2015-06-18 | 14:01 | CO2 | ppm= | 4 | temperature= | 23.08 | humidity= | 52.26
2015-06-18 | 14:22 | CO2 | ppm= | 529 | temperature= | 23.02 | humidity= | 52.58 | 14:39
2015-06-18 | 14:01 | CO2 | ppm= | 4 | temperature= | 23.08 | humidity= | 52.26 | 15:21
2015-06-18 | 14:22 | CO2 | ppm= | 529 | temperature= | 23.02 | humidity= | 52.58
2015-06-18 | 14:52 | CO2 | ppm= | 547 | temperature= | 22.89 | humidity= | 52.53
2015-06-18 | 15:13 | CO2 | ppm= | 530 | temperature= | 23.2 | humidity= | 52.23
2015-06-18 | 14:01 | CO2 | ppm= | 4 | temperature= | 23.08 | humidity= | 52.26 | 17:00
2015-06-18 | 14:22 | CO2 | ppm= | 529 | temperature= | 23.02 | humidity= | 52.58
2015-06-18 | 14:52 | CO2 | ppm= | 547 | temperature= | 22.89 | humidity= | 52.53
2015-06-18 | 15:13 | CO2 | ppm= | 530 | temperature= | 23.2 | humidity= | 52.23
2015-06-18 | 15:33 | CO2 | ppm= | 560 | temperature= | 23.28 | humidity= | 52.23
2015-06-18 | 15:54 | CO2 | ppm= | 579 | temperature= | 23.33 | humidity= | 52.2
2015-06-18 | 16:14 | CO2 | ppm= | 749 | temperature= | 23.47 | humidity= | 52.05
2015-06-18 | 16:34 | CO2 | ppm= | 635 | temperature= | 23.41 | humidity= | 52.2
2015-06-18 | 16:55 | CO2 | ppm= | 652 | temperature= | 23.41 | humidity= | 52.61