## Slide 1
MEASURING OCEAN RESPIRATION:
VALIDATION OF A LOW COST CO2 SENSOR
Wiley Wolfe, Oregon State University
Mentor: Ken Johnson
Notes: Meeting
Sensor
Deploy
New

## Slide 2: Why is Measuring CO2 Important?

## Slide 3: Why is Measuring CO2 Important?
Notes: Respiration Cycle

## Slide 4: Why is Measuring CO2 Important?
Notes: Carbon system
CO2
pH
DIC Dissolved Inorganic Carbon
Alkalinity

## Slide 5: Why is Measuring CO2 Important?
Notes: Ocean Acidification
Biology

## Slide 6: Why is Measuring CO2 Important?
Notes: CO2 atmosphere
Uptake

## Slide 7: Why is Measuring CO2 Important?
Notes: Papers
Predictions often wrong
Important

## Slide 8: CO2 Sensor 1.0
Notes: Sensor

## Slide 9: Circuit Components
JeeNode
Temp+Humidity Sensor
Air Pump
GE Telaire 6615
  Voltage Regulator
Notes: JeeNode
Other
GE Wall co2 senor,
dual beam infrared
Light
Gas Phase

## Slide 10: Gas Flow
Endcap
CO2 Sensor
Air pump
In
Out
A
B
D
C
Tygon Tube
Teflon AF
Tygon Tube
Teflon AF
Nafion Tube
Notes: AF Membrane
Pump
Nafion
Sensor

## Slide 11
MBARI
Notes: Land/Ocean biochemical observatory

## Slide 12
MBARI
Sensor
Notes: Land/Ocean biochemical observatory

## Slide 13
Notes: Float

## Slide 14
Notes: Biofouling

## Slide 15: Deployments at LO1
Notes: Dates
CO2
Tide
Looks Tidal

## Slide 16: Deployments at LO1
Notes: High Tide
Low CO2

## Slide 17: Deployments at LO1
Notes: Low tide
High CO2

## Slide 18: Deployments at LO1
Notes: CO2
Temp
Close
Measures CO2
Sensor Affected

## Slide 19: Deployments at LO1
Notes: Trend

## Slide 20: Deployments at LO1
Notes: More clear
Drift
Forget 600
Post Cal Check

## Slide 21: Sensor Comparison
Notes: Improve
Short
Bat

## Slide 22: Gas Flow 1.0
Endcap
CO2 Sensor
Air pump
In
Out
A
B
D
C
Tygon Tube
Teflon AF
Tygon Tube
Teflon AF
pCO2
Nafion Tube
Notes: New Gas

## Slide 23: Gas Flow 2.0
Endcap
CO2 Sensor
Air pump
In
Out
A
B
D
C
Tygon Tube
Teflon AF
Tygon Tube
Teflon AF
Nafion Tube
D
D
Notes: Not teflon AF

## Slide 24: Gas Flow 2.0
Endcap
CO2 Sensor
Air pump
In
Out
A
B
D
C
Tygon Tube
Teflon AF
Tygon Tube
Teflon AF
Nafion Tube
D
D
ePTFE
ePTFE
Notes: Lower cost

## Slide 25: Gas Flow 2.0
Endcap
CO2 Sensor
Air pump
In
Out
A
Tygon Tube
Teflon AF
Tygon Tube
Teflon AF
Nafion Tube
D
D
ePTFE
ePTFE
Notes: greater equilibration volume
Copper Prop
Smaller dead volume

## Slide 26: Sensor Comparison
Notes: Less tubing
Whoo hoo

## Slide 27: Cost Comparison
1.
2.
Notes: College Students Important
Cost Compare
½ price

## Slide 28: Cost Comparison
1.
2.
Notes: Air pump

## Slide 29: Cost Comparison
1.
2.
Notes: Tube Type
$15,000
$50,000
Tesla vs 10 x 10 speed bikes

## Slide 30: Conclusion
Able to Resolve Tidal/Diel Respiration Cycle
Possible Improve Further
Low Cost = Spatial Resolution
Notes: Diel reparation cycle
Drift
Improve
High protive costal zones
Low cost
Spatial resolution on environmental variability

## Slide 31: Future Work
Parallel Deployment
Optimize for Power
Open Source Sensor
Notes: Debug second sensor cuircut
Parallel deplyoment
Optimize for lower power
Open sorce low cost sensor for education and rearch

## Slide 32: Photo Sources
http://www.directindustry.com/prod/gardner-denver-thomas/product-
7127-447148.html
https://octopart.com/t6615-5k-general+electric-42877703
http://www.digitalsmarties.net/products/jeenode-smd
http://chapar.co/wp-content/uploads/2015/04/modern-style-coral-bleaching
-before-and-after-with-7336684680-a6f3d66c94-b.jpg
http://muftbooks.com/wp-content/uploads/2015/05/bleached-coral
-photo-0001.jpg
http://www.pmel.noaa.gov/co2/files/pmel-research.003_med.jpg
http://www.mbari.org/lobo/pictures/maps/network2.jpg
Notes: Where all of the photos taken by people other than me can be found.
Line numbers visable 2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Slide 33: Thank You!
Ken Johnson
Hans Jannasch
Ginger Elrod
Josh Plant
Carole Sakamoto
Luke Coletti
Electronics Lab
George Matsumoto
Linda Kuhnz
Z
Miguel Uzcategui
Notes: Multiple locations

## Slide 34: Questions?

## Slide 35: Sensor Drift
Notes: Not so good.
Low

## Slide 36: Temperature Correlation
Notes: Experiment
We “Ken already done”
Per degree
6 ppm total

## Slide 37: ePTFE
Notes: CO2 Perm
Bottle
Blow
15s
35s

## Slide 38: ePTFE
Notes: Humidity increased but didn’t flood so we will say it works
Need to use desiccate and nafion

## Slide 39
Notes: Probably not. Too much Explaining

## Slide 41: Power Budget

## Slide 42: Humidity = Sensor Drift?

## Slide 43: Notes for self
Notes: Plot Humidty vs cos and in time for both depoyments
ePTFE water permi
Maybe look at OA2 pCO2 data
Mbari
Data and images
Morring data
Quick look plots
Pco2
OA2

## Slide 44: Deployments at LO1
Notes: High Tide
Low CO2