## Preliminary (SS)
Preliminary Calibration (pre-install, SS)
s/n: |  | date: |  |  |  | snsr s/n:
[7 empty] | SS | Sampler.intakePSI | Pressure on the Collection side of the membrane, has calibration data applied
| Absolute PSI | Offset |  |  |  |  | #DIV/0! | Sampler.outletPSI | Pressure on the Sample side of the membrane
| Absolute PSI | Slope |  |  |  |  | #DIV/0! | Sampler.intakePress | Uncalibrated Press based on A/D values
| cnts@-15psi | Vacuum |  |  |  |  | #DIV/0! | Sampler.outletPress | Uncalibrated Press based on A/D values
| mV/psi*75 | Full Scale |  |  |  |  | #DIV/0! | Sampler.calibrate | Tells the machine to apply calibration to Press values
| mV | Offset |  |  |  |  | #DIV/0!
| mV/psi | Slope |  |  |  |  | #DIV/0! | SS.status (inPress / outPress) | Raw A/D counts of outlet
| (10V/3V) | Excitation |  |  |  | 3.3333 | -16.9922 | CS.status (inPress / outPress) | Raw A/D counts of intake
| 100/1000(mV/V) | Gain |  |  | 0.1 |  | -5.0977
| 10K | Offset |  | 1 |  |  | -0.50977
| (4096/16/2.5V) | cnts/V | 102.4 |  |  |  | 2.4902
Abs PSI | Gauge Target | Gauge PSI / inHg | SS (outlet) | (V) | (V) | (mV)
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333

## Preliminary (CS)
Preliminary Calibration (pre-install, CS)
s/n: |  | date: | 2023-05-24 |  |  | snsr s/n:
[7 empty] | CS | Sampler.intakePSI | Pressure on the Collection side of the membrane, has calibration data applied
| Absolute PSI | Offset |  |  |  |  | #DIV/0! | Sampler.outletPSI | Pressure on the Sample side of the membrane
| Absolute PSI | Slope |  |  |  |  | #DIV/0! | Sampler.intakePress | Uncalibrated Press based on A/D values
| cnts@-15psi | Vacuum |  |  |  |  | #DIV/0! | Sampler.outletPress | Uncalibrated Press based on A/D values
| mV/psi*75 | Full Scale |  |  |  |  | #DIV/0! | Sampler.calibrate | Tells the machine to apply calibration to Press values
| mV | Offset |  |  |  |  | #DIV/0!
| mV/psi | Slope |  |  |  |  | #DIV/0! | SS.status (inPress / outPress) | Raw A/D counts of outlet
| (10V/3V) | Excitation |  |  |  | 3.3333 | -16.9922 | CS.status (inPress / outPress) | Raw A/D counts of intake
| 100/1000(mV/V) | Gain |  |  | 0.1 |  | -5.0977
| 10K | Offset |  | 1 |  |  | -0.50977
| (4096/16/2.5V) | cnts/V | 102.4 |  |  |  | 2.4902
Abs PSI | Gauge Target | Gauge PSI / inHg | CS (outlet) | (V) | (V) | (mV)
14.7 | 0 | 0 |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333
14.7 |  |  |  | 0 | -1 | -10 | -33.3333

## Calibration 1
Calibration 1 (system)
s/n: |  | date:
[7 empty] | SS (outlet) | pre-cal |  |  |  |  | CS (intake) | pre-cal
| Absolute PSI | Offset | bias |  |  |  | -50.1931 | [5 empty] | -105.5616
| Absolute PSI | Slope | skew |  |  |  | 0.0561 | [5 empty] | 0.058388
| cnts@-15psi | Vacuum |  |  |  |  | 915.0743 | [5 empty] | 1837.8417
| mV/psi*75 | Full Scale |  |  |  |  | 437.863 | [5 empty] | 406.3128
| mV | Offset |  |  |  |  | 352.115 | [5 empty] | 646.185
| mV/psi | Slope |  |  |  |  | 5.8382 | [5 empty] | 5.4175
| (10V/3V) | Excitation |  |  |  | 3.3333 | -16.9922 |  |  |  |  | 3.3333 | -16.9922
| 100/1000(mV/V) | Gain |  |  | 0.1 |  | -5.0977 |  |  |  | 0.1 |  | -5.0977
| 10K | Offset |  | 1 |  |  | -0.50977 |  |  | 1 |  |  | -0.50977
| (4096/16/2.5V) | cnts/V | 102.4 |  |  |  | 2.4902 |  | 102.4 |  |  |  | 2.4902
Abs PSI | Gauge Target | Gauge PSI / inHg | SS (outlet, outPress) | (V) | (V) | (mV) |  |  | CS (intake, inPress) | (V) | (V) | (mV)
14.7 | 0 | 0 | 1172 | 11.4453 | 10.4453 | 104.4531 | 348.1771 |  | 2084 | 20.3516 | 19.3516 | 193.5156 | 645.0521
17.5 | 3 | 2.8 | 1246 | 12.168 | 11.168 | 111.6797 | 372.2656 |  | 2137 | 20.8691 | 19.8691 | 198.6914 | 662.3047
21.4 | 7 | 6.7 | 1309 | 12.7832 | 11.7832 | 117.832 | 392.7734 |  | 2201 | 21.4941 | 20.4941 | 204.9414 | 683.138
29.6 | 15 | 14.9 | 1447 | 14.1309 | 13.1309 | 131.3086 | 437.6953 |  | 2334 | 22.793 | 21.793 | 217.9297 | 726.4323
45.5 | 30 | 30.8 | 1714 | 16.7383 | 15.7383 | 157.3828 | 524.6094 |  | 2592 | 25.3125 | 24.3125 | 243.125 | 810.4167
68.2 | 50 | 53.5 | 2099 | 20.498 | 19.498 | 194.9805 | 649.9349 |  | 2965 | 28.9551 | 27.9551 | 279.5508 | 931.8359
92.7 | 75 | 78 | 2517 | 24.5801 | 23.5801 | 235.8008 | 786.0026 |  | 3370 | 32.9102 | 31.9102 | 319.1016 | 1063.6719
64.6 | 50 | 49.9 | 2035 | 19.873 | 18.873 | 188.7305 | 629.1016 |  | 2907 | 28.3887 | 27.3887 | 273.8867 | 912.9557
45.4 | 30 | 30.7 | 1710 | 16.6992 | 15.6992 | 156.9922 | 523.3073 |  | 2590 | 25.293 | 24.293 | 242.9297 | 809.7656
32.2 | 17 | 17.5 | 1486 | 14.5117 | 13.5117 | 135.1172 | 450.3906 |  | 2372 | 23.1641 | 22.1641 | 221.6406 | 738.8021
31.7 | 15 | 15.6 | 1451 | 14.1699 | 13.1699 | 131.6992 | 438.9974 |  | 2345 | 22.9004 | 21.9004 | 219.0039 | 730.013
22.1 | 7 | 7.4 | 1313 | 12.8223 | 11.8223 | 118.2227 | 394.0755 |  | 2209 | 21.5723 | 20.5723 | 205.7227 | 685.7422
18 | 3 | 3.3 | 1243 | 12.1387 | 11.1387 | 111.3867 | 371.2891 |  | 2143 | 20.9277 | 19.9277 | 199.2773 | 664.2578
14.7 | 0 | 0 | 1183 | 11.5527 | 10.5527 | 105.5273 | 351.7578 |  | 2087 | 20.3809 | 19.3809 | 193.8086 | 646.0286
12.2931 | -5 | -4.9 | 1100 | 10.7422 | 9.7422 | 97.4219 | 324.7396 |  | 2006 | 19.5898 | 18.5898 | 185.8984 | 619.6615
9.788 | -10 | -10 | 1012 | 9.8828 | 8.8828 | 88.8281 | 296.0938 |  | 1923 | 18.7793 | 17.7793 | 177.793 | 592.6432
7.8723 | -15 | -13.9 | 946 | 9.2383 | 8.2383 | 82.3828 | 274.6094 |  | 1860 | 18.1641 | 17.1641 | 171.6406 | 572.1354
14.7 | -22 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -27 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
Sampler.intakePSI |  | Pressure on the Collection side of the membrane, has calibration data applied
Sampler.outletPSI |  | Pressure on the Sample side of the membrane
Sampler.intakePress |  | Uncalibrated Press based on A/D values
Sampler.outletPress |  | Uncalibrated Press based on A/D values
Sampler.calibrate |  | Tells the machine to apply calibration to Press values
SS.status (inPress / outPress) |  | Raw A/D counts of outlet
CS.status (inPress / outPress) |  | Raw A/D counts of intake

## Verification 1
Verification 1 (post system cal)
s/n: |  | date:
Absolute PSI | Offset | #DIV/0! |  | #DIV/0!
Absolute PSI | Slope | #DIV/0! |  | #DIV/0!
Use these commands, not SS.status/CS.status
Sampler.calibrate FIRST!
Abs PSI | Gauge PSI / inHg | SS (outlet) | Gauge Target | CS (intake) | Sampler.PSI | First value is Intake (CS), second value is outlet (SS)
14.7 |  |  | 0 |  | Sampler.intakePSI | Pressure on the Collection side of the membrane, has calibration data applied
14.7 |  |  | 3 |  | Sampler.outletPSI | Pressure on the Sample side of the membrane
14.7 |  |  | 7 |  | Sampler.intakePress | Uncalibrated Press based on A/D values
14.7 |  |  | 14 |  | Sampler.outletPress | Uncalibrated Press based on A/D values
14.7 |  |  | 30 |  | Sampler.calibrate | Tells the machine to apply calibration to Press values
14.7 |  |  | 50
14.7 |  |  | 75 |  | SS.status (inPress / outPress) | Raw A/D counts of outlet
14.7 |  |  | 50 |  | CS.status (inPress / outPress) | Raw A/D counts of intake
14.7 |  |  | 30
14.7 |  |  | 14
14.7 |  |  | 7
14.7 |  |  | 3
14.7 |  |  | 0
14.7
14.7
14.7
14.7
14.7

## Calibration 2
Calibration 2 (system)
s/n: |  | date:
[7 empty] | SS (outlet) | pre-cal |  |  |  |  | CS (intake) | pre-cal
| Absolute PSI | Offset | bias |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| Absolute PSI | Slope | skew |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| cnts@-15psi | Vacuum |  |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| mV/psi*75 | Full Scale |  |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| mV | Offset |  |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| mV/psi | Slope |  |  |  |  | #DIV/0! | [5 empty] | #DIV/0!
| (10V/3V) | Excitation |  |  |  | 3.3333 | -16.9922 |  |  |  |  | 3.3333 | -16.9922
| 100/1000(mV/V) | Gain |  |  | 0.1 |  | -5.0977 |  |  |  | 0.1 |  | -5.0977
| 10K | Offset |  | 1 |  |  | -0.50977 |  |  | 1 |  |  | -0.50977
| (4096/16/2.5V) | cnts/V | 102.4 |  |  |  | 2.4902 |  | 102.4 |  |  |  | 2.4902
Abs PSI | Gauge Target | Gauge PSI / inHg | SS (outlet, outPress) | (V) | (V) | (mV) |  |  | CS (intake, inPress) | (V) | (V) | (mV)
14.7 | 0 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 3 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 7 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 15 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 30 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 50 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 75 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 50 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 30 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 15 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 7 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 3 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | 0 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -5 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -10 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -15 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -22 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
14.7 | -27 |  |  | 0 | -1 | -10 | -33.3333 |  |  | 0 | -1 | -10 | -33.3333
Sampler.intakePSI |  | Pressure on the Collection side of the membrane, has calibration data applied
Sampler.outletPSI |  | Pressure on the Sample side of the membrane
Sampler.intakePress |  | Uncalibrated Press based on A/D values
Sampler.outletPress |  | Uncalibrated Press based on A/D values
Sampler.calibrate |  | Tells the machine to apply calibration to Press values
SS.status (inPress / outPress) |  | Raw A/D counts of outlet
CS.status (inPress / outPress) |  | Raw A/D counts of intake

## Verification 2
Verification 2 (post system cal)
s/n: |  | date:
Absolute PSI | Offset | #DIV/0! |  | #DIV/0!
Absolute PSI | Slope | #DIV/0! |  | #DIV/0!
Use these commands, not SS.status/CS.status
Sampler.calibrate FIRST!
Abs PSI | Gauge PSI / inHg | SS (outlet) | Gauge Target | CS (intake) | Sampler.PSI | First value is Intake (CS), second value is outlet (SS)
14.7 |  |  | 0 |  | Sampler.intakePSI | Pressure on the Collection side of the membrane, has calibration data applied
14.7 |  |  | 3 |  | Sampler.outletPSI | Pressure on the Sample side of the membrane
14.7 |  |  | 7 |  | Sampler.intakePress | Uncalibrated Press based on A/D values
14.7 |  |  | 14 |  | Sampler.outletPress | Uncalibrated Press based on A/D values
14.7 |  |  | 30 |  | Sampler.calibrate | Tells the machine to apply calibration to Press values
14.7 |  |  | 50
14.7 |  |  | 75 |  | SS.status (inPress / outPress) | Raw A/D counts of outlet
14.7 |  |  | 50 |  | CS.status (inPress / outPress) | Raw A/D counts of intake
14.7 |  |  | 30
14.7 |  |  | 14
14.7 |  |  | 7
14.7 |  |  | 3
14.7 |  |  | 0
14.7
14.7
14.7
14.7
14.7