Building a Micro Fluidics Block (MFB)
Sub Assemblies
	Item
	Description

	14 Port Rotary Valve Assembly
	ATV

	14 Port Rotary Valve Assembly
	ARV

	14 Port Rotary Valve Assembly
	ASV

	Syringe Assembly
	 

	Burkert 3 Way Valve Assembly
	AFV

	Burkert 3 Way Valve Assembly
	APV

	Burkert 3 Way Valve Assembly
	AWV

	6 Port Rotary Valve Assemble
	AIV

	SPE Heater Block
	SPE

	Grill
	 

	PCR Module
	 

	Waste Container
	 

	Sensor Board
	 

	Gateway
	 

	Thermal Board
	 

	Rvalve Board
	 

	Host Board
	 

	I2C Power Board
	 

	Filtered Air Container
	 

	Filtered Waste Container
	 

	Elution Column and Filtered Air Snorkle
	 

	Reagent Pigtails
	 


Parts

· Main parts

	Item
	Quantity

	Mounting Bracket for Dwarfs
	1

	Mounting Bracket for Host
	1

	Mounting Bracket for I2C Power Board
	1

	Mounting Bracket for Thermal Board
	1

	Mounting Bracket for SPE Heater Block
	1

	Mounting Bracket for PCR Module
	1

	MFB Tubing
	3 packs

	PCR Tubing 
	570mm


· Small parts

	Item 
	Quantity 
	Size

	Vici Medium Fitting
	 
	 

	Vici 10-32 Crimp Ferrule
	 
	 

	Vici Plug
	 
	 

	Vici 1/4-28  Flat Bottom Fitting
	 
	 

	Vici Flat Bottom Ferrule
	 
	 

	 
	 
	 

	 
	 
	 

	 
	 
	 

	 
	 
	 

	 
	 
	 


Tools

· Hex keys—sizes: 

	

	

	

	

	

	

	


