## Sheet1
Item | Description | Part Number | Manufacturer | Distributor |  | Quantity | Price | Total | Order | Yes | No
1 | Battery Charger | GC120A12-RB7 | Mean-Well | Mouser | www.mouser.com | 1 | 85 | 85 | Yes | 85 | 0
2 | Low Voltage Disconnect | LVD75A40 | Crydom | Mouser | www.mouser.com | 1 | 98 | 98 | Yes | 98 | 0
3 | Battery | PS-12400 | Power-Sonic | Mouser | www.mouser.com | 1 | 143 | 143 | No | 0 | 143
4 | Solid-state Relay | D1D20 | Crydom | Mouser | www.mouser.com | 1 | 63 | 63 | Yes | 63 | 0
5 | Case | SE-540 | SeaHorse Cases | Fuerte Cases | www.fuertecases.com | 1 | 43 | 43 | Yes | 43 | 0
6 | ESP connector/Whip | MCIL8M | Subconn | Ocean Innovations |  | 1 | 80 | 80 | No | 0 | 80
7 | ESP connector/Whip | MCIL4F | Subconn | Ocean Innovations |  | 1 | 43 | 43 | No | 0 | 43
8 | Green Indicator | 679-2955-ND | Apem | Digikey | www.digikey.com | 3 | 11.72 | 35.16 | Yes | 35.16 | 0
9 | Yellow Indicator | 679-2859-ND | Apem | Digikey | www.digikey.com | 1 | 11.9 | 11.9 | Yes | 11.9 | 0
10 | Bue Indicator | 679-2858-ND | Apem | Digikey | www.digikey.com | 1 | 13.72 | 13.72 | Yes | 13.72 | 0
11 | white Indicator | 679-2857-ND | Apem | Digikey | www.digikey.com | 1 | 14.12 | 14.12 | Yes | 14.12 | 0
12 | Switch | M2023LL3W01-ND | NKK | Digikey | www.digikey.com | 1 | 7.88 | 7.88 | Yes | 7.88 | 0
13 | Cable Gland | 902-1137-ND | Rose Bopla | Digikey | www.digikey.com | 5 | 1.15 | 5.75 | Yes | 5.75 | 0
14 | Gland counter nut | 902-1230-ND | Rose Bopla | Digikey | www.digikey.com | 5 | 0.29 | 1.45 | No | 0 | 1.45
15 | Fuse holder | F1497-ND | LittelFuse | Digikey | www.digikey.com | 2 | 1.13 | 2.26 | Yes | 2.26 | 0
16 | Large Gauge terminal Block | 1412201 | Marathon/Kulka | OnlineComponents |  | 1 | 11.89 | 11.89 | No | 0 | 11.89
17 | 3 Terminal Block | 8056T13 |  | McMaster | www.mcmaster.com | 1 | 15 | 15 | Yes | 15 | 0
18 | 2 Terminal Block | 8056T12 |  | McMaster | www.mcmaster.com | 2 | 13.56 | 27.12 | Yes | 27.12 | 0
19 | Wire, 6 awg, Black | 7125K682 |  | McMaster | www.mcmaster.com | 100 | 0.8865 | 88.65 | Yes | 88.65 | 0
20 | Wire, 6 awg, Red | 7125K686 |  | McMaster | www.mcmaster.com | 100 | 0.8865 | 88.65 | Yes | 88.65 | 0
21 | Aluminum Plate | 88895K46 |  | McMaster | www.mcmaster.com | 2 | 30.05 | 60.1 | Yes | 60.1 | 0
22 | 1/4x20 All Thread | 93250A440 |  | McMaster | www.mcmaster.com | 1 | 4.35 | 4.35 | Yes | 4.35 | 0
23 | Busbar block (Blue 6awg) | 812-114 | Wago | Wago |  | 1 | 5 | 5 | No | 0 | 5
24 | Busbar block (Grey 6awg) | 812-111 | Wago | Wago |  | 1 | 5 | 5 | No | 0 | 5
25 | Busbar block (Blue 12awg) | 812-104 | Wago | Wago |  | 1 | 5 | 5 | No | 0 | 5
26 | Busbar block (Grey 12awg) | 812-101 | Wago | Wago |  | 1 | 5 | 5 | No | 0 | 5
27 | Busbar | 210-133 | Wago | Wago |  | 1 | 5 | 5 | No | 0 | 5
[6 empty] | Grand Total |  | 948 |  | 663.66 | 284.34