Naval Facilities Engineering Service Center

1100 23rd Avenue

Port Hueneme, California 93043-4370

Deep Ocean Simulation Facility

	Facility Name:

NFESC, DOSF
	Facility Location:

1100 23 rd. Ave.

Port Hueneme, Ca.
	Facility Operator:

Mark Wells



	Type of Facility:

Hyperbaric, Unmanned


	Pressure Vessel:

24” 15,800 PSI


	Date:

4 May 2006



	Gage Serial Number:

1024332


	Gauge Calibration Date:

12 January 2005
	Test Number:

24-05042006


Hydrostatic Test Record

	Basis for Issuance:

10 cycle test of ESP 1000m housing to 1825 psi with a 10 minute hold at 9 cycles and 16 hour hold on 1 cycle.



	Test Title:

MBARI  ESP 1000m housing


	Client:

MBARI


	Test Participants:

Mark Wells

Mark Greise



Test certified by:

Test results do not imply the Department of the Navy or NFESC endorsement, approval, or disapproval of the tested product.  Additionally, NFESC and the Department of the Navy do not warrant the accuracy of the results.

Contact Information:

Mr. Mark Wells





LCDR Russ Mattson

Operator, Deep Ocean Simulation Facility

Director, Ocean Operations

805.982.1531





805.982.4435

mark.e.wells@navy.mil




russ.matson@navy.mil
