Deep ESP 2010 Deployment

June 29, 2010

ISMS:	ON hold until ISMS is determined to be going.

Change Igo power supply from 24 to 48V

Incorporate power switching

Drawings

Fabrication

ISUS:

Select and procure power supply

Incorporate power switching

Drawings

Modify and include

Fabrication

Battery Combiner:

Power question needs answering first

ISMS?

Ambient valves, flush/tox?

Wand?

ORDER:

New filters for DWSM

Open issues:

Compliance bags  testing options

Sphere valves

New IEP Pump:

Servo controller selection

Drawing changes

Installation

Testing

Sphere heating

WebRelay:

Change to quad to support ISUS and ISMS

Drawings

Fabrication

HPP encoder failure:

In house failure analysis – inconclusive

Sent to Manufacturer

Order more spares

Install spares

HPP drive methodology

In trailer work

Flush, empty DWSM

Flush HPI

Remove sample compliance bag

Filter oil

Replace bags   Sample only

Test switch points   Sample only

New compliance bags

Review how HPI works on current drive (torque mode)

Test FMI IEP in bucket

Install FMI IEP in Resampler

Test FMI IEP under pressure

Fix Gordon

Heater status/control?

Full cycle test Under HP

Inhale-decomp-Sample

Core process, develop array, PCR?

Recompress, Empty

CTD/ISUS in a bucket, yes.

Chill Down to 4C

Full cycle cold test.

Elevator and Foam pack to High Bay

Inspect sphere vent ports

Remount Batteries

Plug 4 ports on Battery Combiner box

Install ISMS?

Install CTD

Add foam to pack

Remove Ac. Modem

Install Pinger, Strobe, etc.

Attach bumper rings

Canning Gordon

Add hobo’s

Load reagents

Load Pucks

Empty wastes

Install sphere insulation

Can Sphere

Torqe bolts, cross pattern  (120 in-lbs)

Go-no go gauge test

Leak test and N2 purge.

Clean and reset sphere relief (5 turns out, 4 psi)

Can DWSM

Leak test DWSM bells

Attach foam pack

Attach R2D2

Change out CTD

CTD batts

Manual Weight Release only?

Test Tank?

Weigh, trim and balance

Post Can QC

Fluidic Stream (Sample point/DWSM/ISMS/ISUS/CTD…)

Curves?

Other?