Deep ESP 2010 Deployment 
June 29, 2010

?? Work Days remaining until we ship it.

Wet Mate Release for Dead ROV recovery (pilots may handle)
Vehicle side wetmate, Craig Dawe working on it.
Weight ring for dunking transducer (Hans Thomas)
Back up modems?
Test Modem interference with Rickets
WF Hull transducer?
Rewire, Replumb ISMS
Test ISMS in lab
Can ISMS, leak test (if possible)
Zinc for ISMS, Doug to do

In trailer work
Heater status/control?

	Full cycle test Under HP
Inhale-decomp-Sample 
Core process, develop array, PCR?
Recompress, Empty 
	CTD/ISUS in a bucket, yes.

Chill Down to 4C
Full cycle cold test.

Elevator and Foam pack to High Bay
Inspect sphere vent ports
Install Drop Weight Release
Attach Yale grips, anchor to elevator
Mount Dummy Jack (Drill for thru bolts.)
Attach bottom of oil reservoir bag
	Remove Batteries
Modify our battery boxes to side pass cables
Drill/Mount 2x Batteries brackets
Mount Battery Combiner box
Install 8 batteries 
Drill/Mount ISMS brackets
Install ISMS
Install CTD
Add foam to pack
	Install Ac. Modem
Install Pinger, Strobe, etc.
Attach bumper rings

Canning Gordon
	Add hobo’s
Load reagents
Load Pucks
Empty wastes
Install sphere insulation
Can Sphere
Leak test and N2 purge.
Can DWSM
Leak test DWSM bells

	Attach foam pack
	Review tow point/recover lines with WF crew
Attach R2D2
	CTD batts?
	Modem Batts?

Test Tank
	Weigh, trim and balance
	Test burn wire release (3 minutes)
	Test manual release
	Post Can QC
Modem Comm
Fluidic Stream (Sample point/DWSM/ISMS/ISUS/CTD…)
	Curves?
	Other?

Prep for deploy
	Make lists of equipment, tools, spare, etc.
	Pack it all

Prep Trailer
	Clean/Mop trailer
Attach anchor points in trailer.
Load Trailer

Terry coordinating shipping of trailer

Trailer generator here:
	Day Electric working on the cable and a 110 converter

Anchor points in trailer
Set trailer temp to 11C for shipping
Peltzer equipment coming back in trailer.

