Deep ESP 2010 Deployment

June 29, 2010

?? Work Days remaining until we ship it.

Wet Mate Release for Dead ROV recovery (pilots may handle)

Vehicle side wetmate, Craig Dawe working on it.

Weight ring for dunking transducer (Hans Thomas)

Back up modems?

Test Modem interference with Rickets

WF Hull transducer?

Rewire, Replumb ISMS

Test ISMS in lab

Can ISMS, leak test (if possible)

Zinc for ISMS, Doug to do

In trailer work

Heater status/control?

Full cycle test Under HP

Inhale-decomp-Sample

Core process, develop array, PCR?

Recompress, Empty

CTD/ISUS in a bucket, yes.

Chill Down to 4C

Full cycle cold test.

Elevator and Foam pack to High Bay

Inspect sphere vent ports

Install Drop Weight Release

Attach Yale grips, anchor to elevator

Mount Dummy Jack (Drill for thru bolts.)

Attach bottom of oil reservoir bag

Remove Batteries

Modify our battery boxes to side pass cables

Drill/Mount 2x Batteries brackets

Mount Battery Combiner box

Install 8 batteries

Drill/Mount ISMS brackets

Install ISMS

Install CTD

Add foam to pack

Install Ac. Modem

Install Pinger, Strobe, etc.

Attach bumper rings

Canning Gordon

Add hobo’s

Load reagents

Load Pucks

Empty wastes

Install sphere insulation

Can Sphere

Leak test and N2 purge.

Can DWSM

Leak test DWSM bells

Attach foam pack

Review tow point/recover lines with WF crew

Attach R2D2

CTD batts?

Modem Batts?

Test Tank

Weigh, trim and balance

Test burn wire release (3 minutes)

Test manual release

Post Can QC

Modem Comm

Fluidic Stream (Sample point/DWSM/ISMS/ISUS/CTD…)

Curves?

Other?

Prep for deploy

Make lists of equipment, tools, spare, etc.

Pack it all

Prep Trailer

Clean/Mop trailer

Attach anchor points in trailer.

Load Trailer

Terry coordinating shipping of trailer

Trailer generator here:

Day Electric working on the cable and a 110 converter

Anchor points in trailer

Set trailer temp to 11C for shipping

Peltzer equipment coming back in trailer.