July 2010

Elevator Equip (not on elevator):

|  | qty |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Silicone oil | 5 gals |  | W | Fr Back |  |
| Spare Oil reservoir bags | 2 | A Box | W | Fr Back |  |
| Drop Weights | 1 | pallet |  |  |  |
| Burnwires |  | Sphere Box |  |  |  |
| Polyline for drop weight |  |  |  |  |  |
| CTD/ISMS tubing |  |  |  |  |  |
| 24 V battery | 1 |  |  |  |  |
| 12 V battery | 1 |  |  |  |  |
| 24V batt chargers | 4 |  |  |  |  |
| DWSM intake tube |  |  |  |  |  |
| Intake cap/screen | 1 | Red Box |  |  |  |
| Sphere box |  |  |  |  |  |
| Swagelok box |  |  |  |  |  |
| 1/8” tubing | 4’ | Tube |  |  |  |
| 1/4” tubing | 4’ | Tube |  |  |  |
| 7/8” nuts/washers |  |  |  |  |  |
| Sphere lift hardware |  |  |  |  |  |
| DWSM lift hardware |  |  |  |  |  |
| DWSM fasteners |  |  |  |  |  |
| Yale grips | 2 | A box |  |  |  |
| Kellum Grips | 2 | A Box |  |  |  |
| Remove B4 Flight tags | 6 | A box |  |  |  |
| ROV side wetmate |  | Scott Box |  |  |  |
| Scott Box |  | W |  |  |  |
| Drop weight release parts kit |  |  |  |  |  |
| Manual drop weight release |  |  |  |  |  |
| Extra Foam | 3cf | W |  |  |  |
| ¼ all thread | 2 | Tube |  |  |  |
| Girguis Boxes | 3 |  |  |  |  |
| ROV arm | 1 |  |  | Fr Back |  |

Sphere/DWSM open/reseal

| Sphere orings |  | A box |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DWSM orings |  | A Box |  |  |  |
| DOW 55 |  | Tool Box |  |  |  |
| Silicone grease |  | Tool Box |  |  |  |
| Aqua lube |  | Tool Box |  |  |  |
| Lint free wipes |  | A box |  |  | X |
| Alcohol |  |  |  |  |  |
| Sphere seal covers/bolts |  | W |  |  |  |
| Blue Tape |  | Tool Box |  |  |  |
| Light block lid |  | W |  |  |  |
| Torque wrench |  |  |  |  |  |
| Wrenches |  |  |  |  |  |
| Purge regulator and meter |  | W |  |  |  |
| N2 Bottle |  | P2 |  | Van Back |  |
| He Bottle |  | P2 |  | Van Back |  |
| Hand Leak detector |  | W |  |  |  |

Acoustic modem

| Deckbox |  | Own box |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Dunking ‘ducer |  | Big box |  |  |  |
| Cable | 2 | Big box |  |  |  |
| Instruction manuals |  | Big box |  |  |  |
| Power cord | 2 | 1 each |  |  |  |
| Baffle w/ weight |  | B2 |  |  |  |
| Rope | 50m |  |  |  |  |
| Spare battery | 1 | Big box |  |  |  |
| Spare burnwires | 3 | Sphere box |  |  |  |
| Rover deck box | 1 | W |  |  |  |
| Rover dunking ducer |  | W |  |  |  |
| Rover cable | 1 | W |  |  |  |
| Other? |  |  |  |  |  |

DWSM Spare parts

| 10L MSR bags (singe edges) | 2 | A Box |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bag caps (wide groove) |  |  |  |  |  |
| Switches |  |  |  |  |  |
| Tubing |  |  |  |  |  |
| Bag comps |  |  |  |  |  |
| Bag cap fittings |  |  |  |  |  |
| Clamps |  |  |  |  |  |
| Bag cap orings (fat ones) |  |  |  |  |  |
| Spare pumps |  |  |  |  |  |
| Spare filters |  |  |  |  |  |
| Spare check valves |  |  |  |  |  |
| Tube fittings |  |  |  |  |  |
| Pump motors |  | Red Box |  |  |  |
| mag coupling |  | Red Box |  |  |  |
| HPP motor |  | Red Box |  |  |  |
| Coupling |  | Red Box |  |  |  |
| Encoder |  | Red Box |  |  |  |
| Mag shroud |  | Red Box |  |  |  |
| Orings |  | Red Box |  |  |  |
| Insert tool |  | Red Box |  |  |  |
| 3 way valve |  | Red Box |  |  |  |
| R valve actuator |  |  |  |  |  |
| Dwarf core |  |  |  |  |  |
| D Press |  |  |  |  |  |
| Pressure transducers |  | Red Box |  |  |  |