July 2011 Juan de Fuca
Deep ESP Equip
	
	qty
	
	
	
	

	ESP Gordon
	
	Sphere
	
	
	

	MFB
	
	Sphere
	
	
	

	
	
	
	
	
	

	DWSM
	
	Elev
	
	
	

	CTD
	
	Elev
	
	
	

	ISUS
	
	Elev
	
	
	

	ISMS
	
	Elev
	
	
	

	Temp Probe Can
	
	Elev
	
	
	

	Wand
	
	Elev
	
	
	

	Wand tip Temp logger
	
	Elev
	
	
	

	AC Modem
	
	Foam top
	
	
	

	Burnwire release
	
	Elev
	
	
	

	Dropweight
	
	Elev
	
	
	

	RF Beacon
	
	Foam top
	
	
	

	Strobe
	
	Foam top
	
	
	

	Homer Pro
	
	Foam top
	
	
	

	Super Sub Mini
	
	Foam top
	
	
	

	Xeos Beacon
	
	Foam top
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	Battery trays
	2
	WF
	
	
	

	ROV Side wet mate (F ODI)
	1
	WF
	
	
	

	70m Tether
	
	
	ESP-
	
	

	4m Tether
	
	Elev
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	




Elevator Equip (not on elevator):
	
	qty
	
	
	
	

	Silicone oil
	10 gals
	
	ESP-3
	Fr Back
	

	Spare Oil reservoir bags
	2
	A
	
	Fr Back
	

	Drop Weight
	1
	Own pallet
	WF
	
	

	Burnwires
	2
	Sphere box
	ESP 2
	
	

	Polyline for drop weight
	
	
	
	
	

	
	
	
	
	
	

	12 V tray battery (spare)
	2
	
	ESP-3
	
	

	Batt tray charger rack
	
	Own rack
	
	
	

	¼” Parflex tube
	
	
	
	
	

	½” intake tubing
	
	
	
	
	

	Tube fittings
	
	A box
	ESP-2
	
	

	Intake cap/screen (spare)
	1
	Red Box
	ESP-2
	
	

	Sphere box
	
	Self
	ESP 2
	
	

	Swagelok box
	
	self
	ESP 2
	
	

	1/8” SS tubing
	4’
	
	
	
	

	1/4” SS tubing
	4’
	
	
	
	

	7/8” nuts/washers
	
	
	
	
	

	Sphere lift hardware
	
	
	
	
	

	DWSM lift hardware
	
	
	
	
	

	
	
	
	
	
	

	Yale grips
	3
	A box
	ESP-2
	FB
	

	Kellum Grips
	2
	A box
	ESP-2
	FB
	

	Remove B4 Flight tags
	
	A box
	ESP-2
	FB
	

	70m Tether
	
	
	ESP 3
	
	

	
	
	
	
	FB
	

	Drop weight release parts kit
	
	
	
	
	

	
	
	
	
	
	

	Extra Foam
	3cf
	
	ESP-3
	FB
	

	¼ all thread
	
	
	ESP 2
	FB
	

	Spare Wand
	
	
	ESP 2
	
	

	Ambient valve box
	1
	
	
	FB
	

	Elevator handles
	6
	
	
	FB
	

	Brent Box
	
	
	ESP-2
	
	

	Brent Computer Bag
	
	
	ESP-2
	
	

	
	
	
	
	
	

	Sump Pump
	
	AP 
	ESP 1
	
	

	Hose, sprinkler
	
	AP
	ESP 1
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	




Sphere/DWSM open/reseal
	Sphere orings
	
	Red box
	
	
	

	DWSM orings
	
	Red Box
	
	
	

	DOW 55
	
	Tool Box
	
	
	

	Silicone grease
	
	Tool Box
	
	
	

	Aqua lube
	
	Tool Box
	
	
	

	Lint free wipes
	
	Box A
	
	
	X

	Alcohol
	
	
	
	
	

	Sphere seal covers/bolts
	
	
	
	
	

	Blue Tape
	
	Tool box
	ESP 1
	
	

	Light block lid
	
	
	ESP 4
	
	

	
	
	
	
	
	

	Torque wrench 
	
	
	
	
	

	Wrenches
	
	Tool box
	ESP 1
	
	

	Purge regulator and meter
	
	
	ESP 2
	
	

	N2 Bottle
	
	
	WF
	
	

	He Bottle
	
	
	WF
	
	

	Hand Leak detector
	
	
	ESP 1
	
	

	Red Box
	
	
	ESP 2
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	



Acoustic modem
	Deckbox
	
	Own box
	ESP 1
	
	

	Dunking ‘ducer
	
	Big box
	ESP 1
	
	

	Cable
	2
	Big box
	ESP 1
	
	

	Instruction manuals
	
	Big box
	ESP 1
	
	

	Power cord
	2
	1 each
	ESP 1
	
	

	Baffle w/ weight
	
	
	ESP-3
	
	

	
	
	
	
	
	

	Modem Spare battery
	1
	
	
	
	

	
	
	
	
	
	

	WF (hull ducer) interface box
	2
	
	WF
	
	

	Connection to bridge tie in.
	1
	
	WF
	
	

	Rover deck box
	1
	
	WF
	
	

	Rover cable
	1
	
	WF
	
	

	Other?
	
	
	
	
	

	
	
	
	
	
	





DWSM Spare parts
	10L MSR bags (singe edges)
	1
	A
	
	
	

	Bag caps (wide groove)
	
	
	
	
	

	Switches
	
	
	
	
	

	Tubing
	
	
	
	
	

	Bag comps
	
	
	
	
	

	Bag cap fittings
	
	
	
	
	

	Clamps
	
	
	
	
	

	Bag cap orings (fat ones)
	
	
	
	
	

	Spare pumps
	
	Red Box
	
	
	

	Spare filters
	
	
	
	
	

	Spare check valves
	
	
	
	
	

	Tube fittings
	
	
	
	
	

	
	
	
	
	
	

	Pump motors
	
	Red Box
	
	
	

	mag coupling
	
	
	
	
	

	HPP motor
	
	Red Box
	
	
	

	Coupling
	
	Red Box
	
	
	

	Encoder
	
	Red Box
	
	
	

	Mag shroud
	
	
	
	
	

	Orings
	
	Red Box
	
	
	

	Insert tool
	
	Red Box
	
	
	

	3 way valve
	
	Swaglok Box
	
	
	

	R valve actuator
	
	Betty
	
	
	

	Dwarf core
	
	Betty
	
	
	

	D Press
	
	
	
	
	

	Pressure transducers
	
	Red Box
	
	
	

	
	
	
	
	
	



ISUS Parts/tools/etc
	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	



ISMS parts/boxes/etc 
	Girguis black action packer
	1
	self
	ESP-2
	FB
	

	Small pelican box
	1
	self
	ESP-2
	FB
	

	
	
	
	
	
	



