ESP Project Meeting 

16 Aug 2007
Attending:

Doug Pargett, Scott Jensen, Chris Scholin





Next milestones: 
· Networked Surface ESP, Aug 30 – Sept 27 (GG, A1, 2 Moorings, ISUS, CTD, 2 turns?)

Agenda:
Old Items:

1. Science side working on PCR-reagent stability over time.
2. Science also to work on the internal positive control (IPC) two options.
3. Network deployment: NO turn over, dep Aug 30, recover Sept 28 or 29.
4. D-ESP is available for post QC’s

5. 1k DWSM to get cleaned, disassembled, inspected. Mothball and store for future use.

6. After network deployment- general discussion workshop in December, C-MORE focused workshop in January.
7. Next 3 units are to be completed and tested this year.

8. Need to account for parts that were “borrowed” for MFB, or repairs, and get ordered.
New Items

9. MFB

a. Can do 100:1 turndown, should try a higher count encoder and possibly another gear reducer.

b. Other stuff

10. Brent found an anomaly in GG, one of the clamps spins on the motor shaft. Scott to check it out

11. We are re-sloping the garage piece on NEO and the 3 to match GG.

12. Radio configuration, Brent to figure it the call books and configuration.
13. Need to check availability of 2nd ISUS, Scott to chase down.
14. Need to reconfigure the 1 ISUS for shallow, Scott to deal with that too.

15. Roman to prep the CTD’s for the cruise.

16. End of this week we can probably lock down the software.

17. Batteries are going to be coming in just-in-time.

18. MFB, start testing with the speeds as slow as they can go.

19. Addie to maintain an accurate fluidics diagram.

20. Addie to learn the PCR process from Preston once science has time (after deployment)

21. We probably have enough info to design up the heater.

