## Slide 1: Cartridge idea design history
December 20, 2013

## Slide 2: Cartridge
Push/Pull Plungers
Actuator Example
Dowel Pins for Location
Sea Water In
Sea Water Out
Waste
Clamp
April 12, 2013

## Slide 3: Valving
Filtering Position
Processing Position
April 12, 2013

## Slide 4: Archive Cartridge Overview
Reagent Syringe
Out Port-Not Used
Evac Syringe
Waste Syringes
Syringe Manifold*
Manifold Plate*
* Archive specific part
Cartridge Manifold*
May 23, 2013

## Slide 5: Archive Cartridge Fluid Path
Reagent In
Reagent Out
May 23, 2013

## Slide 6: Cartridge Delivery
¼-28 Ports
Evacuation Spring
On-Board Storage
Reagent
Check Valve
V1 Puck
August 13, 2013 – Phase 2 end

## Slide 7: Lyse-n-Go Layout
CAM Latch
Additional Valve
Extended Manifold Plate
Reworked syringe manifold plates
Evac & Vent
Reagent
Storage/Dilution
Cartridge extended by 10mm
Need lower actuator!
Interface plate?
December 17, 2013