G3 ESP Requirements

General notes from 1/21/10 meeting.

Platforms for deployment

- Small Mobile Platform (like LRAUV)

- Drifting/Profiling floats

- Surface moorings?

- Deep ESP Elevator?

Functionality

- Acquire sample

- Concentrate Volume

- Get particles

- Create Homogenate

- Preserve Particles

- Apply Reagents

- Control Temperature

Analytic Technologies

- SPR

- PCR

- Livermore Magnetic Beads

Performance Priorities

- 200m min operational depth

- Sample return (maybe incorporated into 1st stage)

- Identifiable pucks (or clips, filters, whatever)

- Horizontal and Vertical orientation (reconfiguration allowed)

- Modularity w/multiple analytic modules

At ALA look for

- Interesting technologies

- Lab View (or other graphical environment) based systems

- Reagent connectors