## Slide 1: G3 ESP Mechanical Design Update
Viable AUV Vehicle:
Two pressure chamber design
Structural mounting for drive section
Open bay for Turbine ESP
Assembly method is reasonable
Notes: Viable AUV Vehicle
Concept is a two pressure chamber design
Provides structural mounting for Tie rods in drive section
Open bay for Turbine ESP
Assembly method is reasonable

## Slide 2: ESP Bay and Components
Rotating “Turbine”
ESP Housing
ESP Forward Dome
ESP “Spine”
Processing Position
Cartridge Actuators
Instrument
Electronics
Lysate/Extract Handoff

## Slide 3: G3 ESP by Functional Block
Notes: Describe the functional block diagram
Focusing on functional blocks that are high risk, with no COTS solutions.
Walk thru flow path of seawater from intake, thru pump, thru valve array, cartridge, and back to sea.

## Slide 4: Filter Pump

## Slide 5: Filter Pump
Rotating piston pump
At ambient pressure (oil compensated)
Passed live culture pumping tests

## Slide 6: Spool Valve Array

## Slide 7: Spool Valve Array
Valve array selects which cartridge(s) get seawater.
Switch flow from bypassing a cartridge, to looping thru the cartridge
Currently design is 60, two position, 4 port spool valves
Notes: In-house design of a 2 position 4 port valve spool valve
Valves switch seawater flow between bypassing a cartridge, and flowing thru a cartridge.
Current design is

## Slide 8: Loop-Bypass Valve Array
Filter A
Filter B
Seawater Flow

## Slide 9: Filter Cartridge

## Slide 10: Cartridges
Cartridge CPU
Reagents
Filter holder
“Puck”
Seawater
Ports
Notes: A lot of things going on in a cartridge, essential a mini-ESP with no power or actuators

## Slide 11: Modular cartridges
Seawater
25mm Filter
Filter
Extract
Offboard
Filtrate
Handoff to AM
mixer
Handoff to AM
mixer
Extract

## Slide 12: Series Filtering
Filter A
Filter B
Seawater Flow

## Slide 13: Filter Holder
G3
G2
1mL lysing volume
Filter holder rotates to select between reagent/filtering ports
Contains pressure with no “clamp”
Investigating piston mechanism to empty filter volume
Notes: Filter holders uses same 25mm filters as the G2 ESP
In the G2, the ambient pressure in the puck is restrained by the clamp assembly. In the G3, each filter holder need to seal and structurally contain the pressure. Up to 6 times that of the G2.
Two additional functions are incorporated,