## Slide 1: Black Ball Testing
September 25-26, 2013

## Slide 2
OPEN
CLOSED
FIRST PRIME
Pressure bleed to waste

## Slide 3
Occasional
bubbles
sweep through
Everything that should happen did happened

## Slide 4
Detach lines, push valve to OPEN,
then remove puck bracket
A
B
C
D
1
2
3
0

## Slide 5
Top of filter
Underside
of filter and
channels
Channels
after ~4 min
Underside of puck
101 mL retained
Experiment from previous day - 66 mL retained